# Electrical Shop Project Grading Rubric

This rubric is designed to evaluate student performance on electrical shop projects. It emphasizes safety, workmanship, accuracy, and understanding of electrical principles.

# Safety Practices

Consistently wears proper PPE

Follows lockout/tagout procedures

Maintains safe work area (no trip hazards, tools stored properly)

# Workmanship

Neat wire stripping and terminations

Correct use of connectors and fittings

Box fill and grounding completed properly

Conduit bends and runs are neat and accurate

# Accuracy

Circuit wired correctly according to diagram

Proper polarity and grounding

Devices secured properly in boxes

Follows NEC guidelines for wiring and installation

# Use of Tools

Uses appropriate tool for each task

Demonstrates care and skill with hand tools

Efficient and safe use of power tools

# Knowledge & Understanding

Can explain circuit function

Can troubleshoot and identify faults

Demonstrates understanding of electrical concepts during project

# Scoring Guide

4 = Excellent (No errors, exceeds expectations)

3 = Proficient (Minor errors, meets expectations)

2 = Developing (Multiple errors, partially meets expectations)

1 = Needs Improvement (Unsafe or incomplete work)