## Slide 1: Construction Design Technology 101 and 102 Curriculum
Rozzelle
CHS

## Slide 2
Construction Design Tech 101
1. What is Construction Technology? 4
2. Planning for and Controlling Construction 23
3. Construction Safety 36
4. The Construction Process 63
5. Construction Tools and Equipment 93
6. Concrete 100
7. Metals 115
8. Wood and Wood Products 130
9. Masonry, Glass, and Plastics 143
10. Architectural Design 153
11. Construction Engineering 161
12. Construction Documentation 168
13. Project Management 178
14. Construction Estimating and Bidding 187
15. Construction Scheduling 198
16. Site Preparation 206
17. Earthwork 216
18. Foundations 225
19. Floors 237

## Slide 3
Construction Design Technology 102
20. Walls 247
21. Roof and Ceiling Framing 259
22. Enclosing the Structure 269
23. Plumbing 279
24. Heating, Ventilating, and Air Conditioning (HVAC) Systems 298
25. Electrical Power Systems 316
26. Communication Systems 324
27. Insulating Structures 333
28. Finishing the Building 344
29. Landscaping 353
30. Final Inspection, Contract Closing and Project Transfer 362
31. Project Operation, Maintenance, and Repair 372
32. Remodeling Buildings 383
33. Dam Construction 396
34. Bridge Construction 406
35. Road Construction 416
36. Skyscraper Construction 433
37. Pipeline Construction 450
38. Careers in Construction 462
39. Construction in the Future 476

## Slide 4: Construction Design Technology Chapter 1 Week 1and 2
What is Construction Technology

## Slide 5: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Define construction technology.
Discuss the impacts of construction.
Describe advances made in construction materials, tools, and equipment.

## Slide 6: Contractors
General contractors assume responsibility for the completion of an entire project.
Subcontractors, or specialty contractors, are responsible for a part of the project.
For example, a general contractor for a project may hire subcontractors to complete excavation work, plumbing, and electrical installation.

## Slide 7: Construction Technology Defined
Homes, roads, office buildings, shopping centers, schools, airports, and factories are examples of constructed structures.
The ability to use acquired knowledge to build these structures is construction technology.
Construction technology is defined as the knowledge needed to build constructed products.

## Slide 8: Technology, Science, and Computers
Science is the description and classification of phenomena. For example, botany is the study and classification of different types of plants.
Technology is the use of acquired knowledge to do a task or job. In farming, this use of acquired knowledge is called agricultural technology.
Computer is an electronic device that can process, retrieve, and store data. Knowing how to use computers to design a construction project, control a manufacturing process, or track a mailed package, is a technological knowledge.
Using the scientific method, hypothesis are tested through systematic observation and carefully controlled experimentation.
Using the technological method, problems are solved by evaluating various solutions, selecting the most appropriate solution, and producing a product to solve the problem.

## Slide 9: Universal Systems Model
The universal systems model describes the elements that must be brought together to create a technological system.
These elements include inputs, processes, outputs, and feedback.
Inputs are the resources needed to produce the desired product. Inputs can be people, capital, knowledge, materials, energy, time, and money.
Processes are actions taken to convert material and other inputs into desired products. Production processes include designing, engineering, and changing the form of materials. Management processes involve planning, organizing, and controlling the work essential to produce the desired product.
Outputs are products of the system. Desired products are the objects the system was created to produce. By products are created as a result of making the desired product. Undesirable products may be produced along with the desired products and often contribute to air, water, visual, and noise pollution.
Feedback is information about system performance. Production processes are monitored, and feedback is provided to ensure that the processes continue to meet quality standards. Feedback is provided to trigger corrective action to the appropriate part of the production process.

## Slide 10: Technological Systems
1. Agricultural Systems: Raise animals and grow plants.
2. Communication Systems: Disseminate information in the form of print, audio, and video messages.
3. Construction Systems: Build structures, roadways, pipelines, and other projects.
4. Energy and Power Systems: Collect and convert energy into useful power. These systems include electrical and natural gas distribution industries.
5. Manufacturing Systems: Convert materials into useful products at a centralized location.
6. Medical Systems: Maintain health and treat injuries and illnesses.
7. Transportation Systems: Move people and products.

## Slide 11: Construction Technology’s Impact
Without construction technology our present quality of life would be impossible.
Daily Life: We enjoy climate controlled buildings. Safe drinking water is delivered from a water treatment plant. Water is carried away by sanitary sewers. Storm sewers carry away excess rainwater. We travel from one place to another using roads, railroads, airports and seaports.
Resources: As the population of the United States continues to grow, new construction projects are created.
The Economy: Construction employs many people to maintain, repair, and remodel constructed products.

## Slide 12: History of Construction
Ancient Construction: Early hut building materials included stone, snow, clay, leaves, hides, and wood. Around 300 BC, the Romans built aqueducts to carry water to the cities. The aqueducts used gravity to move water.
Construction in the United States: Prior to the seventeenth century, brick layers, carpenters and other craftspeople designed houses. Starting in the seventeen hundreds, architects took over the design of houses and other buildings.

## Slide 13: Water
Chlorinating water to kill the bacteria that caused cholera, typhoid, and dysentery began in London at the beginning of the 20th century.
Cities build complex water treatment plants to remove contamination from our water.

## Slide 14: Green Construction
It is estimated that the construction industry accounts for 30 to 40% of the global energy use.
Green construction includes buildings that minimize the need for energy to heat, cool, and light the building, and selecting products that are sustainable (will continue to be available in the future).

## Slide 15: Energy and Power
Wood was used for thousands of years as the main source of energy.
The discovery of coal as an energy source required transportation from the source to the user.
Railroads were expanded to take coal to most parts of the country.
Then oil was discovered. Small pipes run between wells to larger pipes. The larger pipes take the oil to the refineries where the oil is converted to usable products such as gasoline and heating oil.
Electricity from a power plant is sent to substations. From the substation it goes to homes, factories, and public buildings.

## Slide 16: Roadways
Rock and gravel were used to make the surface hard and water resistant.
Bridges were built over obstacles.
The first concrete street was built in Ohio in 1891.
The first concrete highway was built in Arkansas in 1913.
Airport runaways were built using the same methods used for roads.

## Slide 17: Industrial Construction
Industrial construction, the construction of large factory buildings, meant large scale production could be done to meet demands.
Petroleum products, metals, paper, and cars are now made in large industrial complexes.
These large factories drew people to the cities.

## Slide 18: Construction Advances - Materials
The earliest materials widely used for construction included dirt, trees, and stone.
The development of brick making provided a durable material of uniform size and shape.
Cement was developed by the Romans, and redeveloped in England.
Improvements in tools made it practical to saw logs into boards.
Plywood was the first panel wood to be widely used in construction.
Other modern materials used in construction include structural steel, fiberglass insulation, and vinyl siding for homes.

## Slide 19: Tools and Equipment
Portable electric tools such as saws and drills improved productivity.
Development of large excavating machines and cranes made highway construction much easier.
Concrete ready mix trucks have replaced on site of concrete. Concrete pumps have made placing concrete much easier.

## Slide 20: Regulation
Zoning laws were enacted to control the development of land.
Building codes control the quality of the building by establishing standards.
In addition to building codes, there are separate codes for electrical, plumbing and heating, ventilating, and air conditioning.
The purpose of building codes is to protect the health and safety of the people who use the buildings.

## Slide 21: Manufactured Housing
Manufactured housing is an outgrowth of camping trailer production.
The basic reason for manufactured housing is that the house can be manufactured at less cost than a site built house.
Manufactured houses are built at a central location and moved to the site.
The site and foundation preparation, street and utility installation, house placement, and site completion are all part of construction technology.

## Slide 22: Summary
General contractors assume responsibility for the completion of an entire project.
Subcontractors, or specialty contractors, are responsible for a part of the project.
Construction technology is defined as the knowledge needed to build constructed products.
Technology is the use of acquired knowledge to do a task or job. In farming, this use of acquired knowledge is called agricultural technology.
Using the technological method, problems are solved by evaluating various solutions, selecting the most appropriate solution, and producing a product to solve the problem.
The universal systems model describes the elements that must be brought together to create a technological system. These elements include inputs, processes, outputs, and feedback.
Feedback is information about system performance. Production processes are monitored, and feedback is provided to ensure that the processes continue to meet quality standards. Feedback is provided to trigger corrective action to the appropriate part of the production process.
Without construction technology our present quality of life would be impossible. We enjoy climate controlled buildings. Safe drinking water is delivered from a water treatment plant. Water is carried away by sanitary sewers. Storm sewers carry away excess rainwater. We travel from one place to another using roads, railroads, airports and seaports.
Chlorinating water to kill the bacteria that caused cholera, typhoid, and dysentery began in London at the beginning of the 20th century.
Green construction includes buildings that minimize the need for energy to heat, cool, and light the building, and selecting products that are sustainable (will continue to be available in the future).
Portable electric tools such as saws and drills improved productivity.
Development of large excavating machines and cranes made highway construction much easier.
The purpose of building codes is to protect the health and safety of the people who use the buildings.

## Slide 23: Chapter 2 Week 3 and 4
Planning for and Controlling Construction

## Slide 24: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
List the conditions necessary for an economically justifiable construction project.
Discuss the role of a community planning board.
Describe how the economy affects the growth and deterioration of a community.

## Slide 25: Community Growth
Many large, old cities (New York, San Francisco, Boston) in the United States started where they did to meet a need.
A construction project that is economically justifiable to a community must meet three conditions:
1. There must be a demand for the construction. Someone must want the project and be willing and able to pay for it.
2. The construction must satisfy a need or provide a desired service.
3. The construction must be well located and buildable. Buildability affects the cost of the project. If the costs are too high, the project will not be economical.

## Slide 26: Managing Community Development
Everyone wants to live in a community that provides a satisfying, efficient, safe, and economical lifestyle.
People need jobs, utilities, streets, shopping areas, schools, churches, hospitals, and recreational facilities.
Many people within a community such as community leaders, residents, and a planning board (planning commission) work together to identify goals for their community.

## Slide 27: Development Plan
Dividing the area to be developed into residential, commercial, and industrial zones determines how the land will be used.
Once zoning is established, transportation and utility construction is planned.
The city planners, elected officials, and planning board work together to implement the development plan.

## Slide 28: Transportation
Service streets are built in housing developments.
Service streets connect with collector streets that generally have four or more lanes and traffic signals.
Arterial streets receive traffic from collector streets. They have entrance and exit ramps to maintain continuous traffic flow. They do not have traffic signals.
Railroads move large, heavy loads at relatively low cost.
Wharves provide a place for ships and barges to load and unload cargo. Cranes may be used. Roads and railroads need to be nearby.
Airports provide rapid, long distance transportation for people and lightweight high value cargo.
Pipelines are a very economical way to transport natural gas, oil, and gasoline over long distances. Pipelines are pressurized to make the material inside flow through them. Pumping stations are built along the path of the pipeline to maintain pressure.

## Slide 29: Utility Construction
Utility construction provides for natural gas, electricity, communication, water, and sewer services.
The pipes leaving the water storage tank are called trunk lines. The smaller pipes delivering water to individual sites are called branch lines.

## Slide 30: Public Service Buildings
Police and fire protection services, libraries, hospitals, and street maintenance facilities need to part of any development plan.
Hospitals also need to be located near major streets so emergency service personnel can get people to the hospital quickly.

## Slide 31: Residential Buildings
Single family homes require the most land per unit (an acre to one quarter of an acre).
High density units cost less to build than single family units.
The cost of a home is based on: the cost of land, developer’s cost to develop the site and build the home, and developer’s business cost and profit.

## Slide 32: Commercial Facilities
The area from which a business or shopping center draws customers is known as its trade area.
Every consumer visits grocery stores, banks, filling stations, and restaurants.
In addition offices for insurance agents, doctors, lawyers, and many other businesses are needed in a community.
Like residential construction, streets and utilities need to be installed before commercial construction is complete.

## Slide 33: Schools and Recreational Facilities
Communities need schools to educate their young residents and recreational facilities to provide space for pay and leisure activities.
Three types of schools are typically constructed in communities: elementary schools, middle schools, and high schools.
Students from two or more elementary schools feed into a single middle school and several middle schools will feed into a single high school.
School facilities typically include playgrounds, ball fields, gymnasiums, swimming pools, tracks, and stadiums.
Neighborhood parks are relatively small. Community parks are larger and provide picnic areas, shelters, hiking trails, tennis courts, and ball fields.

## Slide 34: Economics of Community Development - Growing Communities
Community growth or decline is influenced by the economy of the area.
Loss of jobs in the area will reduce demand for construction and lead to deterioration of the area.
The community grows when more construction is needed for workers and their families.
Structures that are poorly maintained are said to be deteriorating.

## Slide 35: Summary
Buildability affects the cost of the project. If the costs are too high, the project will not be economical.
Many people within a community such as community leaders, residents, and a planning board (planning commission) work together to identify goals for their community.
Service streets are built in housing developments. Service streets connect with collector streets that generally have four or more lanes and traffic signals. Arterial streets receive traffic from collector streets. They have entrance and exit ramps to maintain continuous traffic flow. They do not have traffic signals.
Utility construction provides for natural gas, electricity, communication, water, and sewer services.
The cost of a home is based on: the cost of land, developer’s cost to develop the site and build the home, and developer’s business cost and profit.
The area from which a business or shopping center draws customers is known as its trade area.
Community growth or decline is influenced by the economy of the area. Loss of jobs in the area will reduce demand for construction and lead to deterioration of the area.

## Slide 36: Chapter 3 Week 5 and 6
Construction Safety

## Slide 37: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Distinguish among building, plumbing, mechanical, and electrical codes.
Describe the purpose of the Americans with Disabilities Act.
Discuss the role of attitude in job safety.
Select appropriate clothing and protective devices for the job.
Obtain safety information from Material Safety Data Sheets.

## Slide 38: Designing for Safety
Workers in all industries must know the correct, safe way to perform their jobs.
Working safely is especially important for construction workers because they work with many dangerous tools and machinery, and in dangerous environments.
City, county, state, and federal governments enact and enforce rules specifying minimum safety standards for all types of construction structures.
This chapter concentrates on building codes that apply to residential and light construction.

## Slide 39: Codes
Efforts have been made by various organizations to reduce the differences that exist among locally developed codes (fig 3-1, page 49).
These organizations have developed model codes which are available for communities to adopt.
They have helped standardize construction to a degree.

## Slide 40: Building Codes
A building permit must be obtained from the local building authority before construction can begin.
Subsequent inspections are usually required during construction. Commonly inspected construction objects include foundation, framing, and the finished building.
All parts of the building are inspected before occupancy is allowed.
It will be important that you become familiar with your local building code.

## Slide 41: Plumbing Codes
Plumbing codes address the installation and standards of water supply piping, drainage and vent piping, plumbing fixtures, and other plumbing system components.
A plumbing permit must be obtained by a licensed plumber before plumbing installation begins.
Pipe must be inspected by the plumbing inspector before the pipe is covered by walls or floors.

## Slide 42: Mechanical & Electrical Codes
Installation of heating, ventilation, and air conditioning (HVAC) systems are regulated by mechanical codes.
Both the type of equipment and the procedures for installation are included in the codes.
Electrical codes regulate the design and installation of the electrical power system.
Typically a licensed electrician must obtain a permit.
All wiring must be inspected and approved by a local electrical inspector before being enclosed by wall materials.

## Slide 43: Americans with Disabilities Act
The Americans with Disabilities Act became federal law in 1990 and applies nationwide.
The ADA mandates that public accommodation must be constructed so they are accessible to all individuals.
Many public buildings now have ramps, elevators, and handrails around bathroom fixtures.
The ADA does not apply to private homes.

## Slide 44: Product Standards
Product standards are nationally recognized minimum quality requirements for manufactured objects.
These standards are usually developed voluntarily by interested groups, such as producers, distributors, or consumers of a product.
Common agency abbreviations include:
ANSI – American National Standards Institute
UL – Underwriters Laboratory.

## Slide 45: Architects and Engineers
Architects and engineers design, buildings, bridges, airports, dams, and other construction projects.
Sprinkler systems, fire hoses, and fire extinguishers are necessary in large buildings.
Some buildings have a steel framework, while other buildings are made with steel reinforced concrete.

## Slide 46: Job Site Safety
Safety is an everyday responsibility.
A good attitude towards safety means believing that working safely is extremely important.
Shortcuts and speed often contribute to accidents.
Job safety is your personal responsibility.
Know and follow all safety practices.

## Slide 47: Accident Statistics
According to the National Safety Council, approximately 1.8 million work related disabling injuries occur each year in the United States.
These injuries translate to over 35 million lost workdays costing over $ 25 billion for medical care and wage compensation each year.
These statistics clearly demonstrate the importance of worker safety.

## Slide 48: Occupational Safety and Health Administration (OSHA)
The OSHA Act was enacted in 1971.
Based on the act Congress founded OSHA.
The purpose of OSHA is to save lives, prevent injuries, and protect the health of American workers.
Since the act was implemented, work place fatalities have decreased by half and work related injuries and illnesses have declined by 40 %.

## Slide 49: Clothing
Do not wear loose or torn clothing. It can catch in revolving tools or machinery.
Wear long pants and long sleeved shirts.
Choose clothing material carefully. Some material are highly flammable and could result in burn injuries if ignited.
Do not wear jewelry when working around machinery or tools. They can catch on moving parts.
Wear gloves when handling lumber, plywood, pipe, roofing materials, or any other materials that cause cuts or abrasions.
Wear safety shoes at all times. They can protect your feet from falling objects and reduce the likelihood of puncture wounds caused by stepping on sharp objects.

## Slide 50: Personal Protective Equipment (PPE)
PPE is any item that protects a person’s body from danger.
Eye Protection: Safety glasses, goggles, or face shields approved by the American National Standards Institute (ANSI). The National Safety Council estimates that up to 90 % of eye injuries could be protected by wearing protective eyewear. Some hazardous operations include sawing, drilling, chipping, and spraying.

## Slide 51: Hearing Protection
If you are in an area where hazardous sound levels are being generated, wear an approved hearing protection device (fig 3-6, page 55) approved by the EPA (Environmental Protection Agency) or NIOSH (National Institute for Occupational Safety and Health).
Hearing loss can result from brief exposure to very loud sounds and from extended exposure to sounds of less intensity.

## Slide 52: Respirators
A respirator is a mask that fits over the mouth and nose preventing inhalation of dangerous materials.
Time weighted averages (TWA) indicate the maximum average exposure for one day.
Hazards such as wood dust can often be handled by dust/mist respirators.
Asbestos removal and spraying solvent based chemicals requires more sophisticated respirators and cartridges.
A beard will prevent any mask from sealing properly.
Inspect respirators for damage or wear before and after each use.
Check expiration dates on cartridges.

## Slide 53: Fall Resistant and Fall Arrest Devices
OSHA fall protection regulations apply to situations where a fall from at least 6 feet is possible.
By preparing a site specific fall protection plan, a residential contractor may be able to meet the requirements for fall protection without the use of life lines, harness, and safety nets required in heavy construction.
Fall restraint devices use guardrails or safety belts and lanyards short enough to prevent a worker from reaching the edge of an elevated surface.
Fall arrest device is a device that prevents injuries by using devices that catch a person who falls.

## Slide 54: Lifting
When lifting, keep the back straight and use the leg muscles to raise the object (fig 3-13, page 59).
If the object is heavy or bulky, get help rather than risk undue strain or instability.
Before lifting any object, clear a route of tripping or slipping hazards.
Look for wet or oily spots, in addition to any debris that might cause slips that result in falls or muscle strain.
Carrying long objects such as boards, pipe and ladders can cause injury to people other than the person carrying the object. Make sure the area is clear of others before lifting such an object.

## Slide 55: Ladders
Use the shortest ladder that can effectively do the job.
Duty rating is the maximum recommended load. This includes your weight plus any tools and materials that you may have on the ladder.
Fiberglass has become the leading choice among professionals because it is electrically non conductive, durable, and non corrosive.
Check the ladder before use for broken or damaged parts.
Never stand on the top platform of a stepladder.

## Slide 56: Electrical Safety
Corded tools must be properly grounded. Grounded tools have a three prong plug. The third prong connects to a ground wire that is attached to the tool’s housing.
Additional protection can be obtained by using a GFCI (ground fault circuit interrupter). The GFCI breaks the circuit immediately when a short or grounded condition occurs.

## Slide 57: Hand Tool Safety
Push sharp tools such as knives, screw drivers, and chisels away from your body. Never pull them towards you.
When passing sharp tools to coworkers, pass them handle first.
Check hammer heads and handles for cracks and splits. Ensure that hammer heads are securely fastened to the handle.

## Slide 58: Power Tools Safety
Know the proper use, limitations, and hazards of each power tool on the job.
Make sure the tool is turned off before plugging it in an electrical outlet.
Never use tools with frayed cords or loose or broken switches.
Keep clothing and long hair away from revolving portable electric tools.
Do not use portable electric tools in water or while standing on a metal ladder.
Never distract anyone who is using a power tool.

## Slide 59: Fire Hazards and Fire Extinguishers
Stored building materials must be at a safe distance from fuels, solvents, and sources of high temperature.
Rubbish should be placed in containers and removed from the site at frequent intervals.
Propane and acetylene used for soldering are potential fire hazards. Have only the quantities needed brought to the site.
Different types of fire extinguishers are required for different classes (A through D) of fires.

## Slide 60: Hazardous Materials
Employers are required to make information available to employees about both the physical hazards (such as flammability) and health hazards (such as skin irritation, lung damage, and liver damage).
Producers of hazardous material provide information on each container about potential hazards.
For more detailed information, producers and suppliers also provide MSDS (Material Safety Data Sheets) for each product.

## Slide 61: Heat Exposure
Working in high outdoor temperatures can increase fatigue and contribute to dehydration.
Fatigue and dehydration can cause dizziness, heat exhaustion, or heat stroke.
Take breaks in more favorable conditions to relieve the effect of excessive heat exposure.

## Slide 62: Summary
A building permit must be obtained from the local building authority before construction can begin.
It will be important that you become familiar with your local building code.
Pipe must be inspected by the plumbing inspector before the pipe is covered by walls or floors.
The Americans with Disabilities Act became federal law in 1990 and applies nationwide. The ADA mandates that public accommodation must be constructed so they are accessible to all individuals.
According to the National Safety Council, approximately 1.8 million work related disabling injuries occur each year in the United States. These injuries translate to over 35 million lost workdays costing over $ 25 billion for medical care and wage compensation each year. These statistics clearly demonstrate the importance of worker safety.
The purpose of OSHA is to save lives, prevent injuries, and protect the health of American workers.
Do not wear loose or torn clothing. It can catch in revolving tools or machinery.
PPE is any item that protects a person’s body from danger.
Hearing loss can result from brief exposure to very loud sounds and from extended exposure to sounds of less intensity.
A respirator is a mask that fits over the mouth and nose preventing inhalation of dangerous materials.
Fall restraint devices use guardrails or safety belts and lanyards short enough to prevent a worker from reaching the edge of an elevated surface.
Fall arrest device is a device that prevents injuries by using devices that catch a person who falls.
Duty rating is the maximum recommended load. This includes your weight plus any tools and materials that you may have on the ladder.
Push sharp tools such as knives, screw drivers, and chisels away from your body. When passing sharp tools to coworkers, pass them handle first.
Producers of hazardous material provide information on each container about potential hazards.

## Slide 63: Chapter 4 Week 7 and 8
The Construction Process

## Slide 64: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Explain the construction project design process
Outline the general responsibilities of general contractors and subcontractors
List four management tasks that are done before site work begins
Recall eight tasks that are involved in preparing a site
Outline the sequence of tasks in constructing a building

## Slide 65: Initiating the Project
Publicly owned projects are initiated by government agencies such as transportation departments, school districts, or fire departments.
Individuals or small groups of people initiate privately owned projects.
Public projects are built to satisfy community needs.
Private projects are built for individuals or companies.

## Slide 66: What Initiators Do
The requirements of the project are defined.
A feasibility study is conducted.
Funding is secured.
The preliminary design is reviewed and approved.
A design firm is hired and a contract is created for the project.
A site for the project is secured.
Consultants, architects, and engineers are often employed to do much of the work.

## Slide 67: Requirements
The first step is to define the requirements or goals for the project.
The requirements for a driveway project might include identifying the location and the width of the driveway and choosing the surface finish.
Requirements will often be refined further as work proceeds.

## Slide 68: Feasibility Study
The next step in the initiation process is to complete a feasibility study.
The goal of the feasibility study is to determine if a project is practical.
The study begins with questions. Is there adequate demand for the project? Does a suitable site exist? What are the costs of a project? How do design alternatives affect the cost?
To determine the viability of alternatives of a project, a cost/benefit analysis is often conducted.
Get estimates from contractors for each of the alternative designs. Identify the benefits of each, such as expected life, appearance, and maintenance needs and cost.

## Slide 69: Funding
The first step in funding is to prepare a tentative budget for the project.
Private projects are normally paid for with a loan from a bank or other lending institutions. The initiator contacts the bank and obtains a commitment from the bank to provide funding for the project.
Public projects are funded by taxes. For example gasoline taxes are a major source of highway construction funds.

## Slide 70: Preliminary Design
At the end of the feasibility study, the design initiators will make recommendations about the project.
If costs were too high for the preferred design, they might recommend that one of the alternative designs be built.
Or they might recommend the project be abandoned because the costs are greater than any likely benefits.
The owner or the executive in charge decides how to proceed.
If the decision is to proceed, a design company is hired to develop the detailed project plans.

## Slide 71: Design Contract
A design contract establishes the cost of the design work and the schedule for completion of the drawings and specifications.
The design contract is negotiated and signed by both the design firm and the owner or executive in charge.

## Slide 72: The Site
Sites for private projects are obtained by negotiating with the landowner or a real estate agent.
Once a price is agreed upon, the sale is completed and the property title is transferred to the new owner.
Sites for public projects such as highways are often secured through the government’s power of eminent domain.
Government’s power of eminent domain is the government’s right to acquire land to be used for the benefit of the public. Owners are paid a fair market value for the land and the land becomes the property of the government.

## Slide 73: Designing the Project
During this phase, detailed design work is developed for the foundation, floor plans, structure, mechanical systems, electrical systems, interior and exterior finish, and landscaping.
Review Requirements: The first step is to review the requirements for the project.
Establish a Budget: The cost estimates need to be converted into a detailed budget that can be used to guide the design process (fig 4-3, page 76).
Reconsider Site Characteristics: Additional soil samples may be taken to determine the type of foundation that is needed.
Review Preliminary Plans: If modifications need to be made, the owner is consulted before work proceeds.
Prepare Detailed Drawings and Specifications: Drawings describe the size and shape. Specifications are written descriptions of the type and quality of materials and workmanship needed for the project.

## Slide 74: Types of Contactors
General contractors assume responsibility for completing an entire project.
The general contractor may hire trades people or several subcontractors to do the project.
Sub contractors are specialty contractors. They assume responsibility for completing specific parts of a construction project.

## Slide 75: Types of Contracts
Construction contracts are awarded through either negotiation or competitive bidding. A bid is an offer to do a specified work for a specified price.
1. Negotiated Contracts: The simplest form of negotiated contract is a fixed price contract where the contractor agrees to complete the project for a fixed amount of money. In a design build contact the designers and contractors work cooperatively to complete the project. In cost plus percentage of cost and cost plus fixed fee contracts the contractors are paid for their cost and a fixed amount in addition to their cost. Incentive contracts reward the contractor for saving money.
2. Competitive Bidding: Most public projects are competitively bid. Advertisements are placed in trade publications to notify contractors. All qualified contractors are given bid documents that include drawings, specifications, and other documents related to a project. These documents are used to prepare an estimate of the project building costs. Bid preparation includes the contractor’s estimates of cost for materials, labor, tools, and equipment. Overhead (office rent, telephone bills, etc) and mark up (profit) are added. All bids are opened at the time specified in the advertisement. They are reviewed and the lowest bid is accepted. In many cases the lowest bidder is required to submit a bid bond. If the contractor fails to enter into the contract, the bonding company is responsible for the difference in cost between the lowest bidder and the next highest bid.

## Slide 76: Awarding the Contract
Both the owner and the contractor sign the contract, making it a legal document.
A performance bond, may be given, which is an insurance policy that guarantees to the owner that the contractor will complete the project as specified in the contract.
If the contractor fails to perform as agreed, the bonding company takes over the project and completes it at no additional cost to the owner.

## Slide 77: Payment Schedule
Most contracts include a payment schedule, which indicates the amount to be paid as major portions of the project are completed.
The contractor pays for materials, labor, equipment rental, and many other items on an ongoing basis.
If the owner borrowed money for the project, the bank will release money to the contractor based on the payment schedule (fig 4-5, page 79).
Issuing Notice to Proceed: Work on the site cannot begin until the owner issues a notice to proceed. This lets the contactor know that the work can begin.

## Slide 78: Managing Construction Projects
Tasks for the contractor include planning and scheduling on site work; organizing workers, materials and equipment; and obtaining permits.
Using the schedule, the contractor determines which workers will be needed and when.
The schedule is also used to determine when materials and equipment must be on the site.

## Slide 79: Preparing the Site
Gaining Access to the Site: For many projects the access road is made of gravel.
Rerouting Traffic: Streets may be blocked when large pieces of equipment are moved to and from the site.
Clearing and Shaping the Site: A construction site must be clear for building. Old structures and other obstacles must be removed. Many buildings require a flat area for building.

## Slide 80: Locating the Structure
Surveying instruments are used to locate the precise location of the structure before excavation for the foundation begins.
Stakes indicate the corners of the building..
Lines may be spray painted on the ground to locate footings and other areas requiring excavation.
For large projects, a field office provides a place for managers to work. It is located near the building site, but far enough away that it will not interfere with the construction in any way.

## Slide 81: Storing Materials and Tools
Theft and vandalism on construction sites are costly.
Trailers are useful for protecting materials and tools from theft and vandalism. They also provide protection from weather.
Large items such as structural steel are stored outside. Structural steel should be unloaded near the crane that will lift it. This eliminates the need to move the steel repeatedly adding to the cost.

## Slide 82: Obtaining Utilities
Electrical power, natural gas, telephone, cable, water, and sewer services are extended to the structure by the appropriate utility companies.
Utilities are extended a second time when they are connected to the system within the structure.
Most of this work is done as the building is being built.

## Slide 83: Making the Site Secure and Safe
Safety meetings are conducted to call attention to safety and to reinforce their responsibility to work in a safe manner.
Safety checks of equipment and tools are done on a routine basis.
Barriers are installed to prevent falls.
Warning labels are placed on containers of toxic materials.
Portable electric tools are double insulated or equipped with safety grounds to prevent electrical shock.
Installing No Trespassing signs and erecting security fences around the site deters trespassers from entering the site.

## Slide 84: Building the Project
Building the project begins with the foundation and ends when the owner approves final payment to the contractor.
Laying the foundation: The type and size of the foundation is based on the size, weight, contents of the building, and the characteristics of the soil.
Slab foundations are made with steel reinforced concrete and are used most often on one storey buildings.

## Slide 85: Framing and Enclosing
Once the foundation of the building is completed, the framework of the building is completed.
Framing supports the entire structure.
Houses often have wood frames.
Many buildings have steel frames.
On high rise buildings, lower floors are enclosed before upper floors, allowing interior work to begin.

## Slide 86: Installing Building Mechanical Systems
Once a structure is enclosed, work begins on the building systems: plumbing, heating, ventilating, air-conditioning, electrical, communication, and safety and security systems.
Plumbing begins first. Tubs and shower bases are also installed during this phase because walls and floor material must be fitted around these fixtures. The building sewer and water supply piping is also connected to the water and sewer mains at this time.
The installation of heating, ventilation, and air-conditioning (HVAC) systems can also begin after the building is enclosed.
The electrical power system is usually installed after the plumbing pipes and HVAC ducts. In this way the electrical wiring will not be run in locations that interfere with the plumbing pipes and HVAC ducts.

## Slide 87: Finishing the Building Interior
Exterior work includes:
Installing trim around roof edges, windows, and exterior doors.
Covering exterior walls with siding, brick, or stone.
Building porches, patios, and decks.
Installing driveways and walks.

## Slide 88: Installing Landscaping
Landscaping adds value to new structures.
Following a landscape plan, workers will place plants, build retaining walls or raised beds, and create lawn areas.
Irrigation system pipes and sprinkler heads are installed before planting.
Grass areas are planted with sod or seed.

## Slide 89: Completing the Final Inspection
Numerous inspections take place during the construction process.
The rough in for both plumbing and electrical systems must be inspected and approved by the appropriate inspectors before walls and ceiling are enclosed.
The appropriate inspectors complete final inspections of the plumbing, HVAC, and electrical systems plus interior and exterior finish work.
These inspections ensure that the work has been done according to code.
Any items that need to be changed, repaired, or replaced are added to a punch list and given to the contractor responsible for correction.

## Slide 90: Closing the Contract
Once the project is completed, and the requirements of the contract have been met, the owner makes final payment and the contract is closed.
Approvals: Building officials issue a certificate of completion once all code related items on the punch list have been corrected. The date on the certificate of completion is the date from which warranties become effective.
Release and Liens: By signing a release, the supplier or employees give up the right to seek employment from the owner. It is the contractor’s responsibility to provide releases from all suppliers and employees. Workers or suppliers who are not paid for their labor can take legal action, placing a mechanic’s lien or supplier’s lien against the property. If the court approves the lien, the property owner must pay the money. Once a settlement is reached, a release of lien is issued, freeing the owner from further liability.

## Slide 91: Closing the Contract
Claims: A contractor may make a claim when more work is required than indicated on the original contract. Once the contactor and owner agree on a settlement, they both sign a release of claim. Legal action is taken if a settlement cannot be negotiated.
Warranties and Manuals: A warranty is a document that guarantees the integrity of a job, product, or material. Warranties are issued by the contractor or by the supplier. Many items come with owner’s manuals. All manuals are given to the owner during the contract closing.
Final Payment: The last step in the construction process is when the owner makes the final payment to the contractor. The contract is then closed. Closing the contract also releases the contractor from any bonds required by the contract. The contractor’s responsibility for the project is now limited to the responsibilities stated in the contractor’s warranty.

## Slide 92: Summary
To determine the viability of alternatives of a project, a cost/benefit analysis is often conducted. Get estimates from contractors for each of the alternative designs. Identify the benefits of each, such as expected life, appearance, and maintenance needs and cost.
The first step in funding is to prepare a tentative budget for the project.
A design contract establishes the cost of the design work and the schedule for completion of the drawings and specifications.
Sites for private projects are obtained by negotiating with the landowner or a real estate agent.
Government’s power of eminent domain is the government’s right to acquire land to be used for the benefit of the public. Owners are paid a fair market value for the land and the land becomes the property of the government.
Designing the Project: During this phase, detailed design work is developed for the foundation, floor plans, structure, mechanical systems, electrical systems, interior and exterior finish, and landscaping.
Construction contracts are awarded through either negotiation or competitive bidding. A bid is an offer to do a specified work for a specified price.
Most contracts include a payment schedule, which indicates the amount to be paid as major portions of the project are completed.
Clearing and Shaping the Site: A construction site must be clear for building. Old structures and other obstacles must be removed. Many buildings require a flat area for building.
Electrical power, natural gas, telephone, cable, water, and sewer services are extended to the structure by the appropriate utility companies.
Installing No Trespassing signs and erecting security fences around the site deters trespassers from entering the site.
The electrical power system is usually installed after the plumbing pipes and HVAC ducts. In this way the electrical wiring will not be run in locations that interfere with the plumbing pipes and HVAC ducts.
By signing a release, the supplier or employees give up the right to seek employment from the owner. It is the contractor’s responsibility to provide releases from all suppliers and employees.
Workers or suppliers who are not paid for their labor can take legal action, placing a mechanic’s lien or supplier’s lien against the property. If the court approves the lien, the property owner must pay the money. Once a settlement is reached, a release of lien is issued, freeing the owner from further liability.

## Slide 93: Chapter 5 Week 9 and 10
Construction Tools and Equipment

## Slide 94: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Differentiate between tools owned by individual trades people and those owned by construction companies.
Name three alternatives for obtaining tools and equipment.
Identify different types of trucks and trailers seen on construction sites.

## Slide 95: Tools
It is a common practice for trades people to purchase and maintain their own set of tools.
They are responsible for having these tools at the job site each day.
Contractors are responsible for furnishing more expensive and larger tools, such as radial arm saws, compressors, and portable lights.
Tools owned by individuals are typically stored in their personal vehicles and taken home each day.

## Slide 96: Obtaining Tools and Equipment
Tools and equipment are major expenses for construction companies.
The best tool or piece of equipment for a job is one that will do the job for the lowest cost.
Buy: Buying tools and equipment is often the most economical choice for frequently used and inexpensive items. It is often less expensive to rent a replacement device while the broken one is being repaired than to purchase a new one.
Rent: Expensive and infrequently used tools and equipment are most likely to be rented. Tools and equipment can also be rented to see how well a device works before making a purchase.
Subcontract: In residential construction many types of specialty subcontractors are used.

## Slide 97: Transportation
Trucks and trailers are the most common hauling equipment used in construction.
Tractor trailers bring large earth moving equipment to the site.
Dump trucks move bulk items such as soil or gravel.
Specifically designed trucks transport cranes, concrete pumps, and concrete.
Flatbed trailers can be used to move equipment and structural components (fig 5-5, page 97).
Portable restroom facilities are brought to, cleaned, and removed from the job sites by the company that owns the portable sanitation facilities.

## Slide 98: Shop and Storage Areas
A shop is mainly used to do maintenance and repair work on tools and equipment.
The shop may also serve as a place to gather tools, materials, and supplies from storage that needs to be taken to the job site.
A secure storage facility deters tool theft, which is a common problem with construction companies and workers.
Supplies are materials used in the work process that do not become part of the finished product.

## Slide 99: Summary
It is a common practice for trades people to purchase and maintain their own set of tools.
Contractors are responsible for furnishing more expensive and larger tools, such as radial arm saws, compressors, and portable lights.
Buy: Buying tools and equipment is often the most economical choice for frequently used and inexpensive items.
Rent: Expensive and infrequently used tools and equipment are most likely to be rented.
Tractor trailers bring large earth moving equipment to the site.
Dump trucks move bulk items such as soil or gravel.
Flatbed trailers can be used to move equipment and structural components.
A shop is mainly used to do maintenance and repair work on tools and equipment.
A secure storage facility deters tool theft, which is a common problem with construction companies and workers.

## Slide 100: Chapter 6 Week 11 and 12
Concrete

## Slide 101: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Describe the aggregate used to make concrete
Describe the reinforcing steel used in concrete
Identify four factors that control the quality of concrete
Discuss the importance of proper curing

## Slide 102: Concrete
Concrete is made of three ingredients: Portland cement, water, and aggregate.
Steel reinforcing bars and welded wire fabric are used to strengthen concrete.
Portland cement is made by mixing limestone, clay, and shale.
The mixture is burned in an oven at approximately 27000F resulting in rock like shapes called clinker. The clinker is pulverized and mixed with a small amount of gypsum to produce Portland cement.
The aggregate consists of fine sand (¼” diameter or less) and stones (larger than ¼” diameter). The cement binds the aggregate together, filling the spaces between particles.
A chemical reaction between water and Portland cement, called hydration, cures (hardens) the concrete.

## Slide 103: Admixtures
Admixtures are special chemicals added to concrete to change one or more characteristics of the product.
Air-entrained concrete (Type 1-A) contains an admixture that causes small bubbles to form in the concrete. This concrete is easier to work with and resists cracking from freezing and thawing.

## Slide 104: Steel Reinforcing Bars
Compression occurs in an object when forces push on an object.
Tension occurs in an object when forces pull on an object (fig 6-2, page 108).
The tensile strength of concrete is improved using reinforcing bars or rebar.

## Slide 105: Concrete Properties
The main properties engineers look for in concrete are strength, water tightness, durability, and workability.
Strength: Concrete must be able to carry heavy loads and must not wear away.
Watertightness: High quality concrete resists water absorption.
Durability: Concrete must provide long life and minimal upkeep on construction projects such as interstate highways and runways.
Workability: Workable concrete flows in and around steel reinforcing rods and into the corners of forms.

## Slide 106: Concrete Quality
Quality depends on:
The material from which it is made.
The way it is mixed.
How it is placed and finished.
The curing procedures.
Different proportions of Portland cement, fine and coarse aggregate, and water create critical quality differences in concrete.
Small increases in the proportion of Portland cement increase compression strength.
Extra water makes concrete easy to work but reduces its strength, durability, and water tightness.
Proper curing improves the strength, water tightness, and weather resistance of concrete and requires time, temperatures above freezing, and moisture.
Concrete is kept moist by sprinkling with water, by applying curing compounds to the surface, or by covering the concrete with sheets of plastic or other material. In cold weather, fresh concrete must be kept from freezing.

## Slide 107: Working with Concrete
Concrete work requires a sequence of six steps: preparing the subgrade and floor, estimating volume, obtaining concrete, placing, finishing, and curing.
Preparing subgrade and forms: Subgrade is a leveled soil surface that provides uniform support for concrete slabs and footings.
The subgrade must be placed at the correct elevation.
The subgrade should be compacted and moist. A moist subgrade does not absorb water from fresh concrete.
Forms for concrete walls consist of panels on each side of the wall that are joined by form ties (fig 6-10, page 113). Form tie maintain the correct thickness of the wall.
Form oil is sprayed on the form surfaces that will be in contact with concrete to facilitate removal and cleaning.

## Slide 108: Estimating Volume
Ready-mix concrete is produced in a factory using controlled portions of Portland cement, aggregate, and water to meet the specifications of the job.
It is sold in cubic yards.
Form dimensions are typically measured in feet and inches.
Convert any dimensions given in inches to feet before entering the numbers in the formula below:
Thickness (feet) x width (feet) x length (feet) = _______ cubic yards
27 feet3/yd.3
Example: Assume a concrete wall is being made that measures 6” thick, 8 feet tall, and 56’9” long.
Concrete required = 0.5’ x 8’ x 56.75’ = 227 cubic feet = 8.4 cubic yards
27 feet3/yd.3 27 feet3/yd.3

## Slide 109: Obtaining Concrete
Large quantities of concrete are ordered from and delivered by a local transit mix company.
When a small quantity of concrete is needed , premixed concrete can be purchased.
Concrete can also be made by mixing one part of Portland cement, two parts sand, and three parts gravel. Add water slowly to prevent a soggy mixture.

## Slide 110: Placing
Placing concrete involves pouring concrete as near as possible to its final location.
Excessive handling of fresh concrete can cause segregation of the aggregate, causing coarse and fine particles to separate.
Concrete can be moved to the appropriate location using conveyors, pumps, buckets, chutes, or wheel barrows.
Consolidation compacts fresh concrete so it fits snugly inside the concrete form. This is most often done using a vibrator.
A puddling stick, is a long, thin board, that is worked up and down inside wall forms to compact the concrete around reinforcing steel and into corners.

## Slide 111: Finishing
Screeding is a process that removes excess concrete and brings the top surface to the proper grade (fig 6-15, page 117).
A darby is used to level and smooth the concrete after screeding.
Edging rounds the edges to prevent chipping.
In jointing, grooves are placed in wet concrete to control the location of random cracking that may occur due to drying or temperature change.
Floating is a process that removes imperfections and prepares the surface for the final finish.
Final finishing, called troweling, produces a smooth finish. A broom is used to produce a slip resistant finish for sidewalks and roadways.

## Slide 112: Curing
Curing is a chemical process that causes concrete to become a solid.
Concrete that dries too quickly will not reach full strength.
Covering finished concrete with plastic sheets or periodically misting the surface with water is essential to proper curing.
Another alternative is to spray the surface with a water proof coating called curing compound to prevent water in the concrete from evaporating too quickly.
Concrete made with type 1 Portland cement needs at least seven days of controlled curing.

## Slide 113: Testing Concrete
Slump test measures the consistency of batches of concrete, indicating the workability of concrete as it goes into the form.
If the slump is less than 1”, water needs to be added to the mix to make the concrete more workable.
If the slump is more than 5”, aggregate and Portland cement need to be added to improve the quality of the cured concrete (fig 6-19, page 119).
Compression test measures the strength of cured concrete.
Most testing takes place after seven days of curing.

## Slide 114: Summary
Concrete is made of three ingredients: Portland cement, water, and aggregate .
Portland cement is made by mixing limestone, clay, and shale.
The aggregate consists of fine sand (¼” diameter or less) and stones (larger than ¼” diameter).
Admixtures are special chemicals added to concrete to change one or more characteristics of the product.
The tensile strength of concrete is improved using reinforcing bars or rebar.
The main properties engineers look for in concrete are strength, water tightness, durability, and workability.
Concrete work requires a sequence of six steps: preparing the subgrade and floor, estimating volume, obtaining concrete, placing, finishing, and curing.
Preparing subgrade and forms: Subgrade is a leveled soil surface that provides uniform support for concrete slabs and footings.
Ready-mix concrete is produced in a factory using controlled portions of Portland cement, aggregate, and water to meet the specifications of the job. It is sold in cubic yards.
Concrete can also be made by mixing one part of Portland cement, two parts sand, and three parts gravel. Add water slowly to prevent a soggy mixture.
Placing concrete involves pouring concrete as near as possible to its final location.
Final finishing, called troweling, produces a smooth finish. A broom is used to produce a slip resistant finish for sidewalks and roadways.
Curing is a chemical process that causes concrete to become a solid. Concrete made with type 1 Portland cement needs at least seven days of controlled curing.
Slump test measures the consistency of batches of concrete, indicating the workability of concrete as it goes into the form.
Compression test measures the strength of cured concrete.

## Slide 115: Chapter 7 Week 13 and 14
Metals

## Slide 116: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Outline the basic steps for erecting a steel structure.
Identify common types of nails, bolts, and screws.
Identify products commonly used in construction.

## Slide 117: Introduction
Ferrous metals contain a large percentage of iron. Steel is an example of a ferrous metal. They are magnetic.
Nonferrous metals contain little or no iron. Copper and aluminum are nonferrous metals. They are not magnetic.
Combining metals with other elements forms alloys. Steel is an alloy of iron and carbon. Brass is an alloy of copper and zinc.

## Slide 118: Steel: Manufacturing Processes
Casting is done by pouring molten steel into moulds or by continuous casting.
Casting moulds are made from a sand and clay mixture that can be easily removed once the steel solidifies.
Continuous casting produces a ribbon of semi finished steel that is shaped into sheets, structural shapes, and bars.
Extrusion produces shapes of uniform cross section by forcing steel through dies of appropriate shape. Tubing, pipe, and bars can be extruded in a variety of shapes and sizes.
Forging involves pressing or stamping preheated steel between dies of the desired shape. Forging is used to make tools, brackets, clamps, and some fasteners.
Drawing involves pulling steel through a series of dies to produce a desired cross sectional shape. Drawing is primarily used to make wire.

## Slide 119: Structural Steel and Bar Stock
Structural steel is construction material that has specific properties and is formed into cross sections, or shapes.
It is often used for framing on buildings and other structures.
Bar stock is raw material that comes in many of the same shapes as structural steel, but in smaller sizes (fig 7-7, page 127).
Bar joists are made from bar stock and are often used for framing, and may be used to frame floors.
Typical Uses: A basic building frame is composed of columns, girders, and beams.
Columns provide vertical support. I beams and wide flange I beams are typically used for columns.
Girders are large horizontal structural members that are supported by columns.
Beams are horizontal structural members that are supported by girders.

## Slide 120: Joining Techniques
Traditionally, structural steel was joined using rivets.
Today, high strength structural bolts and welding are more common.
Erecting Steel Structures:
Each component of a steel framed structure is made in a steel fabrication shop.
Brackets are welded in place and holes are drilled for bolts or rivets.
Columns are put in place first.
The base plate, welded to the bottom end of columns, fits over anchor bolts that were cast in the foundation. Columns must be plumb (vertical).
Girders are then attached to the columns and beams are connected to the girders (fig 7-13, page 131).The sides of girders and beams also need to be plumb.
Hand signals and two radio communication enable the ironworkers to communicate with the crane operator.
A hand operated winch, called a come-along, is used to pull the steel in position (figure 7-13).
Bracing involves installing diagonal steel components to make the frame rigid.
Once the frame is permanently fastened with bolts, rivets, or welding, the guy wires are removed.

## Slide 121: Reinforcing Steel
Concrete is often reinforced with steel to give the concrete additional tensile strength.
Rebar is used in footings, walls, columns, floors, sidewalks, and paving.
Welded wire mesh may replace the rebar in floors, sidewalks, and paving.
High tensile strength steel (HTSS) cable is most often used in concrete beams, floor panels, and other products that are manufactured off site.

## Slide 122: Steel Plate and Sheet Steel
Flat slabs of steel that are 1/8” and thicker are called steel plate.
Sheet steel is less than 1/8” thick.
Sheet steel that is specially coated may be used for decking under concrete floors, siding, or roofing.
Heating and air conditioning ducts are often made from galvanized sheet steel. Galvanizing is a process in which steel is coated with zinc to prevent rusting.

## Slide 123: Steel Pipe and Tubing
Most steel pipe and steel tubing is produced using an electric welding process.
Steel tubing used for structural components is cleaned and coated with a primer.
Black iron pipe and fittings are used for compressed air and fuel gas piping.
Steel pipe is joined using threaded fittings that are tapered. This makes the joint watertight.

## Slide 124: Light Gage Steel Framing Members
Light gage steel framing members have long been used for interior wall studs in commercial buildings.
Metal framing tends to be less expensive than wood framing.
Disadvantage is metal studs in exterior walls increases heat flow, reducing the insulating value of the exterior wall.

## Slide 125: Framing Connectors
Framing connectors are designed to increase the strength of connections.
They are made of galvanized steel and are prepunched for fasteners.
Strapping connectors, also called ties hold parts of a frame together. They are often required by building codes in earthquake zones and areas where high wind speeds are a concern.
Hanging connectors connect the end of one framing member to the side of another.
Both strapping and hanging connectors are attached with nails or screws.
Corrosion resistant fasteners are required for exterior applications.

## Slide 126: Fasteners
Nails, bolts, and screws are the most commonly used fasteners in construction.
In the late 1800’s, a machine was invented that made nails from wire. Roofing nails have large heads to prevent them from pulling through shingles. In construction today, most nails are driven with nail guns.
Bolts are inserted through holes drilled in the materials to be fastened. They are secured using nuts that thread onto the bolt. Anchor bolts are embedded in concrete foundations. The hook or twist on the embedded end of the anchor bolt prevents the bolt from pulling out of cured concrete.
One advantage of screws over nails is that they can be removed without damaging the components being fastened. Common types of screwdriver shapes are slotted, Phillips, square, and combination drive (fig 7-33, page 141).

## Slide 127: Working with Fasteners
Finish nails are set below the board surface with a nail set. Setting permits the nail head to be covered by putty so it is not visible (fig 7-37, page 142).
Screw installation often requires that a clearance hole be drilled through the top piece of the material and a pilot hole be drilled into the bottom piece of the material. A clearance hole allows the screw to be driven without splitting the wood and reduces the force required to drive the screw.

## Slide 128: Aluminum and Copper
Neither aluminum or copper rust (nonferrous metals), so they are commonly used where rust resistance is important.
Aluminum sheet is formed into gutters, downspouts, siding, flashing, and roofing.
Aluminum extrusions are used to make window and door frames.
Copper sheets are formed into gutters, downspouts, flashing, and roofing.
Most electrical wire is made from copper.
Copper pipe and fittings are widely used for plumbing.

## Slide 129: Summary
Ferrous metals contain a large percentage of iron. Steel is an example of a ferrous metal. They are magnetic.
Combining metals with other elements forms alloys. Steel is an alloy of iron and carbon.
Casting is done by pouring molten steel into moulds or by continuous casting.
Extrusion produces shapes of uniform cross section by forcing steel through dies of appropriate shape. Tubing, pipe, and bars can be extruded in a variety of shapes and sizes.
Forging involves pressing or stamping preheated steel between dies of the desired shape. Forging is used to make tools, brackets, clamps, and some fasteners.
Drawing involves pulling steel through a series of dies to produce a desired cross sectional shape. Drawing is primarily used to make wire.
Structural steel is construction material that has specific properties and is formed into cross sections, or shapes.
Columns provide vertical support. I beams and wide flange I beams are typically used for columns.
Girders are large horizontal structural members that are supported by columns.
Beams are horizontal structural members that are supported by girders.
A hand operated winch, called a come-along, is used to pull the steel in position.
Bracing involves installing diagonal steel components to make the frame rigid.
Galvanizing is a process in which steel is coated with zinc to prevent rusting.
Steel tubing used for structural components is cleaned and coated with a primer.
Black iron pipe and fittings are used for compressed air and fuel gas piping.
Light gage steel framing members have long been used for interior wall studs in commercial buildings.
Nails, bolts, and screws are the most commonly used fasteners in construction.
Aluminum sheet is formed into gutters, downspouts, siding, flashing, and roofing.
Most electrical wire is made from copper.

## Slide 130: Chapter 8 Week 15 and 16
Wood and Wood Products

## Slide 131: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Distinguish between hardwoods and softwoods
Outline the steps in lumber production
Identify various wood panel products
Identify other wood products used in construction

## Slide 132: Wood
Solid lumber is used for framing, flooring, and cabinetry.
Wood chips are used to produce medium density fiber board.
Wood fibers are used to produce hardboard and paper.
Engineered wood products such as glue-laminated beams are also very useful in construction.
Wood is a sustainable resource.
Through wise forest management and tree farming, a continuing supply will be available.

## Slide 133: Classification of Wood
Wood is classified either as softwood or hardwood.
Softwood trees have needles and produce seeds with no covering, such as pine cones. They also have relatively large, straight trunks from which long boards can be cut.
Hardwoods come from deciduous trees, or trees that lose their leaves every fall. Most lumber from hardwood trees is used for interior trim, cabinet doors, and flooring because of its attractive appearance.

## Slide 134: Lumber
Lumber is wood that has been processed into useable forms.
Converting logs into lumber:
To transform wood into lumber trees are cut down. Branches are removed from the trunk and the trunk is cut into logs of the desired length. The logs are then transported to a saw mill for further processing.
Debarked logs are placed on a carriage that feeds the logs past a saw that cuts them to the desired thickness.
Seasoning Lumber:
To reduce the moisture content, freshly cut lumber is dried, or seasoned.
Lumber Classifications and Grades:
Grading is a measure of the quality of the lumber. Building codes specify the minimum grades of lumber that are permitted for framing buildings. Lumber grades differ for softwoods and hardwoods.
Boards are less than 2” nominal thickness and graded based on appearance.
Dimension lumber is more than 2” and less than 5” in nominal thickness and graded based on strength.
Timbers are lumber greater than 5” thick and graded based on strength.
Lumber sizes:
Nominal size of lumber is greater than actual size.

## Slide 135: Lumber
Lumber Uses:
Softwood can be used to frame floors, walls, ceilings, and roofs.
Dimension hardwoods are used for shelving, interior trim, and a variety of other applications.
Treated Lumber and Manufactured Lumber:
Lumber used for decks, docks, and other exterior structures are often treated with chemicals to increase its resistance to decay.
The lumber is placed in a sealed tank and pressure is applied to force the preservative in the wood cells.
Lumber Safety:
Be sure you have a clear path before moving a long object.
Splinters are a common injury when working with wood. Gloves made of leather or puncture resistant synthetic material provide good protection.
Wear safety glasses when sawing or performing other chip or dust producing processes.
Wear a dust mask to reduce inhalation of sawdust.
Do not burn treated wood. Burning can produce toxic substances.
Wash exposed skin with mild soap and water to reduce the possibility of skin irritation.
Power tools should either be double insulated or equipped with a safety ground.

## Slide 136: Wood Panel Products
Wood panel products are composite materials made by binding wood strands, particles, fibers, or veneers with adhesives.
Plywood:
Plywood is made using three, five, or seven thin layers (plies) of wood assembled with the grain of each ply at right angles to the adjacent ply. Adhesive is applied. The plies are stacked and placed in a heated press to cure the adhesive.
In the United States, plywood is usually 4’x8’ in several thicknesses.
Softwood plywood is graded either appearance or structural, depending on the intended use. Hardwood plywood is graded based on the appearance of the face veneers.
Hardboard:
Hardboard is a dense, abrasion resistant wood product made from wood fibers. Common uses of hardboard include exterior siding for buildings, wall paneling, underlayment for vinyl flooring, cabinet drawe bottoms and backs, and the core for hardwood plywood.

## Slide 137: Wood Panel Products
Medium Density Fiberboard:
MDF is made from small wood particles mixed with adhesive, formed into a mat, and placed in a heated press.
It is used as a base for plastic laminates used to make countertops and as a underlayment for vinyl flooring. It is also used in cabinets, shelving, and drawer construction.
Oriented Strand Board:
OSB is made from long, narrow, strand like particles. The particles are coated with adhesive and put down in layers to form a mat. Each successive layer is placed at right angles to the previous layer. The mat is placed in a heated press to cure adhesive.
OSB is most often used for roof and wall sheathing and subflooring. It is also used to make wood I-joists.

## Slide 138: Wood Panel Products
Waferboard:
Waferboard is similar to OSB. The particles are larger and randomly oriented. Waferboard is an alternative to OSB.
Working with Wood Panel Products:
These products are held in place with nails or adhesives.
Often it is quicker and more accurate to cut these materials after they are in position on the wood frame.
Nail guns are often used to nail sheathing and subflooring. Be sure you understand the proper operation of this tool before using it.

## Slide 139: Engineered Lumber and Beams
Laminated Veneer Lumber:
LVL is made using long strips of veneer.
Major defects are trimmed before they are coated with adhesive.
The veneer strips are stacked so that their ends overlap randomly.
The random overlap of veneer makes it possible to produce very long pieces of lumber.
The veneers are placed in a heated press that compresses the veneers and cures the adhesive.
LVL is most often used for headers, beams, columns, and other applications in which strength is critical.
Glue Laminated Beams:
Glue laminated beams are made by bonding several 2” thick pieces of lumber together.
They are used for beams, headers, and straight stringers.
Curved glue laminated beams are used to frame arched roofs.

## Slide 140: Engineered Lumber and Beams
Wood I-Joists:
Wood I-joists are made of plywood or OSB webs and LVL top and bottom (fig 8-15, page 162).
They are most often used for floor joists and rafters.
Open-Web Joists:
Open web joists are another alternative for floor joists (fig 8-16, page 163).
The open web joists provide spaces to install utilities without cutting openings.
Parallel Strand Lumber:
It is made using veneer strands.
The adhesive is cured under pressure to make large blocks.
The blocks are sawn into finished sizes.

## Slide 141: Other Wood Products
Wood Shingles and Shakes:
They are made from decay resistant woods such as western red cedar.
Wood Siding:
Both horizontal and vertical siding can be made from wood.
High quality wood siding is made from wood that is free of knots and other defects.
Wood Molding:
Wood molding is used for baseboards, window and door trim, and a variety of other applications.
Lower grade moldings are generally painted.

## Slide 142: Summary
Wood is a sustainable resource. Through wise forest management and tree farming, a continuing supply will be available.
Softwood trees have needles and produce seeds with no covering, such as pine cones.
Hardwoods come from deciduous trees, or trees that lose their leaves every fall.
Lumber is wood that has been processed into useable forms. Lumber used for decks, docks, and other exterior structures are often treated with chemicals to increase its resistance to decay.
Lumber Safety: Be sure you have a clear path before moving a long object. Splinters are a common injury when working with wood. Gloves made of leather or puncture resistant synthetic material provide good protection. Wear safety glasses when sawing or performing other chip or dust producing processes. Wear a dust mask to reduce inhalation of sawdust. Do not burn treated wood. Burning can produce toxic substances. Wash exposed skin with mild soap and water to reduce the possibility of skin irritation. Power tools should either be double insulated or equipped with a safety ground.
Wood panel products are composite materials made by binding wood strands, particles, fibers, or veneers with adhesives.
Laminated Veneer Lumber: LVL is most often used for headers, beams, columns, and other applications in which strength is critical.
Glue Laminated Beams: They are used for beams, headers, and straight stringers. Curved glue laminated beams are used to frame arched roofs.
Wood Shingles and Shakes: They are made from decay resistant woods such as western red cedar.
Wood Siding: Both horizontal and vertical siding can be made from wood. High quality wood siding is made from wood that is free of knots and other defects.
Wood Molding: Wood molding is used for baseboards, window and door trim, and a variety of other applications. Lower grade moldings are generally painted.

## Slide 143: Chapter 9 Week 17 and 18
Masonry, Glass, and Plastic

## Slide 144: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Outline the basic steps in laying masonry units
Describe the types of safety glass
Identify types of plastic used in plumbing

## Slide 145: Masonry
Masonry is a process of building with stone, brick, concrete masonry units, and other similar material.
Stone is one of the oldest building materials. Most stonework today is installed as non load bearing decorative surfaces on interior and exterior walls.
Granite is hard and durable. Sandstone varies in hardness and durability. Limestone is a light grey stone (buildings and monuments in Washington, D.C.). Marble is less resistant to weathering and more prone to staining than granite. Slate is used for floor tile and roofing.
Manufactured stone is made from lightweight concrete and resembles natural stone.
Stone is used for fireplace surrounds, accent walls, and floor surfaces.

## Slide 146: Brick
Bricks: A carefully prepared mixture of clay, shale, and a limited amount of water is fed into an extruder. The extruded ribbon is cut with a large wire cutter. Once the bricks have dried sufficiently, they are placed in a kiln for firing.
Building brick, also called common brick is strong and durable. Facing brick is used on exposed surfaces where appearance is important. Ceramic glazed brick is a facing brick with ceramic glaze applied to the exposed surface. Hollow brick is used in installations that require rebar reinforcement. Paving brick is a hard and wear resistant brick used as a roadway surface. Sewer and manhole brick are highly water resistant.
Bricks are used for interior and exterior walls , fireplaces, walkway patios, driveways, fences, and floors.

## Slide 147: Concrete Masonry Units
Concrete masonry units are made from Portland cement, aggregate (sand and small gravel), and water. The blocks are ejected from the molds automatically. They are moved to a room with controlled temperature and humidity for curing.
Hollow and solid concrete blocks are manufactured in many shapes and sizes.
Concrete brick is similar in size to masonry brick.
Applications for concrete masonry units include foundation walls, exterior and interior walls, firewalls, solar screens, chimneys, fireplaces, paving, and veneer walls.

## Slide 148: Other Masonry Units
Gypsum Block: Gypsum blocks are made from gypsum and a binder of vegetable fiber, mineral fiber, or wood chips. They are suitable for non load bearing, fire resistant interior partitions. They are usually finished with a plaster coating.
Clay Building Tile: Clay building tiles are made from fired clay. The hollow units are produced in load bearing and non load bearing forms. Filling the hollow cores with insulation improves the performance as an insulator against heat and sound. It is most often used as an exterior finish.

## Slide 149: Mortar
Mortar is a binding agent that binds masonry units together. It must be durable and water resistant. Mortar is made from Portland cement, masonry cement, hydrated lime, sand, and water.
Ties are wire or sheet metal pieces used to join different wall material.
Leads are corners of a masonry wall. They are laid first as a guide for laying the remainder of the masonry units between two leads.
Mason’s line is a light strong cord that is stretched between leads as a guide for laying blocks between corners.

## Slide 150: Glass
The primary ingredients of glass are sand (silica), soda (sodium oxide), and lime (calcium oxide).
Window Glass: is the least expensive type of glass and is produced in single strength (1/16”) or double strength (1/8”).
Safety Glass: Tempered glass is made by heating glass to near its melting point and then cooling it rapidly. It is 3 to 5 times stronger than non-tempered glass. It breaks into pebble like particles instead of sharp slivers. Laminated glass is produced by sandwiching one layer of clear plastic sheet between two layers glass. The plastic sheet increases resistance to breakage. Wired glass was developed as a fire resistant material. The wire mesh in the center of the glass holds the glass together even if it cracks from the heat of a fire.
Insulating Glass: is two or more sheets of glass separated by an air space. Moisture is removed from the air space to prevent condensation from forming during cold weather. To increase resistance to heat transfer the air space can be filled with argon gas.
Coated Glass: Mirror glass is made by applying a thin coat of silver to the back of a piece of glass. The coating provides the reflective surface. One way glass is made by applying a very thin metallic coating to one surface of the glass. The glass acts as mirror from one side but is translucent or clear from the other side.
Glass Uses: Most glass used in construction is for windows or doors. Storm doors, shower doors, shower enclosures, and skylights are made with tempered or laminated safety glass. The exterior walls of some buildings are enclosed with reflective glass.

## Slide 151: Plastic
Acrylic and Polycarbonate Plastics: are used primarily as a replacement for glass. They have much greater impact strength than window glass. A disadvantage is that they can easily be scratched.
Polyvinyl Chloride (PVC): is used for cold water supply and drain waste and vent piping. PVC piping and fittings are white in color. PVC adhesive is used to bond joints.
Chlorinated polyvinyl chloride (CPVC): is suitable for hot water supply. CPVC pipe and fittings are tan in color and joined using CPVC adhesive.
Cross linked polyethylene (PEX): can be used for both hot and cold water supply. PEX cannot be joined with adhesives. PRX fittings are used to join separate pieces.
Polyethylene (PE): is used most frequently to pipe natural gas. PE pipe is now manufactured in yellow to distinguish it from orange communication wiring.
Styrene Rubber (SR): piping is used to move water from downspouts, septic tank drain fields, and foundation drains.
Vinyl: is used for siding, soffit, fascia, gutters, and floor coverings. It is available in a variety of colors and is easy to work with and requires little maintenance.

## Slide 152: Summary
Masonry is a process of building with stone, brick, concrete masonry units, and other similar material.
Stone is one of the oldest building materials.
Bricks are used for interior and exterior walls , fireplaces, walkway patios, driveways, fences, and floors.
Mortar is a binding agent that binds masonry units together.
The primary ingredients of glass are sand (silica), soda (sodium oxide), and lime (calcium oxide).
Tempered glass is made by heating glass to near its melting point and then cooling it rapidly. It is 3 to 5 times stronger than non-tempered glass. It breaks into pebble like particles instead of sharp slivers.
Laminated glass is produced by sandwiching one layer of clear plastic sheet between two layers glass. The plastic sheet increases resistance to breakage.
Wired glass was developed as a fire resistant material. The wire mesh in the center of the
Insulating Glass: is two or more sheets of glass separated by an air space. Moisture is removed from the air space to prevent condensation from forming during cold weather. To increase resistance to heat transfer the air space can be filled with argon gas.
Acrylic and Polycarbonate Plastics: are used primarily as a replacement for glass.
Polyvinyl Chloride (PVC): is used for cold water supply and drain waste and vent piping. PVC piping and fittings are white in color.
Chlorinated polyvinyl chloride (CPVC): is suitable for hot water supply. CPVC pipe and fittings are tan in color and joined using CPVC adhesive.
Cross linked polyethylene (PEX): can be used for both hot and cold water supply. PEX cannot be joined with adhesives. PRX fittings are used to join separate pieces.
Polyethylene (PE): is used most frequently to pipe natural gas. PE pipe is now manufactured in yellow to distinguish it from orange communication wiring.
Styrene Rubber (SR): piping is used to move water from downspouts, septic tank drain fields, and foundation drains.
Vinyl: is used for siding, soffit, fascia, gutters, and floor coverings. It is available in a variety of colors and is easy to work with and requires little maintenance.

## Slide 153: Chapter 10 Week 19 and 20
Architectural Design

## Slide 154: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Distinguish between architectural design and engineering
Identify factors common to architectural design problems
Describe steps of the design process

## Slide 155: What is Architectural Design?
Architectural design is a process for developing and evaluating solutions for planned communities, shopping centers, and individual structures.
Engineers typically design highways, bridges, dams, and utility systems.
Engineers also solve design problems related to structural, mechanical, and electrical systems for buildings.
Architects work with engineers to solve these type of problems in the buildings they are designing.

## Slide 156: Factors Common to All Architectural Design Problems
Five factors are common to all design projects: function, appearance, cost, strength, and materials.
All factors are interrelated.
Function: The design solution must meet the needs of the design problem. For example, a garage must be large enough for the vehicles that are to be parked in it.
Appearance: Bothe the exterior and interior of the building should be attractive.
Cost: A project cannot be built if the cost exceeds the money available for construction. The architect develops an initial budget, dividing the total amount in categories: foundation, structure, roof and exterior walls, interior partitions and ceiling, mechanical, electrical, interior finish, and landscaping.
Strength: Foundations must support a building and its contents. Walls, beams, joists, rafters, and all other structural components must meet design requirements.
Materials: Characteristics such as strength, weather resistance, fire resistance, and resistance to heat transfer determine if a material will be appropriate for a given use. Appearance is important for visible material such as drywall, wood paneling or siding, and brick. These materials must be attractive, but also functional.

## Slide 157: The Design Process
Step 1 – Identify the Problem: A design is always based on a need. Gathering additional information clarifies the problem and establishes limitations that must be taken into account. Finally, designers need to know the budget for each portion of the design. This serves as a realistic limit for what can be included.
Step 2 – Generate Preliminary Ideas: Preliminary ideas are initial thoughts generated by architects regarding possible solutions to the design problem. Preliminary ideas are often recorded as sketches. Some preliminary ideas are recorded in list form. The goal is to record all ideas so none are forgotten as the design process proceeds.
Step 3 – Refine Ideas: When the idea is refined, the sketch is converted into a scale drawing. This helps determine if the idea is workable. Elements from two or more preliminary ideas might be combined to create a workable solution.

## Slide 158: The Design Process
Step 4 – Analyze Ideas: Structural analysis examines the strength requirements of the structure. Site analysis: is an analysis of how the proposed building will fit on a site. The location of the main entrance, driveways, parking lots, and other facilities will be studied. Functional analysis: determines if a design will work as planned. Cost Analysis: Once the analysis of the various design ideas is completed, the architects prepare their ideas for presentation to their clients.
Step 5 – Select the Design: Based on the analysis, the architects decide which design alternatives to present to the client. If the client chooses to continue with the project, the architects will be authorized to prepare construction documents.

## Slide 159: The Design Process
Step 6 – Prepare Construction Documents: Once a design is chosen detailed, dimensioned drawings of every part of the building are prepared. Specifications for materials and construction methods to be employed are also prepared.
Step 7 – Implement Design: This includes all the activities in completing the project, from managing the project to closing the contract and transferring the project. The first step is to hire contractors so work may begin. The design architects are often hired by the client to oversee the work being done by each contractor in the project.

## Slide 160: Summary
Architectural design is a process for developing and evaluating solutions for planned communities, shopping centers, and individual structures.
Engineers typically design highways, bridges, dams, and utility systems.
Five factors are common to all design projects: function, appearance, cost, strength, and materials.
The Design Process: Step 1 – Identify the Problem: A design is always based on a need.
Step 2 – Generate Preliminary Ideas: Preliminary ideas are initial thoughts generated by architects regarding possible solutions to the design problem.
Step 3 – Refine Ideas: When the idea is refined, the sketch is converted into a scale drawing. This helps determine if the idea is workable.
Step 4 – Analyze Ideas: Structural analysis examines the strength requirements of the structure. Site analysis: is an analysis of how the proposed building will fit on a site. Functional analysis: determines if a design will work as planned. Cost Analysis: Once the analysis of the various design ideas is completed, the architects prepare their ideas for presentation to their clients.
Step 5 – Select the Design: Based on the analysis, the architects decide which design alternatives to present to the client.
Step 6 – Prepare Construction Documents: Once a design is chosen detailed, dimensioned drawings of every part of the building are prepared.
Step 7 – Implement Design: This includes all the activities in completing the project, from managing the project to closing the contract and transferring the project.

## Slide 161: Chapter 11 Week 21 and 22
Construction Engineering

## Slide 162: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify factors common to engineering design problems
Describe steps of the engineering process
Give examples of want is done during each step of the engineering process

## Slide 163: What is Construction Engineering?
Construction engineering is a process for developing and evaluating solutions to construction problems.
Engineers are licensed professionals who apply principles of science and mathematics to design various structures, machines, or systems.
Civil engineers design highways, dams, water supply systems, and sewage systems.
Structural engineers design the framework of buildings, bridges, towers, and other structures.
Transportation engineers are responsible for the overall design of transportation systems.
Electrical engineers design electrical utility systems and electrical wiring and lighting for buildings and other projects.
Mechanical engineers design heating, ventilation, and air conditioning systems (HVAC), elevators, escalators, and other types of mechanical equipment used in construction projects.

## Slide 164: Factors Common to All Engineering Design Problems
Like architects, engineers focus on five factors of the design process: function, strength, materials, cost, and appearance.
Function: A design is functional if it does what it is intended to do.
Strength: Engineers must determine the strength needed for a constructed project to do its job. For example, a bridge must support the load it is designed to carry.
Materials: Engineers select materials based on their strength, weather and fire resistance, cost, and appearance.
Costs: Engineers must consider the cost of the design alternatives. Costs are affected by site choice, structure design, construction methods, life expectancy of the structure, and budget.
Appearance: Designs that are functional, cost effective, and attractive are preferred to those that are only functional and cost effective.

## Slide 165: The Engineering Process
Step 1 – Identify the Problem: This is time to observe, investigate, and gather information. The engineers should also know what has not worked in the past on similar designs.
Step 2 – Generate Preliminary Ideas: Engineers may brainstorm with other engineers to create preliminary ideas. These ideas are often recorded as rough sketches or lists.
Step 3 – Refine Ideas: More details are added and sketches are improved. Several preliminary ideas may be integrated.
Step 4 – Analyze Ideas: At least four types of analysis are done for each idea. Functional Analysis: Determines how well each refined idea meets the needs of the project. Site Analysis: Site analysis studies the suitability of various sites chosen for a construction project. Structural Analysis: focuses on the strength of structures in the building project. Cost Analysis: During functional analysis of each plan alternative, initial cost estimates are prepared.

## Slide 166: The Engineering Process
Step 5 – Select a Design: Selected designs are brought to life using drawings, models, photographs, charts, and graphs. Advantages, disadvantages, and cost estimates are also presented to the client.
Step 6 – Prepare Construction Documents: Detailed drawings and specifications are prepared for each element of the design. Specifications are written for the quality of materials and workmanship needed for the project. Together the drawings and specifications are called construction documents.
Step 7 – Implement the Design: Implementation of the design includes all on site work needed to complete the project. When the construction documents are complete, contractors are selected and the work begins. On large projects, the owner is responsible for making payments at the end of each major phase of the project.

## Slide 167: Summary
Construction engineering is a process for developing and evaluating solutions to construction problems.
Engineers are licensed professionals who apply principles of science and mathematics to design various structures, machines, or systems.
Civil engineers design highways, dams, water supply systems, and sewage systems.
Electrical engineers design electrical utility systems and electrical wiring and lighting for buildings and other projects.
Mechanical engineers design heating, ventilation, and air conditioning systems (HVAC), elevators, escalators, and other types of mechanical equipment used in construction projects.
Like architects, engineers focus on five factors of the design process: function, strength, materials, cost, and appearance.
The Engineering Process:
Step 1 – Identify the Problem: This is time to observe, investigate, and gather information.
Step 2 – Generate Preliminary Ideas: These ideas are often recorded as rough sketches or lists.
Step 3 – Refine Ideas: More details are added and sketches are improved. Several preliminary ideas may be integrated.
Step 4 – Analyze Ideas: At least four types of analysis are done for each idea. Functional Analysis, Site Analysis, Structural Analysis, Cost Analysis.
Step 5 – Select a Design: Selected designs are brought to life using drawings, models, photographs, charts, and graphs. Advantages, disadvantages, and cost estimates are also presented to the client.
Step 6 – Prepare Construction Documents: Detailed drawings and specifications are prepared for each element of the design.
Step 7 – Implement the Design: Implementation of the design includes all on site work needed to complete the project.

## Slide 168: Chapter 12 Week 23 and 24
Construction Documentation

## Slide 169: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify the materials that are included in contract documentation
Explain how scale drawings are made
Explain the purpose of written specifications

## Slide 170: Contract Documents
Contract documents include working drawings, specifications, and the contract for the job.
Working drawings indicate the shape, size, and location of all parts of the project.
Working drawings are drawn to scale. Scale drawings are usually smaller than the actual object.
Specifications are written details about a construction project.
Specifications describe the materials, methods of construction, and quality of work that is required for the project.
The working drawings and specifications are used to create an estimate, a calculation of the cost to build a project.
Bids are presented based on the estimate.
The working drawings and specifications become legally binding portion of the contract once the contract is signed.

## Slide 171: Architectural Drawings
Architectural drawings are made to show the physical form of a building or other architectural structure.
Each floor will have a separate drawing for floor layout, and for electrical, HVAC, and plumbing systems, creating at least four drawings for each floor of the building.
Plumbers can complete their work using only the plumbing plans.
The word plan indicates that the drawing is top view.
An elevation is a view of the building seen from one side, such as front elevation.

## Slide 172: Small Projects
Architectural drawings for small projects contain a plot plan, foundation plan, floor plan, elevations, and detailed sections.
A plot plan is a top view drawing that shows the building site and the placement and orientation of the structures inside the property lines.
Property lines indicate the boundary of the property.
A landscape plan shows the finished contour of the land and the type and placement of trees, shrubs, flowers, and water features.
A foundation plan shows the size and shape of building supports. Foundations are composed of footings, walls, piers, and columns. Footings are the base on which foundations are built.
Section views show a cross section of an object, giving more detail.
The floor plan depicts the room layout of each floor. It includes walls, doors, and windows. It may also include electrical, plumbing, and HVAC.
Elevation drawings show the outside of the structure as it would appear if you were looking straight at the building.
Detailed drawings show how the component parts fit together. Decorative elements are often shown in detail drawings.

## Slide 173: Large Projects
In addition to plot, floor, and landscape plans, large projects need:
Structural plan - describes how the building is to be framed.
Electrical plan – shows the location and type of lighting, electrical outlets, switches, circuit breakers, and other elements of the electrical system.
Climate control plan – shows the location of HVAC equipment, ducts, and controls.
Plumbing plan – shows the location of plumbing fixtures, piping for hot and cold water, drains, vents, and other components of the plumbing system.
Mechanical equipment drawing – shows the location of elevators, escalators, and other mechanical equipment.
Finish details – illustrates cabinetry, interior and exterior trim, stairs and other items that are visible in the finished building.

## Slide 174: Engineering Drawings
Engineering drawings are used to graphically communicate the size, shape, and location information needed to build utilities, roads, pipelines, and other projects.
A complete set of engineering drawings include site, structural, electrical, and mechanical drawings.
Site drawings describe the site before construction begins and includes existing trees, buildings, fences, and other objects on the property. The site drawing also addresses the contour of the land and how it may need to be modified for best use.
Structural drawings describe the support system to be built for a structure.
Electrical drawings show all electrical devices included in the project. These drawings indicate how wiring is to be installed to distribute electrical power to each of the devices.
Mechanical drawings describe any mechanical devices that are part of a structure.

## Slide 175: Shop Drawings
Shop drawings are drawings prepared by a sub contractor to provide details needed to make some components off site for a project.
Structural steel work often requires shop drawings.

## Slide 176: Specifications
Specifications describe the building material to be used, the equipment to be installed, methods to be used, and the quality of work that is required for a construction project.
Specifications are precisely and carefully written to coordinate with the drawings.
Without information provided by the specifications, it would not be possible to prepare an accurate estimate or bid.
Once a contract is signed for the project, the specifications become a part of the legal contract.

## Slide 177: Summary
Contract documents include working drawings, specifications, and the contract for the job.
Working drawings indicate the shape, size, and location of all parts of the project.
Specifications are written details about a construction project.
The working drawings and specifications are used to create an estimate, a calculation of the cost to build a project.
Architectural drawings are made to show the physical form of a building or other architectural structure.
Each floor will have a separate drawing for floor layout, and for electrical, HVAC, and plumbing systems, creating at least four drawings for each floor of the building.
Architectural drawings for small projects contain a plot plan, foundation plan, floor plan, elevations, and detailed sections.
A plot plan is a top view drawing that shows the building site and the placement and orientation of the structures inside the property lines.
A foundation plan shows the size and shape of building supports. Foundations are composed of footings, walls, piers, and columns. Footings are the base on which foundations are built.
The floor plan depicts the room layout of each floor. It includes walls, doors, and windows. It may also include electrical, plumbing, and HVAC.
Elevation drawings show the outside of the structure as it would appear if you were looking straight at the building.
Detailed drawings show how the component parts fit together. Decorative elements are often shown in detail drawings.
Engineering drawings are used to graphically communicate the size, shape, and location information needed to build utilities, roads, pipelines, and other projects.
Site drawings describe the site before construction begins and includes existing trees, buildings, fences, and other objects on the property.
Shop drawings are drawings prepared by a sub contractor to provide details needed to make some components off site for a project.
Specifications describe the building material to be used, the equipment to be installed, methods to be used, and the quality of work that is required for a construction project. Specifications are precisely and carefully written to coordinate with the drawings.

## Slide 178: Chapter 13 Week 25 and 26
Project Management

## Slide 179: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Define and give examples of management practices
Distinguish among planning, organizing, and controlling activities
Summarize the organization of a typical construction company
Give examples of the responsibilities of employees in a typical construction company

## Slide 180: Management Defined
Management includes planning, organizing, and controlling the people, materials, tools, and equipment necessary to complete a construction project.
Well managed construction projects are built according to drawings and specifications. They are completed on schedule and within budget.
If good management practices are not followed, a construction company can lose money and even go out of business.

## Slide 181: Management Practices
Planning: The planning activities of contractors involve formulating, researching, and designing or engineering.
Formulating is the process of setting goals. To determine goals, construction company owners will need to decide: where to locate the company, the type and size of construction projects they will seek, the type of employees the company will use, and the type of contracts they will attempt to obtain.
Researching involves finding answers to questions that influence the business of the company. For example, the construction company needs to know the construction trends in the area it serves.
Designing and engineering is detailing how components will be fabricated and creating innovative ways of performing the work.

## Slide 182: Management Practices
Organizing: involves structuring and supplying an organization.
Structuring involves the division of responsibilities of an organization.
Supplying involves hiring qualified people to fill each position in the organizational chart and obtaining the materials, tools and equipment necessary for them to do their work.

## Slide 183: Controlling
Controlling: involves management tasks such as directing, monitoring, reporting, and correcting.
Directing involves supervising people and coordinating materials and equipment to get the job done. When directing employees, managers describe what work is to be done, how it is to be done, the quality of work that is required, and the expected rate of production.
Monitoring involves overseeing the work of others and making sure it progresses as expected.
Reporting means providing feedback to persons in responsible positions. For example, if a worker finds a defective part, the worker will tell the job supervisor of the problem.
Correcting involves fixing problems and issues that occur during the course of a job. If a project falls behind schedule, additional workers may be hired to get back on schedule.

## Slide 184: Organization and Division of Responsibility
A large construction company is typically organized as shown in fig 13-4, page 236.
The president is often a licensed general contractor, may also be the owner of the company, and is ultimately responsible for the success of the company.
The president oversees the work of the department heads and they are directly responsible for the day to day operations of the company.
Five departments that are commonly found in large construction companies include engineering, production, personnel, finance, and marketing.
The engineering department provides the technical data necessary to complete the project. On large projects, one or more field engineers so many engineering tasks on site.
The production department is responsible for the management of all work at the construction site. Work done by this department creates much of the company’s income and profit. A key person is the project manager, who is responsible reviewing and evaluating the progress of a project. Construction superintendents oversee all the day to day work at the construction site. Job supervisors manage the construction crews and coordinate the work of subcontractors with the other trades people.
The personnel department hires and fires employees, solves employee work issues, trains workers, and promotes safety.
The finance department pays employees, subcontractors, insurance, taxes, and other operating expenses of the company, purchases necessary material and supplies, and keeps record of company income and expenses.
The marketing department promotes a company’s image in order to generate new business and raises awareness of the company’s presence.

## Slide 185: Subcontractor and Management Responsibilities
The subcontractor’s work is limited to obtaining and accounting for the resources necessary to do the subcontracted work for the project.
The owner of the project is responsible for supplying the building site, paying the contractor as stated in the contract, and making quick decisions about problems that are encountered or changes that re needed as the work progresses.

## Slide 186: Summary
Management includes planning, organizing, and controlling the people, materials, tools, and equipment necessary to complete a construction project.
1. Planning: The planning activities of contractors involve formulating, researching, and designing or engineering. Formulating is the process of setting goals. Researching involves finding answers to questions that influence the business of the company. Designing and engineering is detailing how components will be fabricated and creating innovative ways of performing the work.
2. Organizing: involves structuring and supplying an organization. Structuring involves the division of responsibilities of an organization. Supplying involves hiring qualified people to fill each position in the organizational chart and obtaining the materials, tools and equipment necessary for them to do their work.
3. Controlling: involves management tasks such as directing, monitoring, reporting, and correcting. Directing involves supervising people and coordinating materials and equipment to get the job done. When directing employees, managers describe what work is to be done, how it is to be done, the quality of work that is required, and the expected rate of production. Monitoring involves overseeing the work of others and making sure it progresses as expected. Reporting means providing feedback to persons in responsible positions. For example, if a worker finds a defective part, the worker will tell the job supervisor of the problem. Correcting involves fixing problems and issues that occur during the course of a job. If a project falls behind schedule, additional workers may be hired to get back on schedule.
The president is often a licensed general contractor, may also be the owner of the company, and is ultimately responsible for the success of the company. The president oversees the work of the department heads and they are directly responsible for the day to day operations of the company.
Five departments that are commonly found in large construction companies include engineering, production, personnel, finance, and marketing. The engineering department provides the technical data necessary to complete the project. The production department is responsible for the management of all work at the construction site. Work done by this department creates much of the company’s income and profit.
The subcontractor’s work is limited to obtaining and accounting for the resources necessary to do the subcontracted work for the project.

## Slide 187: Chapter 14 Week 27 and 28
Construction Estimating and Bidding

## Slide 188: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Distinguish between rough and detailed estimates
Identify the categories of cost that are included in a detailed estimate
Describe the component of labor cost
Identify cost involved in using construction equipment
Distinguish among overhead, markup, and profit or loss

## Slide 189: Types of Estimates
Rough estimates are done quickly, are based on similar jobs done previously, and give a general idea of the cost.
Rough estimates are not very accurate because they do not take into account how the current project may be different from the previous work.
Detailed estimates require careful analysis of all the parts of a project.
Materials, supplies, labor, tools, and equipment are all analyzed.
Material costs include the purchase price plus the transportation cost to get the material to the site.
These detailed costs are all analyzed to arrive at a detailed estimate.

## Slide 190: Estimating Process
The goal of estimating is to make a precise appraisal of costs.
1. Review working drawings and specifications. Make a list (takeoff)of all items that need to be estimated and the quantity needed of each item.
2. Visit the job site to collect information on site access and availability of electricity, water, and other utilities. The presence of structures or trees that must be protected or removed is noted. Information is gathered about the topography and drainage of the site. All information is included in a report that accompanies the estimate.
3. Following the site visit, break the project into a sequence of work units. A work unit is a part of the project. The cost of each work unit is calculated. This includes the cost of materials, supplies, labor, tools, and equipment needed for each unit of work.

## Slide 191: Materials
The estimator needs to know the units in which materials are sold.
For example materials can be sold by the item, linear foot, square foot, cubic yard, or square yard.
For materials sold by individual items, count the number of each item that is needed and multiply that number by the cost of the item (fig 14-3, page 246).
For items that are sold in feet, remember to convert items in inches to feet, otherwise the calculation will be 12 times what it should be.
Surface area is calculated in square feet. Measure the width and length in feet and multiply these numbers. Multiply this total square footage by the cost per square foot to find the total cost.
Some materials such as concrete are sold by the cubic yard.
Thickness (feet) x width (feet) x length (feet) = _______ cubic yards
27 feet3/yd.3
Once the volume of concrete is calculated, compute the cost by multiplying the number of cubic yards needed by the cost per cubic yard.

## Slide 192: Labor
Labor costs are the cost of an employee to the company.
A large portion of labor cost comes from the number of hours needed to complete a job.
Time estimates can be taken from labor productivity tables that are available for almost all construction tasks.
Careful record keeping on previous projects allows an estimator to use the company’s own rates.
In addition to wages paid to workers, labor costs also include expenses such as payroll taxes, worker’s compensation insurance, and benefits. Money to cover the cost of benefits must be included in the labor costs.
Benefits are non wage assets that employees receive from the employer other than wages and salaries. These include health insurance, paid sick leave, and paid vacations.

## Slide 193: Equipment
Equipment cost include the cost of equipment operation, part of the cost of owning the equipment, and the cost of moving the equipment to and from the site.
Operating costs include the cost of the equipment operator, fuel, and a portion of the maintenance and repair cost.
Owners of equipment incur costs by owning equipment: depreciation, interest, taxes, and storage.
Depreciation is the loss in value of equipment as it gets older.
Money paid in interest is not available to be used elsewhere.
Once the cost of ownership is estimated, the hourly rate for a piece of equipment can be established.

## Slide 194: Overhead
Overhead refers to the ongoing expenses of running a company.
Overhead expenses include items such as rent, office supplies, taxes, telephone services, utilities, advertising, and travel expenses.
These necessary expenses allow the company to function, but they do not directly generate profit.
Builder’s risk insurance protects the contractor and owner against perils during the construction period.
Public liability insurance protects the contractor and owner against lawsuits resulting from injury, damage or loss that occurs on a construction site.

## Slide 195: Markup & Profit and Loss
Markup is an amount added to an estimate to cover contingencies and possibly provide profit to the contractor.
Contingencies are unforeseen costs. Management determines the amount of markup while preparing the bid.
Profit and Loss: Profit is the money that remains after all expenses are paid. Loss is a situation in which expenses exceed income.

## Slide 196: Submitting a Bid
If competitive bidding is involved, the contractor prepares a bid following the procedure described in the advertisement for bids.
This bid is submitted along with a bid bond.
The bid bond is an insurance policy that guarantees the owner that the contractor will enter into a contract for the price stated in the bid.

## Slide 197: Summary
Rough estimates are done quickly, are based on similar jobs done previously, and give a general idea of the cost.
Detailed estimates require careful analysis of all the parts of a project. Materials, supplies, labor, tools, and equipment are all analyzed.
The goal of estimating is to make a precise appraisal of costs. Following the site visit, break the project into a sequence of work units. A work unit is a part of the project. The cost of each work unit is calculated. This includes the cost of materials, supplies, labor, tools, and equipment needed for each unit of work.
The estimator needs to know the units in which materials are sold. For example materials can be sold by the item, linear foot, square foot, cubic yard, or square yard.
Time estimates can be taken from labor productivity tables that are available for almost all construction tasks.
In addition to wages paid to workers, labor costs also include expenses such as payroll taxes, worker’s compensation insurance, and benefits. Money to cover the cost of benefits must be included in the labor costs.
Overhead expenses include items such as rent, office supplies, taxes, telephone services, utilities, advertising, and travel expenses.
Builder’s risk insurance protects the contractor and owner against perils during the construction period.
Public liability insurance protects the contractor and owner against lawsuits resulting from injury, damage or loss that occurs on a construction site.
Markup is an amount added to an estimate to cover contingencies and possibly provide profit to the contractor.
Profit is the money that remains after all expenses are paid. Loss is a situation in which expenses exceed income.
The bid bond is an insurance policy that guarantees the owner that the contractor will enter into a contract for the price stated in the bid.

## Slide 198: Chapter 15 Week 29 and 30
Construction Scheduling

## Slide 199: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify construction methods commonly used in scheduling
Identify elements of a critical path network
Use schedule to hire workers
Ways contractors obtain materials
Reason for obtaining permits

## Slide 200: Purpose of Scheduling
A schedule lists the sequence in which tasks will be completed.
Managers use the schedule to determine when workers, materials, and equipment are needed.
The schedule can also be used to track the expenditure of money.
Early identification of money problems improves the opportunity to solve the problems.

## Slide 201: Scheduling Methods
1. Experience: While the experience method can work, it is best to use only on small projects. For large projects, formal scheduling methods are required.
2. Bar Chart: A bar chart shows a list of activities with a start, duration, and finish of each activity shown as a bar plotted to a time scale. Bar charts are effective means of scheduling and recording progress on construction projects (fig 15-2, page 258). The planned and actual expenditures of money are shown in an overall progress chart.
3. Critical Path Method (CPM): In this method activities and events of a project are shown in the form of a flow chart, or network. The network consists of paths, each of which indicates a series of activities that are done in order. The path that takes the longest time to complete is the critical path (CP). This path dictates the minimum length of time to complete a project (fig 15-4, page 259).

## Slide 202: Scheduling Workers
A schedule allows a contractor to determine the number and type of workers that will be needed for a project.
The general contractor either hires workers directly, or hires a subcontractor who will hire the workers.
If the project requires the hiring of union workers, the contractor contacts the appropriate union and requests a specific number of workers.
A home building company will begin construction of each home at a different time, allowing skilled workers to complete their craft on one home before moving to the next home. In this way the contractor provides continuing work for regular employees.

## Slide 203: Obtaining Materials
The list of materials needed for the project is created during the estimating process.
The contractor refers to the schedule to determine when various materials will be needed at the job site.
The goal is to have the materials available when necessary.
They should not arrive too early and certainly should not arrive late.
Structural steel framing for a building has to be fabricated specifically for the project, and then shipped to the work site. This process can take months.

## Slide 204: Obtaining Equipment and Permits
Contractors obtain equipment by purchasing, renting, leasing, or contracting the services of a subcontractor.
Permits are written documents that grant permission to a company to build, remodel, or repair. No work can be done until permits are issued.
It is the responsibility of the general contractor to apply for permits.
Subcontractors are generally required to obtain the special permits necessary for them to complete their work.
At minimum a building permit will be needed. Special permits are required for plumbing, electrical, and HVAC system. Permits may also be required for driveway entrances from the street and for connections to the water, sewer, and natural gas mains.

## Slide 205: Summary
A schedule lists the sequence in which tasks will be completed. Managers use the schedule to determine when workers, materials, and equipment are needed.
Scheduling Methods: 1. Experience: While the experience method can work, it is best to use only on small projects. For large projects, formal scheduling methods are required. 2. Bar Chart: A bar chart shows a list of activities with a start, duration, and finish of each activity shown as a bar plotted to a time scale. 3. Critical Path Method (CPM): In this method activities and events of a project are shown in the form of a flow chart, or network. The network consists of paths, each of which indicates a series of activities that are done in order. The path that takes the longest time to complete is the critical path (CP).
If the project requires the hiring of union workers, the contractor contacts the appropriate union and requests a specific number of workers.
The goal is to have the materials available when necessary. They should not arrive too early and certainly should not arrive late. Structural steel framing for a building has to be fabricated specifically for the project, and then shipped to the work site. This process can take months.
Contractors obtain equipment by purchasing, renting, leasing, or contracting the services of a subcontractor.
Permits are written documents that grant permission to a company to build, remodel, or repair. No work can be done until permits are issued. At minimum a building permit will be needed. Special permits are required for plumbing, electrical, and HVAC system. Permits may also be required for driveway entrances from the street and for connections to the water, sewer, and natural gas mains.

## Slide 206: Chapter 16 Week 31 and 32
Site Preparation

## Slide 207: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify tasks required to prepare a site for construction
Summarize instruments used by surveyors
Distinguish between salvaging, demolishing, earthmoving, and disposal
Identify temporary buildings and utilities that may be needed at a construction site
Explain need for security at a construction site

## Slide 208: Establishing Site Boundaries
Preparing the site includes establishing site boundaries, providing access, rerouting traffic, clearing the site, locating the structure, locating temporary buildings, obtaining utilities, and securing the site.
Before a site is cleared or a structure is built, the builder must know where the boundaries of the site are located.
Surveying is the science of accurately locating a specific parcel of land on the earth’s surface.
Surveyor is a person who measures land, water, and airspace boundaries.
Recorder: The member of a survey party who records the survey findings.
Instrument Operator: The member of the survey party who sets up and operates surveying instruments.

## Slide 209: Surveying Instruments
A transit measures both vertical (up and down) and horizontal (right and left) angles. The telescope enables the operator to locate and read dimensions on the rod. Vertical angles are measured on the scale at the side of the instrument. Horizontal angles are measured on the scale at the base of the instrument (fig 16-2, page 269).
A surveyor’s level is used to establish elevation of the land and measure horizontal angles.
Sighting levels are hand held devices used to find a horizontal line. They are used only to make rough measurements.
Total stations are electronic surveying instruments that combine the features of a transit with electronic distance and angle measurement. It stores data electronically.
A plumb bob is a pointed weight suspended on a string that is used to locate a point vertically below another point.
A Philadelphia rod is a painted pole with a measuring scale marked on it. Surveyors use it to measure elevations.
Elevations: are vertical dimensions of land. They are shown by contour lines on a topographical drawing.

## Slide 210: Surveying a Site
The US Geological Survey (USGS) has previously mapped most of the country.
Surveys are needed for many types of construction jobs, including the laying of a road or building a house.
Monuments are permanent markers installed by government agencies to identify locations of known elevation (height above sea level) (fig 16-8, page 272).
Survey line: A survey method in which a line is established along the center of the site. Land for a specified distance on either side of the line is included in the survey.
Topographical surveys: An examination of a parcel of land done in order to establish the land’s contours and its features on or below the surface.
Easements are parts of the property used by utility companies to install and maintain the parts of their system that are above or below ground on the property. Buildings cannot be built on easements.
Setback and side yard requirements: many communities require that buildings be set back a minimum distance from the street. Side yard requirements specify that a minimum distance be maintained between buildings.

## Slide 211: Providing Access to the Site
Creating gravel driveways and parking areas may be all that is needed to reach buildings constructed close to existing streets.
Highways, dams, bridges, and power plants, however ,can cause major access problems. Temporary roads may need to be built. Boats may be needed to transport employees to the work site.
It is the construction company’s responsibility to work with local government departments to reroute traffic.
Even streams are rerouted when dams are built.

## Slide 212: Clearing the Site
The most common clearing practices are salvaging, demolishing, earthmoving, and disposal.
Salvaging involves the process of removing materials from buildings and other structures for use somewhere else.
Demolishing: Destruction of existing buildings and landscaping done in order to clear the site for construction. Wrecking is a method of demolition done using machinery. Rubble is the broken fragments of a demolished structure. Blasting is a demolition method that uses explosives to destroy structures and other objects.
Earthmoving: The earthmoving process changes the surface of a site by shifting soil. Removing brush and other vegetation and digging out old building foundations are two examples of the earthmoving process.
Disposal: Debris created while clearing a site must be removed. The debris is normally burned, buried, or hauled away. Burning is forbidden in many areas.

## Slide 213: Locating a Structure
Using a Centerline: Roadways, tunnels, and piping systems are laid out on centerlines. A centerline passes through the middle of a project and indicates the horizontal and vertical placement of the project. Cut and fill is an earthmoving process that removes high spots and fills low spots. Slope stakes are markers that indicate the limit of the cut and fill at a given location.
Using a Baseline: A baseline is a series of reference points that is used to establish the position of a building on a building site. A center baseline is a reference line that passes through the middle of the structure. An offset baseline is a reference line that is laid out at a distance from the building and parallel to the centerline. Batter boards are stake and board construction that mark the location of a structure.

## Slide 214: Locating Temporary Buildings
Buildings or trailers may be used for a field office and for tool and material storage.
It may be possible to rent or lease the use of an adjacent vacant lot.
In some cases it may be necessary to park trucks or trailers on the site during the workday and remove them at the end of each day.
Obtaining Utilities: Electricity, water, and telephones are required at a job site. In remote locations generators may be needed to produce electricity. Water may have to be pumped from a well, river, or lake. If cell phone service is spotty, satellite telephones may be required.
Securing the Site: The most secure sites are barricaded by a high fence. Gates are closed and locked at the end of the workday.

## Slide 215: Summary
Surveying is the science of accurately locating a specific parcel of land on the earth’s surface.
A transit measures both vertical (up and down) and horizontal (right and left) angles.
Total stations are electronic surveying instruments that combine the features of a transit with electronic distance and angle measurement. It stores data electronically.
Survey line: A survey method in which a line is established along the center of the site. Land for a specified distance on either side of the line is included in the survey.
Topographical surveys: An examination of a parcel of land done in order to establish the land’s contours and its features on or below the surface.
Easements are parts of the property used by utility companies to install and maintain the parts of their system that are above or below ground on the property. Buildings cannot be built on easements.
The most common clearing practices are salvaging, demolishing, earthmoving, and disposal.
A centerline passes through the middle of a project and indicates the horizontal and vertical placement of the project.
A baseline is a series of reference points that is used to establish the position of a building on a building site.
Buildings or trailers may be used for a field office and for tool and material storage.
The most secure sites are barricaded by a high fence. Gates are closed and locked at the end of the workday.

## Slide 216: Chapter 17 Week 33 and 34
Earthworks

## Slide 217: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Explain the purpose of stabilizing soil.
Identify hand tools and machines commonly used for earthwork.
Describe methods of loosening dense soil and rock.
Identify methods of excavation.
Describe how excavations are finished.

## Slide 218: Introduction
Earthwork is changes made to the earth on a construction site.
Earthwork includes stabilizing, loosening, excavating, transferring, and disposing of the earth.
Bank soil is soil that has not been disturbed through excavation.
Loose soil is earth that has been broken up and contains air.
Swell is the amount a soil increases in volume when it is excavated.
Compacted soil is earth that is mechanically compressed to drive out air.

## Slide 219: Stabilization
Stabilization is a process that prevents the cave in of soil during construction.
Retaining walls are temporary structures that support the sides of a hole.
In sloping, the sides of a hole are trimmed at an angle to prevent cave ins and reduce erosion.
Walers made of timbers or steel beams support the sheathing in retaining walls.
Shoring is angled supports used to brace the retaining walls in holes that are too wide for bracing to be used.
Treating is a technique used to stabilize loose or porous soils.
Trench boxes are manufactured devices that are placed in trenches to protect workers from cave ins.
Cofferdams are enclosures that keep water out and support the sides of holes that are below water (fig 17-7, page 291).

## Slide 220: Loosening
Dense material must be loosened before it is moved.
The most common method of loosening are blasting, breaking, ripping, and scarifying.
Breaking is done by vibrating dense soil by an air hammer.
Ripping tears dense material apart using a prong attached to the tractor.
Scarifying is similar to ripping but the tool attached to the tractor has several prongs.

## Slide 221: Excavation
Excavation is the process of digging, moving, and removing earth at a construction site.
Frost line: For small structures such as a backyard shed, excavation must extend below the point at which frost penetrates the soil (frost line).
Bulk pit excavation: Digging a wide, deep area and removing the spoil.
Spoil: Soil and rock that is removed during excavation.
Bulk wide area excavation: Shallow digging done over a large, easily accessed area.
Borrow pits: Holes dug to provide soil for another area.
Loose bulk excavation: Moving loose material from one location to another without hauling.
Limited area vertical excavation: involves digging a small area to a considerable depth (basement shelter).
Trench Excavation: Digging long narrow holes for underground utilities such as water and sewer pipes.
Dredging: involves removing soil or other material from below water. Often used to increase the depth of harbors and river channels.
Tunneling: is excavation that is done completely underground and requires all spoil to be removed. Subway systems are built using tunneling. Steel or concrete liners are installed against the tunnel walls to prevent cave-ins as excavation proceeds.

## Slide 222: Transfer and Disposal
Excavation creates spoil that occupies space on the building site.
The spoil must be disposed of in some way.
It is normally used, dumped, or sold.
Conveyors: are moving belts that are used to transport soil short distances.

## Slide 223: Finish Excavating
Grading: is done to smooth and level soil in preparation for landscaping or roadbeds.
Crawler tractors are able to travel over soft earth and apply a tremendous amount of pulling or pushing force without spinning the track.
Caterpillar continues to be a leader in the development and production of construction equipment.

## Slide 224: Summary
Earthwork includes stabilizing, loosening, excavating, transferring, and disposing of the earth.
Stabilization is a process that prevents the cave in of soil during construction.
The most common method of loosening are blasting, breaking, ripping, and scarifying.
Excavation is the process of digging, moving, and removing earth at a construction site.
Frost line: For small structures such as a backyard shed, excavation must extend below the point at which frost penetrates the soil (frost line).
Dredging: involves removing soil or other material from below water. Often used to increase the depth of harbors and river channels.
Tunneling: is excavation that is done completely underground and requires all spoil to be removed. Subway systems are built using tunneling. Steel or concrete liners are installed against the tunnel walls to prevent cave-ins as excavation proceeds.
Grading: is done to smooth and level soil in preparation for landscaping or roadbeds.

## Slide 225: Chapter 18 Week 35 and 36
Foundations

## Slide 226: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Describe the construction of basic types of foundations.
Describe the purpose of reinforcing steel in foundations.
Name the parts of concrete wall forms.
Explain how construction walls can be made waterproof.

## Slide 227: Introduction
A structure consists of a substructure and a superstructure.
The substructure is all structural work below the ground level.
The superstructure is all structural work above ground level.
Foundation: is a base that transfers the load created by a building to the earth supporting it.
Bearing surface: is the point of contact between the substructure and the earth.
Footings are designed to spread the weight of the structure over a greater area.

## Slide 228: Types of Foundations
Spread Foundations:
Most small buildings have spread foundations (fig 18-2, page 307).
The flat concrete footings are wider than the walls are thick.
The footings are placed below the frost line.
The foundation is built on top of the footing.
Poured concrete or concrete blocks are most often used for the walls.

## Slide 229: Types of Foundations
Floating Foundations:
Light buildings built on soft soil use floating foundations.
A single reinforced concrete slab supports the building.
Rebar and welded wire reinforcing are used to strengthen the concrete.
The slab needs extra strength under walls and columns.
More concrete and steel are added at these locations (fig 18-3, page 307).
Water and sewer pipes, electrical conduit, and any other utilities that are required are roughed in below the slab.

## Slide 230: Types of Foundations
Friction Pile Foundation:
Friction piles adhere to the soil they are driven through, creating friction between the pile and the soil, and providing stability.
A cluster of piles are used under columns (fig 18-4, page 308).
They are capped with a mat of steel reinforced concrete. This pile cap spreads the weight evenly over all the piles and serves as a footing for walls and columns.

## Slide 231: Types of Foundations
Bearing Pile Foundation:
Bearing piles transmit the weight of the structure to the bearing surface (bedrock).
Bearing piles are longer than friction piles (fig 18-5, page 308).
Like friction piles, bearing piles are used in clusters.
A steel reinforced concrete cap is used for each cluster of piles and serves as the footing for foundation walls and columns.

## Slide 232: Types of Foundations
Pier Foundation:
Piers are supports made by drilling or digging holes that are then filled with steel reinforced concrete.
During excavation, liners called caissons are used to keep the water out. Caissions are large steel pipes that are inserted as the hole is being drilled.

## Slide 233: Building a Spread Foundation
The trench for the concrete footing must extend below the frost line.
The sides of the excavation must be protected against cave-ins.
Concrete Footing:
Footings are constructed before foundation walls are constructed. Water in the trench must be pumped out before work can begin.
Form boards are placed on the outside and inside of the footings. The forms are held in place with stakes. Horizontal rebar is placed next. Concrete is then placed into the forms.
If the foundation wall will be made from concrete, a keyway and short lengths of rebar are inserted in the liquid concrete (fig 18-11, page 311). A keyway is a groove molded down the center of the footing, that strengthens the joint between the footing and the foundation wall.
Plastic sheets can be used to cover the concrete to keep it moist. Insulating blankets or straw is used to prevent freezing during cold weather.

## Slide 234: Building a Spread Foundation
Concrete Foundation Walls:
Foundation walls are usually made of poured concrete or concrete blocks.
Poured walls require forms to create their shape (fig 18-12, page 313).
Form oil allows easy removal of the forms after the concrete hardens.
The poured concrete is allowed to cure for at least one day before the forms are removed.
Any defects on the surface are repaired as soon as the forms are removed.

## Slide 235: Waterproofing Foundation Walls
Foundation drains are plastic pipes that contain many small holes in its wall to remove water from the soil around the foundation (fig 18-17, page 316).
Gravel placed over the pipe prevents the soil from clogging the pipe.
Open cell insulation placed on the outside of the foundation wall prevents water from reaching the wall.
Parging is a layer of mortar put on the outside of concrete block foundation walls to increase water resistance (fig 18-19, page 316).
A traditional waterproof coating is asphalt, a sticky black petroleum product.

## Slide 236: Summary
Foundation: is a base that transfers the load created by a building to the earth supporting it.
Spread Foundations: Most small buildings have spread foundations.
Floating Foundations: Light buildings built on soft soil use floating foundations.
Friction Pile Foundation: Friction piles adhere to the soil they are driven through, creating friction between the pile and the soil, and providing stability.
Bearing Pile Foundation: Bearing piles transmit the weight of the structure to the bearing surface (bedrock).
Pier Foundation: Piers are supports made by drilling or digging holes that are then filled with steel reinforced concrete.
The trench for the concrete footing must extend below the frost line.
A keyway is a groove molded down the center of the footing, that strengthens the joint between the footing and the foundation wall.
Foundation walls are usually made of poured concrete or concrete blocks.
Foundation drains are plastic pipes that contain many small holes in its wall to remove water from the soil around the foundation.
A traditional waterproof coating is asphalt, a sticky black petroleum product.

## Slide 237: Chapter 19 Week 37 and 38
Floors

## Slide 238: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Distinguish between the types of frame superstructures.
Describe the process of installing beams, girders, and posts.
Identify the framing members of a floor frame.
List the steps for installing subflooring.

## Slide 239: Types of Superstructures
The superstructure is the part of the building that is above the foundation.
Mass superstructures: are solid with little or no open space inside them. Hydroelectric dams are an example of a steel reinforced mass superstructure.
Bearing Wall Superstructures: are buildings that have thick walls made stone or brick held together with mortar. Today, bearing walls are seldom used in buildings with more than two stories.
Frame Superstructures: have a skeleton made of wood, reinforced concrete, or steel. Most modern buildings have frame superstructures. The basic components of a frame superstructure are the floors, columns, and ceiling or roof. Wood frames are used in one to four storey buildings. Reinforced concrete frames are used in multi storey buildings. The tallest buildings use steel frames.

## Slide 240: Types of Superstructures
Steel Reinforced Concrete Frame Superstructures: are either cast in place on the site or precast at a manufacturing plant and then transported to the site. At the site precast sections are put in place using a crane (fig 19-7, page 326).
Structural Steel Frame Superstructures: make it possible to build skyscrapers and large bridges. The steel frame provides a high strength to weight ratio and provides more fire resistance than a wood frame. Structural steel is joined by using welding and bolting.

## Slide 241: Fabric Superstructures
Fabric is now used for sports arenas, music venues, and art centers.
Air supported structures are supported by air pressure (fig 19-8, page 326).
Tensile structures use fabric over a frame composed of strong poles and heavy cable.

## Slide 242: Platform Floor Frames
Platform framing is a framing system in which the first floor is built on top of the foundation wall as a platform.
Installing Beams, Girders, and Posts: Buildings wider than 25 feet must have a steel I beam, wood girder, or bearing wall approximately one half distance between the outside walls.
Jack Posts: are adjustable supports for I beams or wood girders. Either wood or steel posts are used to support girders.
Installing Sills: The sill is the lowest portion of the frame of a structure (fig 19-14, page 329). It is attached to the foundation wall by anchor bolts and supports the frame of the building.
Sill sealer: is a barrier installed between the top of the foundation wall and the sill to fill any gaps that might allow heat transfer into or out of the building.

## Slide 243: Spacing & Span of Joists Determines Size
Span is the distance between vertical supports.
Dead Load is the weight of the structure including all fixed components of the structure.
Live Load is the weight of any movable objects within a structure.
Extensive testing has been done to determine the maximum allowable span for various species, grades, and sizes of joists (fig 19-15, page 330). They must be used to determine joist sizes.

## Slide 244: Installing Stringers, Joist Headers, and Joists
Stringers and joist headers sit on top of the sill and extend all the way around the sill (fig 19-16, page 331).
Once the stringer and joist header are installed, the floor joists can be laid out (fig 19-17, page 331). Local building codes dictate floor joist spacing.
Openings may be needed in the floor frame for stairs, chimneys, fire-places, and other components.
Trimmers are full length floor joists that reinforce rough openings in the floor frame.
Bridging is a support system that holds the floor joists in a vertical position and distributes live loads to three or more floor joists (fig 19-21, page 334).

## Slide 245: Installing Subflooring
The final step in building the floor frame is to install the subfloor (fig 19-22, page 336).
The purpose of the subfloor is to make the floor frame rigid; provide a base for finish materials such as carpet or hardwood flooring; and provide a platform for building walls or a roof.
Building codes typically require nails to be driven every 6” to 8” along each joist.

## Slide 246: Summary
The superstructure is the part of the building that is above the foundation.
Mass superstructures are solid with little or no open space inside them.
Bearing Wall Superstructures: are buildings that have thick walls made stone or brick held together with mortar.
Frame Superstructures: have a skeleton made of wood, reinforced concrete, or steel. Most modern buildings have frame superstructures.
Steel Reinforced Concrete Frame Superstructures: are either cast in place on the site or precast at a manufacturing plant and then transported to the site.
Structural Steel Frame Superstructures: make it possible to build skyscrapers and large bridges. The steel frame provides a high strength to weight ratio and provides more fire resistance than a wood frame.
Platform framing is a framing system in which the first floor is built on top of the foundation wall as a platform.
Installing Beams, Girders, and Posts: Buildings wider than 25 feet must have a steel I beam, wood girder, or bearing wall approximately one half distance between the outside walls.
Jack Posts: are adjustable supports for I beams or wood girders.
Installing Sills: The sill is the lowest portion of the frame of a structure. It is attached to the foundation wall by anchor bolts and supports the frame of the building.
Dead Load is the weight of the structure including all fixed components of the structure.
Live Load is the weight of any movable objects within a structure.
The final step in building the floor frame is to install the subfloor.

## Slide 247: Construction Design Technology 102 Chapter 20 Week 1 and 2
Walls

## Slide 248: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Recall the walls used in each type of superstructure.
Identify the components of a platform frame wall.
Understand layout, assembly, and erection of a platform frame wall.
Give examples of wall framing innovations.

## Slide 249: Types of Wall Frames
Mass superstructures do not have walls because they are solid.
Bearing wall superstructures have thick walls made of rock, cut stone, or brick.
Curtain walls enclose the structure but do not provide any structural support. They are made of glass, precast concrete panels, or brick.
Platform frame walls are most common in residential and light commercial construction.

## Slide 250: Platform Frame Walls
Platform frame walls consist of studs, plates, headers, trimmers, rough sills, cripple studs, and sheathing (fig 20-2, page 342).
Studs are vertical supports. Spaces between studs in the outside walls are filled with insulation.
Plates provide nailing surfaces at the top and bottom of walls to secure studs.
Headers in wall framing transfer the load of the roof, or floor above, to the trimmers.
Trimmers, which are basically shortened studs, provide support to transfer the load from the headers to the foundation.
Rough sill is a horizontal framing member at the bottom of the window rough opening.
Cripple studs are vertical framing members that extend from the sole plate to the rough sill or from the headers to the top plate.
Wall sheathing is the covering for the outside of the wall frame. Plywood sheathing makes a building stronger.

## Slide 251: Building Platform Frame Walls
In platform framing, the floor platform is in place before the walls are framed.
With a rectangular floor plan, it is common practice to frame the two longest outside walls first.
Once these walls are raised, nailed to the floor frame, and braced, the two end walls are assembled and raised.
The first step in laying out a wall frame is to select the boards to be used for top and bottom plates.
These boards should be straight and as long as practical.
The plates are placed parallel to the edge of the floor frame and each board is toe nailed in two or three places to prevent during the layout process.

## Slide 252: Laying Out Plates
The standard stud spacing is either 16” or 24” on center.
Check the plans or local building code to determine which is to be used.
Sheathing is sold in 4’ wide sheets.
The edges of adjacent sheets must meet at the centerline of a stud.

## Slide 253: Locating Rough Openings
The locations of rough openings are shown on the floor plan (fig 20-5, page 345).
Layout the center of the window opening on the plates.
Divide the rough opening width by two and layout this distance on either side of the centerline.
Place a T outside each of these lines to indicate the location of the trimmers (fig 20-6, page 346).
Draw wavy lines between the two trimmers.
These lines serve as reminders that full length studs are not to be installed between the trimmers.
Repeat the process for all openings in the wall.

## Slide 254: Laying Out Corner Posts and Wall Intersections
Additional studs and blocking are needed at building corners and where walls make T intersections (fig 20-3, page 343).
These components provide solid connections between walls and nailing surfaces for both interior and exterior wall coverings.
Mark location of studs with an X (fig 20-7, page 346).

## Slide 255: Assembling the Wall Frame
Stud length depends on the height of the wall.
Headers can be assembled while studs are being positioned.
Headers for both door and window openings are typically the same height (6’10”).
This means that the trimmers will need to be 6’10” long less the thickness of the sole plate (6’10” – 1 ½” = 6’ 8 ½ ”).

## Slide 256: Erecting Walls and Installing Double Plates
The wall is raised, aligned with the edge of the floor frame, and nailed (fig 20-10, page 350).
When the end walls are raised and plumbed, the corners are securely nailed.
Interior walls are built following the same procedure.
Once the interior walls are in place, the double plate is installed (fig 20-11, page 350).
The next step is to install the next floor platform or frame the ceiling and roof.

## Slide 257: Innovations in Platform Wall Framing
New wall framing methods leave more space for insulation.
The extra cost of better insulated walls can be recovered in savings on heating and cooling costs.
Another innovation used steel members instead of dimension lumber for framing.
Glue laminated lumber is also being used for headers and beams.

## Slide 258: Summary
Platform frame walls are most common in residential and light commercial construction.
Platform frame walls consist of studs, plates, headers, trimmers, rough sills, cripple studs, and sheathing.
Studs are vertical supports.
Plates provide nailing surfaces at the top and bottom of walls to secure studs.
Headers in wall framing transfer the load of the roof, or floor above, to the trimmers.
Trimmers, which are basically shortened studs, provide support to transfer the load from the headers to the foundation.
Rough sill is a horizontal framing member at the bottom of the window rough opening.
Cripple studs are vertical framing members that extend from the sole plate to the rough sill or from the headers to the top plate.
Wall sheathing is the covering for the outside of the wall frame.
With a rectangular floor plan, it is common practice to frame the two longest outside walls first.
The first step in laying out a wall frame is to select the boards to be used for top and bottom plates.
The standard stud spacing is either 16” or 24” on center.
Additional studs and blocking are needed at building corners and where walls make T intersections.
The wall is raised, aligned with the edge of the floor frame, and nailed.
Once the interior walls are in place, the double plate is installed.
The next step is to install the next floor platform or frame the ceiling and roof.
New wall framing methods leave more space for insulation.
The extra cost of better insulated walls can be recovered in savings on heating and cooling costs.

## Slide 259: Chapter 21 Week 3 and 4
Roof and Ceiling Framing

## Slide 260: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify different types of roofs
Describe the components of W trusses
Identify the parts of a roof and ceiling frame
Explain how roof sheathing is installed

## Slide 261: Introduction
In multistory buildings, the floor frame of the upper floors also supports the ceiling of the floor below.
The ceiling of the top floor is built in conjunction with the roof frame.
Most roofs use triangular frames.
These frames include two sloping members to support the roof and a horizontal member that ties the lower ends of the roof supports together and provides support for the ceiling of the floor below.
Rafter is a structural member of a roof designed to support roof and ceiling loads.
Truss is a premade engineered assembly of framing members designed to support roof loads (fig 21-1, page 357).
Trusses are normally delivered to the building site on trucks and are installed using a crane.

## Slide 262: Types of Roofs
Four commonly seen roof types are flat, shed, gable, and hip roofs.
Flat roofs have one horizontal surface. Steel reinforced concrete structures often have flat roofs.
Shed roofs have one sloping surface.
Gable roofs have two sloping surfaces and a triangular shaped wall. Gable roofs are common on residential structures. Using trusses often eliminates the need for a center load bearing wall.
Hip roofs have four sloping surfaces. Hip roofs typically have a low slope. Manufactured trusses are typically used to frame hip roofs.

## Slide 263: Building Gable Roofs with Trusses
The W-truss is commonly used in residential construction (fig 21-8, page 360).
The top chords and the bottom chords form a rigid triangle.
Roof sheathing is nailed to the top chord.
Drywall for the ceiling is attached to the bottom chord.
The compression webs and the tension webs work together to reduce the tendency of the top and bottom chords to bend under load.
A tail is included as part of the truss if the roof overhangs the outside walls of the building.
The optional return is used to support material that enclosed the roof overhang.
Gang-nail plates are steel plates that have nail like projections on one side, are placed on each side of a joint form a solid connection.

## Slide 264: Layout for Trusses
Roof framing begins after the walls are constructed.
The first step in roof framing is to layout the trusses.
Trusses are often designed to be spaced 24” on center and to run parallel to the short wall of a rectangular floor plan.
Sheathing overhang can be 2”.

## Slide 265: Installing Trusses
Before beginning the installation of manufactured trusses, erect temporary supports (fig 21-10, page 363).
The next step is to lift the first truss in position.
A crane is typically used to make this task easier.
In addition to being aligned to the mark on the double plates (fig 21-9, page 362), The ends of the truss must extend the correct distance beyond the wall frame on each side of the building (fig 21-11, page 363).
Once the truss is in the correct position, nail it to the top plate and to the temporary vertical support.
To hold the trusses in a vertical position, nail a 2x4 horizontally across the trusses near the top.

## Slide 266: Custom Built Gable Roof and Ceiling Frames
In some designs, premade trusses are not used to frame the roof and ceiling.
Figure 21-12, page 364 illustrates terms used in rafter layout.
Span is the total distance from the outside of one wall to the outside of the opposite wall.
Run is the horizontal distance measured from the outside of the wall framing to the centerline of the ridge.
The line length of the rafter is the hypotenuse of the triangle formed by the run and the rise.
The bird’s mouth is a wedge-shaped notch that is cut from the rafter so it seats on top of the double plate.
Rise is the vertical distance from the top of the double plate to the point where the line length intersects the centerline of the ridge board.
Slope is the incline of the roof and is expressed as a ratio between the vertical rise for each 12” of the horizontal run.

## Slide 267: Installing Fascia and Sheathing
Fascia is a vertical board that is attached to the tail of each rafter.
It covers the end of the rafters, provides a base for attaching gutters, and gives a finished appearance to the roof’s edge.
If a rafter is short, a shim can be inserted between the end of the rafter and the back of the fascia to correct the error.
The fascia is nailed to the rafter end using rust resistant nails.
Roof sheathing strengthens and stiffens the roof frame.
It provides a base for nailing shingles or other roofing materials.
The first row of roof sheathing should overlap the fascia slightly (fig 21-13, page 365).

## Slide 268: Summary
In multistory buildings, the floor frame of the upper floors also supports the ceiling of the floor below.
The ceiling of the top floor is built in conjunction with the roof frame.
Rafter is a structural member of a roof designed to support roof and ceiling loads.
Truss is a premade engineered assembly of framing members designed to support roof loads.
Flat roofs have one horizontal surface.
Shed roofs have one sloping surface.
Gable roofs have two sloping surfaces and a triangular shaped wall.
Hip roofs have four sloping surfaces.
The W-truss is commonly used in residential construction.
The top chords and the bottom chords form a rigid triangle.
The compression webs and the tension webs work together to reduce the tendency of the top and bottom chords to bend under load.
Gang-nail plates are steel plates that have nail like projections on one side, are placed on each side of a joint form a solid connection.
Trusses are often designed to be spaced 24” on center and to run parallel to the short wall of a rectangular floor plan.
Span is the total distance from the outside of one wall to the outside of the opposite wall.
Slope is the incline of the roof and is expressed as a ratio between the vertical rise for each 12” of the horizontal run.
Fascia is a vertical board that is attached to the tail of each rafter.
If a rafter is short, a shim can be inserted between the end of the rafter and the back of the fascia to correct the error.
Roof sheathing strengthens and stiffens the roof frame.
It provides a base for nailing shingles or other roofing materials.

## Slide 269: Chapter 22 Week 5 and 6
Enclosing the Structure

## Slide 270: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify several types of roofing materials
Distinguish between different types of exterior walls
Identify the basic parts of door and window frames

## Slide 271: Introduction
Builders enclose structures as soon as possible to prevent damage to wood pieces and so interior work can continue despite inclement weather.
Roofs and walls are built first on most buildings.
Windows and doors are installed next.
Siding is installed last.
High rise buildings are completed in a different sequence.
Steelworkers finish the frame one floor at a time.
Next concrete workers cast the floors.
Exterior walls are then added to enclose the lower floors , before the entire building frame is completed.
This allows interior work, such as utility and mechanical installations, to begin while upper floors are still being fabricated.

## Slide 272: Roofs
After roof framing is completed, roofing is installed.
Rough in of plumbing, electrical circuits, and HVAC can begin before the roof is installed.
However insulation, drywall, and finish work is started only after the structure is completely enclosed.
This protects these materials from being damaged by the weather.

## Slide 273: Roofing Materials
Built-up roofing: is a roofing method that consists of alternating layers of roofing felt (sheet of plant fiber) and bitumen (asphalt or tar). The top layer is often coated with aggregate (gravel) (fig 22-2, page 371).
Sheet metal roofing: Fire resistant roofing material made from copper, lead, aluminum, and enameled steel.
Shingles: Flat or curved pieces of material laid in overlapping rows on a roof deck to cover the roof. They can be made of asphalt, wood, slate, metal, clay, or concrete and are available in a variety of colors and patterns.

## Slide 274: Installing Asphalt Shingles
Before asphalt shingles can be attached to a roof, an underlayment and a drip edge must be installed (fig 22-4, page 373).
Most building codes require that 15 pound roofing felt be applied as underlayment for asphalt shingles.
The felt protects the roof sheathing until the asphalt shingles are installed.
Drip edge: is a metal edge installed along the edge of roof decks to prevent water from dripping on the finished roof trim.
Starter course: A continuous layer of shingles cut to less than full width and installed at the edge of a roof to back up the first full course of shingles.
Flashing: A metal barrier installed at roof joints and angles to provide waterproofing and reinforcement (fig 22-7, page 375).
Ridge cap: A finishing layer of shingles placed over the joint at the ridge of a roof.

## Slide 275: Enclosing the Roof Overhang
Cornice: The overhang of a roof at its horizontal edge (fig 22-9, page 376).
The fascia is installed when the roof is framed.
The soffit is the horizontal panel that encloses the underside of the cornice.

## Slide 276: Walls
Walls protect building interiors from weather.
They include doors for access and windows for light and ventilation.
Masonry walls: are made of brick, concrete block, tile, or stone set in mortar.
House wrap: A synthetic covering applied over wall sheathing to create an air and moisture barrier between the inside and outside of a building.
Head: The top portion of window and door frames (fig 22-10, page 377).
Jambs: The sides of window and door frames.
Threshold: The bottom of a door frame.
Prehung doors: Doors that come assembled with jambs, casing, and hardware.
Sill: The bottom of a window frame.
Sash: The movable portion of the window, including both glass and its frame.
Masonry veneer: A single layer of masonry used to cover the wall framing.
Stucco: An exterior building covering made from Portland cement, lime, and sand.
Exterior insulation and finish system (EIFS): A synthetic building covering that is made of foam plastic insulation and thin synthetic coating.
Siding: The outer covering of a building that protects it from weather.

## Slide 277: Installing Horizontal Wood Siding
Horizontal wood siding is manufactured in standard sizes.
Each course is lapped over the course immediately below it to allow water to run off the siding (fig 22-17, page 382).
A storey pole is a narrow board used to lay out and transfer dimensions (fig 22-16, page 382).

## Slide 278: Summary
Builders enclose structures as soon as possible to prevent damage to wood pieces and so interior work can continue despite inclement weather.
After roof framing is completed, roofing is installed.
Built-up roofing: is a roofing method that consists of alternating layers of roofing felt (sheet of plant fiber) and bitumen (asphalt or tar). The top layer is often coated with aggregate (gravel).
Sheet metal roofing: Fire resistant roofing material made from copper, lead, aluminum, and enameled steel.
Shingles: Flat or curved pieces of material laid in overlapping rows on a roof deck to cover the roof.
Most building codes require that 15 pound roofing felt be applied as underlayment for asphalt shingles. The felt protects the roof sheathing until the asphalt shingles are installed.
Drip edge: is a metal edge installed along the edge of roof decks to prevent water from dripping on the finished roof trim.
Flashing: A metal barrier installed at roof joints and angles to provide waterproofing and reinforcement.
Ridge cap: A finishing layer of shingles placed over the joint at the ridge of a roof.
Cornice: The overhang of a roof at its horizontal edge.
The soffit is the horizontal panel that encloses the underside of the cornice.
Walls protect building interiors from weather.
Masonry walls: are made of brick, concrete block, tile, or stone set in mortar.
House wrap: A synthetic covering applied over wall sheathing to create an air and moisture barrier between the inside and outside of a building.
Stucco: An exterior building covering made from Portland cement, lime, and sand.

## Slide 279: Chapter 23 Week 7 and 8
Plumbing Systems

## Slide 280: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify piping systems that are used to move liquids or gases.
Distinguish between sanitary sewers and storm sewers.
Outline the parts of a drain waste vent system.
Identify the components of a septic system.
Explain the process of joining copper and plastic piping fittings.
Summarize the plumbing inspection process.

## Slide 281: Piping Systems
Piping systems within a community usually include a water supply system, a sanitary sewer system, storm sewer system, and fuel gas piping system.
These systems are installed and maintained by utility companies.
Piping systems that are installed inside buildings include water, drain-waste-vent (DWV), storm water, fuel gas, compressed air, firefighting systems, process fluid piping, toxic waste removal systems, and medical gas and vacuum piping.
Most building codes require that water supply, waste water, storm water, and fuel gas piping be installed by licensed plumbers.

## Slide 282: Water Supply Piping
Water in the United States is commonly supplied to users by utility companies.
Potable water: is water that is suitable for human consumption.
Water mains: Underground pipes that branch off trunk lines to bring water near individual buildings.
Water meter: Device that measures the amount of water delivered to a building (fig 23-1, page 389).
Cold water pipes run directly to the fixtures.
Hot water pipes extend from the water heater to each fixture that requires hot water (fig 23-2, page 389).
Shutoff valves: close off sections of the system. A shutoff valve installed at the inlet of a water heater makes it possible to replace the water heater without turning off the cold water.
Air chambers or shock arrestors (fig 23-5, page 392) absorb the shock created when the water flow is stopped abruptly.

## Slide 283: Drain Waste Vent System
The drain waste vent (DWV) system carries sewage to the sanitary sewer.
The sanitary sewer takes it to a waste water treatment plant.
The sludge (remaining solid) is treated. The treated sludge is disposed of by burning, burying, spreading, or being processed into fertilizer.
The trap remains filled with water, preventing sewer gas from escaping into the structure.
Vents prevent traps from being siphoned when waste flows through the DWV piping (fig 23-7, page 393).
Floor drains are installed in concrete floors to facilitate cleaning and collect spills.
Cleanouts are used to access blockages (fig 23-6, page 393).
Horizontal wastewater pipes all slope downward towards the building sewer. They drop ¼” for each foot of length, allowing gravity to move the wastewater along.
Septic Systems are used in areas where sanitary sewers are not available (fig 23-8, page 394). Waste is piped from the building into a large underground septic tank.
A leach field, made of several rungs of perforated pipe disperses the outflow from the septic tank.

## Slide 284: Storm Sewers
Storm sewers gather excess rain, melting snow, and groundwater from streets, yards, roofs, and parking lots.
The sewers send the water into underground pipes that move the water to a nearby lake, stream, or river.
This excess water is called runoff.
Storm sewers empty into waterways without going to a waste water treatment plant.
Foundation drains installed below the basement floor direct water around a building’s foundation to a pit called a sump, which is located in the floor of the basement. A sump pump in the sump lifts the water to a point where it can drain into a storm sewer.

## Slide 285: Fuel Gas Piping
Many communities also have a fuel gas piping system that delivers natural gas to buildings for heating and cooking.
The gas meter is typically installed outside the building.
Gas lines have cleaning drops, lines, and shutoffs.
The cleaning drop collects solid particles that may be in the gas before it enters an appliance (fig 23-10, page 396).
Black iron pipe and fittings are used for gas piping inside buildings.

## Slide 286: Compressed Air Piping
Compressed air piping systems are installed in automotive repair facilities, factories, and other buildings where air powered tools are used.
A basic compressed air system is shown in fig 23-11, page 396.
The pressure switch turns the compressor on and off as needed to maintain the desired pressure.
The relief valve is a safety device that releases excess pressure from the tank if the pressure switch fails.
A shutoff valve allows repairs to be made without relieving the pressure in the tank.
Filters remove oil, water, and dirt from the air.
The outgoing air pressure is adjusted with a regulator.

## Slide 287: Firefighting Systems
A sprinkler system consists of a water piping system attached to sprinkler heads.
The sprinkler heads are activated when the temperature exceeds a given level.
A plug on the head melts, sending water through the head.
At the same time, the system sounds an alarm throughout the building and the fire station.
A stand pipe system is a stand alone system that consists of a water piping system connected to a reserve source of water at one end and fire hoses at the other.
The hoses are located so every part of the building is protected.
The reserve source of water is often a rooftop tank.

## Slide 288: Process Fluid and Waste Piping Systems
Process fluids are liquids used in a variety of manufacturing processes.
Toxic waste is garbage and other refuse. Toxic waste cannot be treated in a waste water treatment plant. It needs to be treated on site before being piped to the sanitary sewer.
Medical Gas and Vacuum Piping: Building specifications require that each piping system be color coded or otherwise clearly marked to make it easier to trace. The inside of the pipe and fittings must be sterilized after they are assembled to prevent contamination of the gases.

## Slide 289: Designing Plumbing Systems
The design of residential and light commercial systems is dictated by the plumbing code.
Engineers design the plumbing for commercial and industrial buildings.
The number, type, quality, and placement of fixtures such as sinks, lavatories, toilets, and tubs is determined by an architect.

## Slide 290: Materials for Residential and Light Commercial Piping Systems
Plastic and copper are the most commonly used materials for residential and light commercial piping.
Hard temper copper pipe is rigid and is commonly used for water and DWV piping installations within a building. Hard temper copper pipe and fittings are soldered to make a water tight joint.
Soft temper copper is somewhat flexible and is used when working around obstacles. Soft temper copper tube is joined using brass compression fittings.

## Slide 291: Plumbing Installation
Plumbing is installed in 3 stages: first rough, second rough and finish.
Water and sewer pipes are run inside the foundation from the mains during the first rough stage.
Once the building is framed the second rough stage can begin. Second rough stage includes installing tubs, shower bases, DWV, and hot and cold water piping.
During the finish stage, when the building is nearly complete, sinks, lavatories, toilets, faucets, valves, appliances, and any other visible fixtures are installed.

## Slide 292: Installing Plastic Pipe and Fittings
PVC (Polyvinyl chloride) is commonly used for residential and light commercial DWV piping.
CPVC (chlorinated PVC) is required for hot water.
Most plumbers use CPVC for both hot and cold water piping to eliminate the risk of mixing the materials during installation.
The size of the pipe and fittings is determined by local plumbing code.
Plastic pipe is cut with plastic pipe cutters or with a saw.
Burrs on the pipe end are removed with a reamer or abrasive paper.
Trial assembly of pipe and fittings is done to confirm that the dimensions are correct.
Apply plastic pipe cement to the end of the pipe and a thin coat to the inside of the fitting.
Immediately insert the pipe fully into the fitting socket and rotate one quarter turn to distribute the cement uniformly.
The cement will set almost immediately.

## Slide 293: Installing Copper Pipe and Fittings
Make the face to face measurement for pipe and add fitting allowances to determine the pipe length needed.
Copper pipe and tube are cut with a tubing cutter.
The inside of each end of the pipe is reamed to remove any burrs formed during the cutting process.
A trial assembly ensures that the measurements are correct and the proper pipe length has been chosen.
Before the soldering process begins, assemble all the necessary tools, materials, and equipment.
Clean the pipe and socket and apply a thin coat of flux to the end of the pipe and the inside of the fitting.
Push the pipe full into the fitting socket. Use a torch to heat the joint. Carefully feed the solder to the joint .
Remove the flame and turn off the torch. Wipe the joint clean with a damp cloth to create a smooth, neat joint.

## Slide 294: Installing Pipe Support
When water is turned off and on, the pipes move.
Constant movement can crack the joints, causing leaks.
To prevent this problem, pipes are fastened to the structure with metal and plastic clamps to backing boards and framing.

## Slide 295: Finish Stage
Once the interior trim is installed, painting is completed, and floor coverings are installed, the plumber returns to the job to complete the plumbing installation.
Fixtures such as faucets, showerheads, and appliances such as dishwashers, water heaters, and water softeners are installed.
This work must be done very carefully to prevent damage to the finished interior.

## Slide 296: Inspection and Testing Plumbing Installations
Local building officials inspect plumbing systems to ensure that they conform to the plumbing code.
The first rough installation is inspected and tested before water supply and building sewer pipes are covered.
Inspection and testing of the second rough phase must be completed before any pipes and fittings are covered.
Compressed air is used to check for leaks in water and fuel gas lines, and DWV piping. A pressure gauge indicates if the line is losing pressure.
Another way to find leaks is to coat joints with a solution of soapy water. Leaks will cause bubbles to form.
All problems identified by the inspector must be corrected and the inspection repeated before the piping is covered.
Inspection of the work completed during the finish stage of plumbing installation is done as a part of the final inspection of the building.
Again problems found must be corrected before the building is approved for ocupancy.

## Slide 297: Summary
Piping systems within a community usually include a water supply system, a sanitary sewer system, storm sewer system, and fuel gas piping system.
Potable water: is water that is suitable for human consumption.
Water mains: Underground pipes that branch off trunk lines to bring water near individual buildings.
Shutoff valves: close off sections of the system.
Air chambers or shock arrestors absorb the shock created when the water flow is stopped abruptly.
The drain waste vent (DWV) system carries sewage to the sanitary sewer.
Vents prevent traps from being siphoned when waste flows through the DWV piping.
Septic Systems are used in areas where sanitary sewers are not available.
Storm sewers gather excess rain, melting snow, and groundwater from streets, yards, roofs, and parking lots.
Compressed air piping systems are installed in automotive repair facilities, factories, and other buildings where air powered tools are used.
Medical Gas and Vacuum Piping: The inside of the pipe and fittings must be sterilized after they are assembled to prevent contamination of the gases.
The design of residential and light commercial systems is dictated by the plumbing code.
Engineers design the plumbing for commercial and industrial buildings.
The number, type, quality, and placement of fixtures such as sinks, lavatories, toilets, and tubs is determined by an architect.
Plumbing is installed in 3 stages: first rough, second rough and finish. Water and sewer pipes are run inside the foundation from the mains during the first rough stage. Once the building is framed the second rough stage can begin. Second rough stage includes installing tubs, shower bases, DWV, and hot and cold water piping. During the finish stage, when the building is nearly complete, sinks, lavatories, toilets, faucets, valves, appliances, and any other visible fixtures are installed.
Plastic and copper are the most commonly used materials for residential and light commercial piping.
Local building officials inspect plumbing systems to ensure that they conform to the plumbing code.

## Slide 298: Chapter 24 Week 9 and 10
Heating, Ventilation, and Air-Conditioning (HVAC) Systems

## Slide 299: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify the five major components of an HVAC system.
Discuss five sources of energy.
Describe three different types of heating units.
Identify the components of a duct system.
List uses for heat pumps, air conditioners, and humidifiers.
Explain the operation of thermostats.

## Slide 300: Introduction
Heating, ventilation, and air conditioning (HVAC) systems are designed to provide a comfortable environment for building occupants.
Heating units move warm air through a building.
Cooling units remove heat and water from air in a building and deposit it outside.
HVAC systems control temperature, humidity, ventilation, and air quality.

## Slide 301: Energy Source
Energy sources used for temperature control include wood, fuel oil, gas, electricity, and the sun.
Wood is still used to heat small spaces in areas where it is available.
Fuel oil is made from crude oil, is easy to transport, and provides a great deal of heat for its weight.
Gas burns cleanly. Gas that has been compressed to a liquid is called liquefied petroleum (LP) gas.
A regulator regulates and reduces gas pressure before it enters a building (fig 24-2, page 409).
Electricity is moved over long distances at high voltage. Near the point of use, the voltage is lowered by a transformer.
Active solar systems use solar collectors, pumps, and piping systems to deliver heat to a building.
Heat pumps and geothermal heating systems extract heat from the outdoor air (heat pump) or from the ground (geothermal heating) and transfer it to the inside of the building.

## Slide 302: Heating Unit
A furnace is an enclosed metal structure in which a source energy is converted into heat.
The furnace includes a blower, burner, heat exchanger or electric heating element, and controls.
A burner is a component of a furnace that mixes fuel with air and burns the mixture (fig 24-3, page 411).
A heat exchanger is a device that transfers the heat from one medium (gas or liquid) to another without mixing the two. Heat exchangers in modern systems can capture up to 97% of the heat created during combustion.
A hydronic heating system is a mechanical structure that uses water to transfer heat from a boiler to convectors located in each space to be heated.
Heating elements are electrical devices that employ resistance wires to convert electrical energy to heat.
Active solar collectors are devices that capture and store heat from the sun and use fans or pumps to transfer the heat to the inside of a building.
Passive solar collectors are devices that capture and store heat from the sun and use the natural movement of heat to transfer it.
A heat pump is a device that uses a refrigerant to provide both heating and cooling.

## Slide 303: Cooling Unit
Air conditioners are mechanical devices that remove heat from the air in the structure.
The heat and water are released outside the building.
An air conditioner has 7 basic components (fig 24-7, page 415):
1. Evaporator - heat exchanger that is placed in the area where heat is to be removed.
2. Suction line - tube connecting the evaporator outlet with the inlet of the compressor.
3. Compressor - removes vapor from the evaporator and compresses low pressure, low temperature gas into a small volume of high pressure, high temperature gas.
4. Hot gas discharge line - a tube connecting the compressor with the condenser.
5. Condenser - a heat exchanger that is placed where heat is discharged, normally outdoors.
6. Liquid line - a tube connecting the condenser outlet to the refrigerant control valve.
7. Refrigerant control valve - a device that meters the flow of liquid refrigerant into the evaporator.
Refrigerant is a fluid that boils (changes from liquid to gas) at low temperature and low pressure and condenses (changes from gas to liquid) at high temperature and high pressure.
Evaporative coolers also cool and moisten the air by drawing air through a mat of loose moist material.

## Slide 304: Distribution Systems
Distribution systems move heated or cooled air or water throughout a building.
Heated air is forced through ducts.
Pipes move heated water to radiators located in each room.
Resistance type electric heating systems have heating elements in radiators located in each room.

## Slide 305: Duct Systems
A typical forced air heating and cooling system has two duct systems: one for supply air and one for return air.
A plenum is a box like chamber that connects the furnace (heating and cooling unit) of a forced air HVAC system to the extended plenum (fig 24-9, page 417).
The extended plenum is a large rectangular or round duct that joins several branch pipes to an air inlet or outlet plenum of a forced air HVAC system.
The supply air ducts deliver conditioned air to each room.
The return air ducts remove air from each room and return it to the furnace intake.
Ducts are sometimes insulated if they run through unheated spaces.

## Slide 306: Pipe Systems
Hydronic heating systems pump hot water to individual rooms, while steam heating systems deliver steam.
The water or steam warms convectors or radiators in each room.
Both systems use boilers to heat the water.
Hydronic systems use a pump to force the hot water through the pipe and radiators.
The pressure created in a steam boiler forces steam through the pipe and radiators.
Some convectors have fans to help move the air.
After passing through the convector, the cooled water is piped back to the boiler and it is heated again.

## Slide 307: Electric Radiant Heat Systems
Convectors in electrical radiant heat contain resistance wires that heat as electricity passes through them.
This system requires no ducts or chimneys, has no moving parts to wear out, and is easy to install.
Hot air rises and cold air sinks. This is the basis for gravity distribution systems.

## Slide 308: Controllers
A thermostat is a device that regulates the set point temperature in a building.
A programmable thermostat adjusts the temperature according to time of the day.
A zone control system regulates temperatures in specific section of a building. Separate thermostats control each section. Zone control systems also conserve energy by heating and cooling the areas being used at a particular time.

## Slide 309: Humidity Control
Humidity is the amount of water vapor in the air.
Warm air can hold more water vapor than cool air.
Relative humidity is the amount of water vapor in the air at a given temperature.
A relative humidity of 30 to 50 percent is comfortable for most people.
A dehumidifier removes moisture from the air by drawing the moist air over cool coils. Water condenses on the evaporator and runs off into a tray or to a drain. The drier air is returned to the room.
A humidifier adds moisture to the air. A fan blows through a wet filter, releasing moistened air.
A humidistat can be installed to control humidity. It measures the humidity and controls the operation of the humidifier.

## Slide 310: Cleaning Air
Dirt, pollen, and smoke pollute air.
Filters remove dirt.
The dirty air is pulled through a filter in the furnace, trapping much of the dirt.
Filters should be replaced or cleaned often.
Electronic air cleaners remove dust, pollen, and smoke.
As air is blown through the air cleaner, electric charges cause particles to collect on collection plates.
The dirt stays on the plates until it is washed off.
These air cleaners remove up to 90 percent of the dirt in the air.

## Slide 311: Installing Forced Air HVAC Systems
Forced air HVAC systems are commonly used in residential structures.
An HVAC plan stipulates the type and size of heating and cooling equipment to be installed, the size and location of ducts and registers, and the type of filter, humidifier, and thermostat to be included.
The HVAC plan will also show the position of the furnace and the outdoor heat exchanger and the position of the supply air and return extended plenums.
HVAC installation is coordinated with the work of other trades.
HVAC installation normally does not begin until the framing of the interior walls.

## Slide 312: Installing Ducts, Pipes, and Wires
The extended plenum and the branch ducts are often installed before the heating and cooling equipment.
All joints are taped to prevent air leakage.
In gas burning units, a valve and drip leg are installed near the connection to the furnace (fig 24-14, page 421).
Thermostats and other controls require low voltage wiring.
A small transformer is installed to convert 120 volts to 24 volts to operate these components.

## Slide 313: Installing Heating and Cooling Equipment
The first step in heating and cooling equipment installation is to put the furnace in place.
The furnace is elevated on bricks to permit air circulation under the unit and to prevent rusting.
While this work is in progress, the heat exchanger unit is placed in the proper location on the outside of the building.
This unit is placed on a concrete base to keep it from settling in the ground.
A drain is installed to remove the condensation that collects on the condenser when the air conditioning equipment is in operation.

## Slide 314: Installing Humidifiers and Filters
A humidifier that has a fan and a motor will require an electrical connection to power these items.
Water is supplied to a humidifier using a soft copper tube.
Most furnaces hold a disposable filter in position near the inlet to the heating unit.
The only installation requirement is to put the correct size filter in place.
The thermostat is the primary control device for the HVAC system.
Low voltage wiring connects the thermostat to other system components.

## Slide 315: Summary
Heating, ventilation, and air conditioning (HVAC) systems are designed to provide a comfortable environment for building occupants.
HVAC systems control temperature, humidity, ventilation, and air quality.
Energy sources used for temperature control include wood, fuel oil, gas, electricity, and the sun.
A regulator regulates and reduces gas pressure before it enters a building.
A furnace is an enclosed metal structure in which a source energy is converted into heat.
Air conditioners are mechanical devices that remove heat from the air in the structure.
Distribution systems move heated or cooled air or water throughout a building.
A typical forced air heating and cooling system has two duct systems: one for supply air and one for return air.
Hydronic heating systems pump hot water to individual rooms, while steam heating systems deliver steam. The water or steam warms convectors or radiators in each room. Both systems use boilers to heat the water.
Convectors in electrical radiant heat contain resistance wires that heat as electricity passes through them.
A thermostat is a device that regulates the set point temperature in a building.
Relative humidity is the amount of water vapor in the air at a given temperature.
Filters remove dirt. Electronic air cleaners remove dust, pollen, and smoke.
The furnace is elevated on bricks to permit air circulation under the unit and to prevent rusting.
The heat exchanger unit is placed in the proper location on the outside of the building. This unit is placed on a concrete base to keep it from settling in the ground.
A drain is installed to remove the condensation that collects on the condenser when the air conditioning equipment is in operation.
The thermostat is the primary control device for the HVAC system.

## Slide 316: Chapter 25 Week 11 and 12
Electrical Power Systems

## Slide 317: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Summarize the process for generating and distributing electrical power.
Identify various types of cables, boxes, switches, and receptacles.
Identify electrical wires based on color.
Outline the steps for installation of an electrical power system in a structure.

## Slide 318: Electrical Power Subsystems
A power system supplies electrical energy needed for lights, heating, and cooling units, appliances, and other mechanical equipment in buildings.
Power generating plant is a facility for manufacturing electrical power.
Transformers at the power generation plant increase the voltage of the electricity so it can be transmitted efficiently over large distribution lines (fig 25-2, page 429).
Distribution stations convert high voltage electricity from cross country distribution lines to lower voltages for safe distribution within a city.
A service transformer is an electrical device that lowers the voltage to what is needed in the structure.
A service entrance is that part of the electrical distribution system that connects the electric meter with the service panel.
A service cable is a heavily insulated wire that carries electricity from the service transformer to the meter base.
The electrical power meter is a device that measures the electrical power used at a specific location.
The service panel is a steel box installed inside a building that contains a main breaker and circuit breakers for each of the branch circuits within a building.
The main breaker is a switch that shuts off all power to the building.
A branch circuit is an electrical device that consists of all the wiring, electrical receptacles, and lights controlled by one fuse or circuit breaker.
A general purpose circuit is an electrical circuit for lights and receptacles.
A small appliance circuit is an electrical circuit installed in locations where small appliances are located.
A fixed appliance circuit is an electrical circuit that supplies only one appliance.

## Slide 319: Circuit Breakers and Fuses
Circuit breakers and fuses protect wiring from electrical overload.
Electrical overloads can overheat wires and cause fires.
When too much current is drawn through a fuse, the wire in the fuse melts and stops the flow of electricity. The fuse has to be replaced.
If excess current flows through a circuit breaker, the breaker switches off. Power is restored to the breaker by flipping the breaker switch.
A ground fault circuit interrupter (GFCI) circuit breaker senses current leakages and the circuit breaker disconnects the electricity. GFCI circuit breakers are required on circuits that power receptacles that are near water.
Circuit breakers or fuses are located in the service panel. Always remove the fuse or turn off the circuit breaker when working on a circuit.

## Slide 320: Conductors
Conductors allow electric current to move freely through them. Copper is commonly used as a conductor.
Cables consist of two or more insulated wires bundled together and covered by an additional layer of insulation.
Insulators impede the flow of electrical current and protect electrical conductors. Rubber and plastic are used to insulate wires.
Insulation on each conductor is color coded based on the conductor’s function (fig 25-9, page 434). Typically white is a neutral wire. No fuses or switches are connected to the neutral wire. Green or bare wire is the ground wire. Black and red wires are the hot wires. Switches and fuses are connected to these lines.

## Slide 321: Conductor Protection and Support
Conductors must be supported and protected.
Wires in residential construction are supported by the framing members and protected by the plastic cover that encases the wires.
Conduit is metal or plastic tube or pipe used to encase and protect electrical wire.
Electrical boxes are used to mount devices, conduit, and cables.
Junction boxes are used to house wire connections.
Receptacles or outlets are used to disconnect and connect electrical equipment to a circuit.
A single pole switch opens and closes one wire in a circuit.
A three way switch controls a load from two points.
A dimmer switch varies current in a circuit to raise and lower the brightness of the light bulb.
A load is an electrical device that uses electrical energy, such as a light bulb, motor, or computer.

## Slide 322: Installing and Electrical Power System
The power company is responsible for installing the wire from the pole to the meter.
An electrical subcontractor installs the meter base, service mast, service head, service panel, and branch circuits.
The electrical code in most communities is based on the National Electrical Code (NEC).
Fish tape is a long, flexible metal strip with a hook on one end that is used to pull wire through conduit.
Cables pass through holes bored in the center of framing members (fig 25-17, page 438).

## Slide 323: Summary
A power system supplies electrical energy needed for lights, heating, and cooling units, appliances, and other mechanical equipment in buildings.
A branch circuit is an electrical device that consists of all the wiring, electrical receptacles, and lights controlled by one fuse or circuit breaker.
Circuit breakers and fuses protect wiring from electrical overload. Circuit breakers or fuses are located in the service panel. Always remove the fuse or turn off the circuit breaker when working on a circuit.
A ground fault circuit interrupter (GFCI) circuit breaker senses current leakages and the circuit breaker disconnects the electricity. GFCI circuit breakers are required on circuits that power receptacles that are near water.
Insulation on each conductor is color coded based on the conductor’s function. Typically white is a neutral wire. No fuses or switches are connected to the neutral wire. Green or bare wire is the ground wire. Black and red wires are the hot wires.
Conduit is metal or plastic tube or pipe used to encase and protect electrical wire.
Electrical boxes are used to mount devices, conduit, and cables.
Junction boxes are used to house wire connections.
A load is an electrical device that uses electrical energy, such as a light bulb, motor, or computer.
The electrical code in most communities is based on the National Electrical Code (NEC).
Fish tape is a long, flexible metal strip with a hook on one end that is used to pull wire through conduit.

## Slide 324: Chapter 26 Week 13 and 14
Communication Systems

## Slide 325: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify common communication systems
Identify telephone and television system
Summarize the computing process used in computer systems
Outline communication wiring installation

## Slide 326: Introduction
Communication systems are designed to spread information.
The products of communication technology include print, audio, digital, and visual messages.
Some communication systems use a wiring network.
This network is installed in much the same way as electrical power wiring.

## Slide 327: Types of Communication Systems
Telephone, television, computer, and intercom networks help us communicate with the world and gather information.
Monitoring systems use one way communication to keep watch over buildings, machines, or processes.
Surveillance systems record video images of an area such as a parking lot or door entrance.
Exchange systems use two way communication to transfer information. Telephones and computers are familiar types of exchange systems.

## Slide 328: Telephone Systems
Telephone systems are a communication system that provides primarily two way voice and data communication.
Fax machines are telephonic devices that send and receive printed images.
Modems are interface devices between computers and the telephone systems. Modems make it possible to connect two computers to the internet using a telephone network.
A drop is a telephone cable that connects a building to the local telephone network.
A terminal block is the location in a building where all telephone wiring is connected to the building.

## Slide 329: Television Systems
Television systems transmit both audio and video signals to viewers through broadcast, cable, satellite, or closed circuit equipment.
Broadcast signals are transmitted through airwaves to antennas that receive the signal.
Cable television uses cables to transmit programming to subscribers.
Monitor is any electronic device that converts a video signal back to an image with sound.

## Slide 330: Computer Systems
The central processing unit (CPU) is the part of a computer that processes information.
Programs or software are instructions that tell the CPU what to do and how to do it.
An intercom system is a communication system used for voice and sometimes visual, communication within a structure.

## Slide 331: Installing Communication Wiring
Installation of communication wiring is similar to installation of electrical power wiring.
The major difference is that the wires are installed during the rough in process and are different from those used in electrical wiring.
Telephone and television wiring use separate networks of cables.
Television and computer network wiring require shielded cable.
All cable should be installed before insulation and wall covering materials are installed.

## Slide 332: Summary
Monitoring systems use one way communication to keep watch over buildings, machines, or processes.
Exchange systems use two way communication to transfer information. Telephones and computers are familiar types of exchange systems.
Telephone systems are a communication system that provides primarily two way voice and data communication.
Fax machines are telephonic devices that send and receive printed images.
Modems are interface devices between computers and the telephone systems. Modems make it possible to connect two computers to the internet using a telephone network.
A drop is a telephone cable that connects a building to the local telephone network.
Television systems transmit both audio and video signals to viewers through broadcast, cable, satellite, or closed circuit equipment.
The central processing unit (CPU) is the part of a computer that processes information. Programs or software are instructions that tell the CPU what to do and how to do it.

## Slide 333: Chapter 27 Week 15 and 16
Insulating Structures

## Slide 334: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
List the ways heat can move through a wall or ceiling
Describe the purpose of insulation in buildings
Explain how sound travels through a structure
Describe safety precautions that should be taken when installing insulation

## Slide 335: Introduction
Insulation: Material that isolates heat and sound from being transferred.
Insulation reduces heat loss in cold weather.
Insulation conserves cool air in cold weather.
Insulation absorbs sound.
Insulation retards burning.

## Slide 336: Heat Transfer
Heat moves from warm matter to cool matter.
Conduction is the transfer of heat through materials.
Convection is the transfer of heat as a result of natural air movement. Hot air rises.
Radiation is the transfer of heat by waves, such as those given off by the sun.

## Slide 337: Reducing Heat Transfer
Insulation is used to reduce heat transfer.
It holds the heat in the winter and keeps it out in the summer.
Wood framing resists conduction better than metal.
Without insulation, convection currents will be created inside the stud cavities and the attic space causing heat transfer.
Resistivity: is the resistance of material to conducting heat.
R-value: Number that represents how well a material resists heat movement. The better it insulates, the higher the R value.
Infiltration: airflow that causes heat transfer. Can be through gaps and cracks in the building.

## Slide 338: Thermal Insulation Materials
Fiberglass insulation: Glass spun into fine fibers and formed into a loose mat.
Rigid insulation: Insulation made of plant materials or foam plastic in 4’ x 8’ sheets.
Blanket insulation: Insulation materials consisting of fibers that matches stud spacing.
Loose fill: Loose fiber that is poured or blown by machines into place.
Reflective insulation: Insulation that has a foil surface that stops heat waves by reflecting them away. The foil is installed facing the outside of the building.
Weather stripping: Material placed around the edges of doors and windows to reduce infiltration.
Sealant: Material used on walls to make joints watertight or to fill cracks to improve appearance.

## Slide 339: Vapor Barriers
The amount of water vapor in the air is called relative humidity.
Vapor barrier: A plastic sheet or aluminum foil placed under the wall or ceiling covering to prevent moisture in the air from entering the insulation.
Aluminum paint may also serve as a vapor barrier.

## Slide 340: Installing Thermal Insulation
Loose insulation comes in bags and is poured or blown into attics and wall spaces.
Poured insulation is placed by hand and distributed uniformly over joists using a rake.
Loose plastic beads and vermiculite insulation are mixed with concrete. They are poured on to roof decks to insulate ceilings.
Rigid insulation is nailed or glued in place.

## Slide 341: Sound Insulation
Sound: Vibration that moves through air and can be heard by the human ear.
Sound transmission: The passage of sound through barriers such as walls, floors, or ceilings.
Sound deadening materials: Materials that absorb sound.
Staggered stud construction: Building technique that uses two sets of studs. The studs vibrate without transferring sound through the framing to the opposite wall surface.
Blanket installation is installed the same way for sound as it is for thermal insulation.

## Slide 342: Safety
Insulation can cause sickness or itchiness.
Proper work clothes can prevent most problems.
Long sleeved shirts, gloves, and loose fitting clothes keep the insulation off your skin.
Goggles and respirators protect the nose, mouth, eyes, and lungs.
Shower with soap and water after working with insulation.
Wash work clothes separately form other clothes. Rinse the washer before using it again.

## Slide 343: Summary
Insulation: Material that isolates heat and sound from being transferred.
Conduction is the transfer of heat through materials.
Convection is the transfer of heat as a result of natural air movement.
Radiation is the transfer of heat by waves, such as those given off by the sun.
Resistivity: is the resistance of material to conducting heat.
R-value: Number that represents how well a material resists heat movement. The better it insulates, the higher the R value.
Fiberglass insulation: Glass spun into fine fibers and formed into a loose mat.
Rigid insulation: Insulation made of plant materials or foam plastic in 4’ x 8’ sheets.
Loose fill: Loose fiber that is poured or blown by machines into place.
Reflective insulation: Insulation that has a foil surface that stops heat waves by reflecting them away.
Weather stripping: Material placed around the edges of doors and windows to reduce infiltration.
Sealant: Material used on walls to make joints watertight or to fill cracks to improve appearance.
Vapor barrier: A plastic sheet or aluminum foil placed under the wall or ceiling covering to prevent moisture in the air from entering the insulation.
Sound: Vibration that moves through air and can be heard by the human ear.
Sound transmission: The passage of sound through barriers such as walls, floors, or ceilings.
Sound deadening materials: Materials that absorb sound.
Insulation can cause sickness or itchiness. Proper work clothes can prevent most problems. Goggles and respirators protect the nose, mouth, eyes, and lungs.

## Slide 344: Chapter 28 Week 17 and 18
Finishing the Building

## Slide 345: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Describe finish work
Describe the process of installing cabinets
Explain the purpose of caulking
Describe what is done to the plumbing system during the finishing stage

## Slide 346: Introduction
Finish work: Construction work phase that provides an attractive, completed appearance and provides protection to the building.
Finish work includes enclosing interior walls and ceilings, installing finished flooring, cabinetry, doors, moldings, cover interior and exterior surfaces, and completing plumbing, HVAC, electrical, and communication systems.

## Slide 347: Interior Walls and Ceilings
Plaster: A mixture of gypsum, aggregate (sand or vermiculite), and water. It is used to cover interior wall and ceiling frames.
Drywall is used more extensively than plaster in modern structures.
Joint compound: A gypsum based paste used to fill and cover joints and nail or screw dents.
Furring strips: Thin strips of wood attached to a wall to provide an attachment surface for a finish material such as paneling.
Concrete board: Sheet of concrete reinforced with fiberglass mesh on both sides. Used in kitchen and bathroom walls that often come in contact with water.
Ceiling tiles: Provide a finished look to ceilings.
Suspended ceilings: Cover mechanical systems like pipes, electrical wiring, or heating ducts.
Partition walls: Temporary walls that divide interior space and extend to the ceiling.
Room dividers: Temporary walls that do not reach the ceiling.

## Slide 348: Finished Flooring
Concrete finished floors: are commonly used in commercial and industrial structures.
Resilient flooring: is made of materials such as cork, vinyl, linoleum, and rubber.
Carpet: is placed over underlayment of padding. The pads are made of sponge rubber or plastic foam. Tack strips placed around the edge of the room secure the carpet to the floor.
Wood flooring: comes in bards and tiles and is installed over waterproof concrete or wood subfloors.
Ceramic tile, stone, and terrazzo: floors wear well and are attractive.

## Slide 349: Cabinetry, Doors, and Molding
Cabinetry: Nearly all cabinetry is manufactured and delivered to the site prefinished and ready to install.
In general the installation procedure involves six steps. Refer to the manufacturer’s instructions for specific information about cabinet installation.
Doors: Carpenters install doors, stairways, and handrails. Doors and stairways are installed before the painting begins.
Moldings: or trim such as baseboard, door and window casing, and chair rail are installed to cover joints and improve the finish appearance. Moldings are installed on the exterior of a building to cover cracks to repel weather, birds, and insects.

## Slide 350: Interior and Exterior Surfaces
Both interior and exterior surfaces that are not prefinished should be covered or coated. Coating applications include paint, varnish, and stain. Covering applications include wallpaper.
Caulk is a sealant used to protect against leakage and infiltration. It is commonly used to seal cracks around windows, bathtubs, and sinks.
Paint is an opaque liquid that covers, protects, and improves the appearance of a surface. Pigments are finely ground powders that provide color and make paint opaque. Binder is a substance in paint that produces a thin film that adheres to the surface being coated and holds the pigment.
Stain is a transparent protective wood finish that adds color, helps make wood color more consistent, and lets most of the grain show through.
Varnish is a transparent protective finish that is applied directly to wood or over the stain to preserve the stain, and protect the wood.
Wallpaper is paper that is pasted to the walls inside a building.
Gutters are channels designed to collect water that drains off roofs.
Downspouts are vertical tubes or pipes designed to drain water from gutters and direct it away from the building foundation.

## Slide 351: Plumbing, HVAC, Electrical, and Communication Systems
Various system equipment is installed throughout the construction process.
Plumbers install fixtures such as toilets, sinks, and lavatories and connect appliances and fixtures to supply lines and drains. Piping systems are checked for leaks and flow rates.
Electricians install switches, outlets, and lights. The supervising electrician checks out all circuits.
Communication technicians install the telephones and other communication devices. Units are connected and checked.

## Slide 352: Summary
Finish work: Construction work phase that provides an attractive, completed appearance and provides protection to the building.
Finish work includes enclosing interior walls and ceilings, installing finished flooring, cabinetry, doors, moldings, cover interior and exterior surfaces, and completing plumbing, HVAC, electrical, and communication systems.
Plaster: A mixture of gypsum, aggregate (sand or vermiculite), and water.
Concrete board: Sheet of concrete reinforced with fiberglass mesh on both sides. Used in kitchen and bathroom walls that often come in contact with water.
Concrete finished floors: are commonly used in commercial and industrial structures.
Carpet: is placed over underlayment of padding.
Wood flooring: comes in bards and tiles and is installed over waterproof concrete or wood subfloors.
Ceramic tile, stone, and terrazzo: floors wear well and are attractive.
Cabinetry: Nearly all cabinetry is manufactured and delivered to the site prefinished and ready to install.
Caulk is a sealant used to protect against leakage and infiltration. It is commonly used to seal cracks around windows, bathtubs, and sinks.
Paint is an opaque liquid that covers, protects, and improves the appearance of a surface.

## Slide 353: Chapter 29 Week 19 and 20
Landscaping

## Slide 354: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Describe a landscape plan
List materials used for walkways and driveways
Identify various features found in a landscape
Distinguish between lawn planting methods
Discuss the importance of landscape maintenance

## Slide 355: What is Landscaping?
Landscaping is the process of designing, modifying, and maintaining an outdoor area. Landscaping makes a property more attractive.
Softscape are the living materials (trees, plants, and lawns) in a landscape.
Hardscape are the non living materials (concrete, bricks, and wood) in a landscape.

## Slide 356: Landscape Plan
The architect will consider factors such as weather, soil, sunlight, and water access when designing the plan.
The landscape plan shows the finished contour of the land, the type and placement of all plants, and hardscape features.
When the plan is approved the landscape architect makes a list of the needed materials.
Finally the workers implement the plan by errecting hardscaping, cultivating the soil, planting softscaping, and maintaining the site.

## Slide 357: Contouring the Site
Contouring the site involves shaping the site, mainly for appearance.
During the building process soil is compacted.
Compacted soil makes a good base for walkways and driveways.
Topsoil is the best soil for growing plants.
Bulldozers and graders are used to shape sites by moving, leveling, and mixing soil.
Small jobs can be done using shovels, rakes, and wheelbarrows.

## Slide 358: Erecting Hardscape
Driveways are extensions of a street onto a site.
Low traffic driveways that service passenger cars usually can be made of gravel, brick, concrete, or asphalt.
Concrete walkways are durable and easy to build.
Pressure treated wood, stone, and brick can also be used to make walkways.
Features are items such as lights, ponds, shelters, fountains and other items added to an outdoor site that are not part of the main structure.

## Slide 359: Planting Trees, Shrubs, and Other Plants
Cultivation is the preparation of the soil for planting.
Plants make a site and structure more attractive.
Trees, shrubs, and colorful flowers can transform an uninteresting plot of land into a beautiful living space.
Mulch is a protective layer of material used to retain moisture, decrease erosion, and suppress weed growth.
Ground Cover: Low growing plants used to prevent soil erosion. The most common ground cover is grass.
Grass is started by planting seed or installing sod.

## Slide 360: Maintaining the Landscape
Familiar maintenance chores include mowing lawns, weeding, and removing debris.
Walkways are swept to keep them clear for walking.
Pond water is tested for proper chemical balance.
Gazebos are cleaned and painted as needed.
Developing a maintenance schedule can ensure that routine tasks are completed and small repairs are made as needed.

## Slide 361: Summary
Landscaping is the process of designing, modifying, and maintaining an outdoor area.
Softscape are the living materials (trees, plants, and lawns) in a landscape.
Hardscape are the non living materials (concrete, bricks, and wood) in a landscape.
Contouring the site involves shaping the site, mainly for appearance.
Features are items such as lights, ponds, shelters, fountains and other items added to an outdoor site that are not part of the main structure.
Cultivation is the preparation of the soil for planting.
Mulch is a protective layer of material used to retain moisture, decrease erosion, and suppress weed growth.
Ground Cover: Low growing plants used to prevent soil erosion.
Grass is started by planting seed or installing sod.
Familiar maintenance chores include mowing lawns, weeding, and removing debris.
Developing a maintenance schedule can ensure that routine tasks are completed and small repairs are made as needed.

## Slide 362: Chapter 30 Week 21 and 22
Final Inspection, Contract Closing, and Project Transfer

## Slide 363: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify the individuals who conduct inspections
List three things involved in an inspection
Recall steps for resolving financial claims
List documents involved with financial claims
Identify the process for transferring ownership of a project

## Slide 364: Introduction
Throughout the construction process, the project contract is the guide.
The contract addresses:
Specifications for the project
Material, methods, and expected quality of work
Process used to inspect and correct defects
Standards for paying bills
Issue of warranties
Method of final payment
If the project passes final inspection, ownership of the project is transferred from the contractor to the owner.

## Slide 365: Inspections
Inspections are made throughout project construction.
Inspections begin with the set of plans and end with the final inspection.
Qualified inspectors are experts in their field.
A plumbing inspector has a thorough knowledge of plumbing code, plumbing materials, and installation methods.
Inspectors mainly look for three things:
That specified materials were used and the materials are appropriate for the job and meet code requirements .
That the methods used were those specified in the contract.
That quality of work meets these contract specifications. This includes appearance of the finished product.

## Slide 366: Final Inspection
Final inspection involves five steps:
Reviewing standards in the contract, drawings and specifications.
Making an inspection based on these standards.
Creating a punch list for defects that must be corrected by responsible party.
Making corrections - inspectors approve corrected items.
Signing approval forms after final inspection.

## Slide 367: Contract Closing
Contract closing: When all conditions of the contract are met, the owner makes the final payment to the contractor.
The contractor provides signed approvals, releases, warranties, and manuals to the owner during the contract closing.
Approvals: When the defects identified on the punch list have been corrected, an approval is prepared and signed.
The approval states the beginning date for the warranties.

## Slide 368: Claims and Liens
Claims arise when more work is required than indicated in the contract.
The first step is for the contractor to make a claim to the owner for additional money.
Legal action can be taken if a solution is not reached.
Liens: Legal claims to property when an owner owes money on the property.
Plaintiff: Legal action is taken by the person who is not paid.
Defendant: The person being sued – in this case, the owner.

## Slide 369: Warranties, Manuals, & Foreclosure
Warranty: A warranty is a document guaranteeing there are no defects to a product.
The warranty statement applies for a certain period of time.
Manuals: Equipment suppliers provide manuals that explain how to operate and maintain the equipment.
Foreclosure: legal process that transfers ownership of the property to the bank if the client fails to pay the mortgage.

## Slide 370: Final Payment
The contract is complete after:
The work is finished.
Final inspection is completed.
Releases are signed.
Warranties are signed and manuals are delivered.
Certificate of completion is signed.
When these steps are complete, the owner makes the final payment.
Except for the warranties, the contractor’s responsibility ends.

## Slide 371: Summary
Throughout the construction process, the project contract is the guide.
Qualified inspectors are experts in their field.
Inspectors mainly look for three things: That specified materials were used and the materials are appropriate for the job and meet code requirements . That the methods used were those specified in the contract. That quality of work meets these contract specifications. This includes appearance of the finished product.
Final inspection involves five steps: Reviewing standards in the contract, drawings and specifications. Making an inspection based on these standards. Creating a punch list for defects that must be corrected by responsible party. Making corrections - inspectors approve corrected items. Signing approval forms after final inspection.
Contract closing: When all conditions of the contract are met, the owner makes the final payment to the contractor.
Claims arise when more work is required than indicated in the contract.
Liens: Legal claims to property when an owner owes money on the property.
Plaintiff: Legal action is taken by the person who is not paid.
Defendant: The person being sued – in this case, the owner.
Warranty: A warranty is a document guaranteeing there are no defects to a product.
Manuals: Equipment suppliers provide manuals that explain how to operate and maintain the equipment.
Foreclosure: legal process that transfers ownership of the property to the bank if the client fails to pay the mortgage.
The contract is complete after: The work is finished. Final inspection is completed. Releases are signed. Warranties are signed and manuals are delivered. Certificate of completion is signed.

## Slide 372: Chapter 31 Week 23 and 24
Project Operation, Maintenance, and Repair

## Slide 373: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Distinguish between operation, maintenance, and repair
Identify five systems that are a part of a construction project.
Distinguish between periodic maintenance and maintenance as needed.
Describe how rebuilding and replacing parts are related.

## Slide 374: Construction Project Operations
Project Operations: Tasks done to keep a project functioning as designed.
In general this work relates to five systems that may be part of the project: HVAC system, electrical system, communication system, plumbing system, and property protection system.

## Slide 375: HVAC Systems
Most HVAC systems have thermostatic controls that automatically regulate temperature within a structure.
Controls are manually adjusted to change between heating and cooling, and to change the temperature setting.
HVAC system filters need to be replaced periodically.
Filter replacement frequency depends on the type of filter used and amount of dust in the air.
Changes in sound made by the system may indicate need for repair or replacement of a component.

## Slide 376: Electrical System
When a circuit is overloaded or an appliance is defective, a circuit breaker may be tripped.
In order to make a repair or replace an electrical appliance, it may be necessary to turn off a circuit.
Therefore it is important to know the location of the service panel, and identify the correct circuit breaker.
If a switch, outlet, or light is not working properly, the device must be repaired or replaced.

## Slide 377: Communication Systems
Communication wiring and devices allow users to make and receive calls, send and receive faxes, and transfer data. Operational computer networks permit transmission of data between computers.
When communication devices do not function properly, the problem may be in the device, the cabling in the building, or the network outside the building.
Identifying and correcting these problems is part of operating, maintaining, and repairing the communication system.

## Slide 378: Plumbing System
Turning a valve or faucet off or on is the simplest example of operating a plumbing system.
Being observant for needed repairs, such as leaking valves or faucets, is also part of operating the plumbing system.
Water softener controls must be set to regulate the timing of the regeneration process. Because salt is required for the regeneration process, more salt must be added periodically.

## Slide 379: Property Protection Systems
Locking windows and doors is the first level of security.
Alarm systems that detect forced entry are part of many security systems. Operating security systems involves arming and disarming the system.
Individual smoke and heat sensors are mounted in critical locations and sound an alarm when triggered. If individual smoke and heat sensors are battery operated, replace the batteries as recommended.

## Slide 380: Construction Project Maintenance
Property maintenance involves daily activities that preserve the optimal appearance and functionality of the property.
Housekeeping involves routine tasks that must be done in order to maintain the integrity and appearance of buildings. Common tasks include washing floors and windows, dusting hard surfaces such as desks and tables, vacuuming upholstered furniture, washing and sanitizing bathrooms, and emptying trash cans.
Housekeeping also involves maintaining the exterior appearance. Common tasks include cutting lawns, watering grass and plants, and trimming bushes. Removing debris and cleaning walkways, driveways, and parking lots are also important.
Periodic maintenance is done on a preset schedule. This type of maintenance is often less time consuming and less expensive than doing the work only when needed. Replacing furnace filters, and testing security systems may be included in this schedule.
Maintenance as needed addresses problems that need immediate attention. Removing snow from sidewalks, driveways, and parking lots is an example of a task that is done as needed.

## Slide 381: Construction Project Repair
Project repair involves rebuilding or replacing components that no longer work.
Returning something to its original state is called rebuilding. Some mechanical devices can be disassembled, cleaned, lubricated, and reassembled.
In some cases, a problem can be solved by replacing parts. Examples include replacing broken glass, a defective electrical switch, or a broken door lock.

## Slide 382: Summary
Project Operations: Tasks done to keep a project functioning as designed.
In general this work relates to five systems that may be part of the project: HVAC system, electrical system, communication system, plumbing system, and property protection system.
HVAC system filters need to be replaced periodically.
In order to make a repair or replace an electrical appliance, it may be necessary to turn off a circuit. Therefore it is important to know the location of the service panel, and identify the correct circuit breaker.
Being observant for needed repairs, such as leaking valves or faucets, is also part of operating the plumbing system.
Locking windows and doors is the first level of security. Alarm systems that detect forced entry are part of many security systems. Individual smoke and heat sensors are mounted in critical locations and sound an alarm when triggered.
Property maintenance involves daily activities that preserve the optimal appearance and functionality of the property.
Housekeeping involves routine tasks that must be done in order to maintain the integrity and appearance of buildings. Common tasks include washing floors and windows, dusting hard surfaces such as desks and tables, vacuuming upholstered furniture, washing and sanitizing bathrooms, and emptying trash cans.
Periodic maintenance is done on a preset schedule. This type of maintenance is often less time consuming and less expensive than doing the work only when needed.
Project repair involves rebuilding or replacing components that no longer work. Returning something to its original state is called rebuilding. Some mechanical devices can be disassembled, cleaned, lubricated, and reassembled. In some cases, a problem can be solved by replacing parts. Examples include replacing broken glass, a defective electrical switch, or a broken door lock.

## Slide 383: Chapter 32 Week 25 and 26
Remodeling Buildings

## Slide 384: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Differentiate between remodeling and redecorating
Describe four common reasons to remodel
Give examples of reusable and recyclable materials
Give examples of equipment that is added or replaced

## Slide 385: Introduction
Remodeling means to alter the structure of a building.
Walls are moved, doors are added, or rooflines are modified.
Redecorating involves minor cosmetic changes to the existing structure such as painting, wallpapering, and reupholstering.
Redecorating does not include changes to the basic structure.

## Slide 386: Reasons for Remodeling
There are four common reasons buildings are remodeled:
Owner’s needs have changed.
Additional space is needed.
Handicapped accessibility is needed.
Building use has changed.
Remodeling contractors perform the same duties as general contractors: prepare estimates; submit bids; negotiate contracts; hire workers; obtain building permits; purchase materials, tools, and equipment; negotiate subcontracts; and supervise site work.

## Slide 387: Remodeling Process
The remodeling process is essentially the same as the process for planning and constructing a new building.
The architectural design process is used to prepare a plan for the work.
For a simple project, the construction documents may be little more than a scale drawing showing the modifications.
A major project that adds square footage to the building will require a complete set of plans and specifications.

## Slide 388: Site Preparation
Areas of the building that will not be changed must be protected.
Access: Provide easy access to the work area inside a building to minimize disruptions to the building occupants.
For their protection, keep building occupants away from the work area.
Tape plastic sheets over interior doors to prevent dust and fumes from entering non work areas.
Isolate a forced air HVAC system in the work area from the remainder of the building to prevent dust and fumes from traveling through the ducts to other rooms.
Tape plastic sheets over registers in the work area to prevent this problem.
Easy access to the work area also reduces the chance of damage to items transported to and from the work area.

## Slide 389: Site Preparation
Protection: If workers must go through other parts of the building to access a work area, protect floors, walls, and ceilings.
Line a path through the building with drop cloths and protect critical areas with plywood sheets.
Remove and store expensive fixtures.
Utilities: Use dumpsters, trash bags, boxes, and trash cans to control and remove trash.
Sometimes a window can be removed to allow trash removal and material entry.
Electricity is needed to operate power tools and lights. Extension cords or temporary circuits may need to be installed.
Providing portable restroom facilities eliminates the need for workers to enter non work areas of buildings.
Portable fans improve working conditions during hot weather and may be needed to exhaust dust and fumes from the work area.

## Slide 390: Site Preparation
Parking and Storage: Even a small remodeling job may require parking for several vehicles.
The parking area nearest to the job may be used as a loading zone for delivery trucks and for waste dumpsters.
The building occupants may need space to park or access to the garage.
A plan needs to be worked out to minimize conflict and make the job run efficiently.

## Slide 391: Project Alterations
Project alteration includes removing, relocating, and adding components.
Removing Components: Most remodeling jobs require the removal of some material for the desired change to be made.
During a bathroom remodel, the water supply to the lavatories, toilet, and tub must be turned off.
Fixtures are disconnected from the water supply and DWV piping and then removed.
Once the fixtures are removed, the ends of the DWV piping must be capped or plugged to prevent sewer gas from entering the area.
This is done in the reverse order in which the fixtures were installed.
Relocating Components: It may be possible to reuse some of the material. Otherwise new material will be used.
Adding Components: This work follows the same procedure in new construction.

## Slide 392: Recycling Construction Materials
Plumbing fixtures, cabinets, accessories, and light fixtures are things that are easily recycled.
Cast iron and metal enameled tubs have some value as scrap metal.
Copper plumbing, brass faucets and valves, and aluminum can all be recycled.

## Slide 393: Installations
Adding Equipment: Whole house air conditioning equipment can be installed in a home that previously only had window air conditioning units.
Replacing Equipment: Stoves and refrigerators are commonly replaced as part of kitchen remodeling projects.
Adding an Item or Material: Installing an island in a kitchen is an example of item being added.

## Slide 394: Restoring Structures
Restoration is a special type of remodel.
The objective of a restoration is to return an older building to its original condition.
Some salvage companies specialize in antique architectural components.
In some cases, it may be necessary to have replacement parts custom made.

## Slide 395: Summary
Remodeling means to alter the structure of a building.
Redecorating involves minor cosmetic changes to the existing structure such as painting, wallpapering, and reupholstering.
There are four common reasons buildings are remodeled: Owner’s needs have changed. Additional space is needed. Handicapped accessibility is needed. Building use has changed.
Remodeling contractors perform the same duties as general contractors: prepare estimates; submit bids; negotiate contracts; hire workers; obtain building permits; purchase materials, tools, and equipment; negotiate subcontracts; and supervise site work.
Access: Provide easy access to the work area inside a building to minimize disruptions to the building occupants. For their protection, keep building occupants away from the work area.
Protection: If workers must go through other parts of the building to access a work area, protect floors, walls, and ceilings. Line a path through the building with drop cloths and protect critical areas with plywood sheets. Remove and store expensive fixtures.
Utilities: Use dumpsters, trash bags, boxes, and trash cans to control and remove trash. Sometimes a window can be removed to allow trash removal and material entry.
Parking and Storage: Even a small remodeling job may require parking for several vehicles. The parking area nearest to the job may be used as a loading zone for delivery trucks and for waste dumpsters.
Project alteration includes removing, relocating, and adding components.
Removing Components: Most remodeling jobs require the removal of some material for the desired change to be made. This is done in the reverse order in which the fixtures were installed.
Plumbing fixtures, cabinets, accessories, and light fixtures are things that are easily recycled.
Restoration is a special type of remodel. The objective of a restoration is to return an older building to its original condition.

## Slide 396: Chapter 33 Week 27 and 28
Dam Construction

## Slide 397: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Give reasons why dams are constructed
Describe the process of planning and designing dams
Describe the features of dams
Describe the process of building dams

## Slide 398: Introduction
A dam is a barrier that contains a body of water.
The stored water can be piped to a city or used to irrigate crops.
Multipurpose dam projects are dams that serve more than one purpose.
Dams are built to provide a reliable water supply, provide flood control, maintain downstream flow during dry season, control erosion, generate electricity, and provide recreation.

## Slide 399: Purposes of Dams
Many cities rely on reservoirs for their water supplies.
Another reason for building dams is to control flooding along the river or stream below the dam.
Outlet works are devices used to regulate the flow of water downstream from the dam and control the level of water in the reservoir.
A dam can maintain a steady flow of water downstream during dry periods.
By controlling the flow of water downstream from the dam, soil erosion is reduced.
Hydroelectric plant: is an electric generating facility that is powered by water pressure.
Reservoirs can be used for activities such as boating, swimming, fishing, and waterskiing.

## Slide 400: People Who Build Dams
A farmer may have a small earth dam built across a stream to store water for livestock.
Cities build dams to store water for residential and industrial uses.
Several cities or counties may form a special district to construct a dam for water supply, flood control or recreation.
Civil engineers design dams with the assistance from mechanical and electrical engineers and agronomists (specialists in soil and crops).

## Slide 401: Planning and Designing Dams
The first step in planning a large dam and reservoir project is to conduct a feasibility study.
Public hearings allow citizens to participate in the planning process.
Possible sites for the dam are selected.
General designs and cost estimates are prepared.
Environmental impact statements are required by federal law when there is a possibility that the proposed project will do serious damage to the natural environment.
A cost-benefit analysis is prepared to evaluate both the costs and benefits of the project.
The preferred site for a dam is where the river valley narrows.
The valley upstream should be much wider to hold a large volume of water.

## Slide 402: Features of Dams
Major dams have an earth embankment or concrete structure to hold water in the reservoir, concrete and steel outlet works, and a spillway.
Steel gates control the water level of the reservoir.
The outlet works often include a hydroelectric generating plant.
The spillway allows excess water to flow from the reservoir and prevents the dam from overflowing.
Some dams include locks that raise and lower boats navigating the river.

## Slide 403: Land Acquisition
Land acquisition for a large dam can take several years to complete.
Land for the dam and access roads is purchased first.
Land for the reservoir and for relocation of roads, utilities, and homes is purchased as needed.
The government may exercise its power of eminent domain to acquire private land when an owner is unwilling to sell.

## Slide 404: Constructing Dams
Building access roads and extending utilities to the site are two jobs that need to be completed early in the process.
The next job to be done is the excavation of the abutments (ends) of the dam.
Abutments: The ends of a dam designed to provide solid anchorage between the ends of the dam and the sides of the river valley.
The next task is to construct a cofferdam (watertight enclosure) of the area where the outlet works are to be constructed.
The purpose of the cofferdam is to prevent flooding of the work site.
The outlet works can then be built.
The spillway may be built considerable distance from the outlet works.
Installation of the electrical generating equipment is typically the last major task to be completed.
Once the power generating equipment is tested, the owner of the dam assumes responsibility for operation of the completed project.

## Slide 405: Summary
A dam is a barrier that contains a body of water. The stored water can be piped to a city or used to irrigate crops.
Multipurpose dam projects are dams that serve more than one purpose. Dams are built to provide a reliable water supply, provide flood control, maintain downstream flow during dry season, control erosion, generate electricity, and provide recreation.
Outlet works are devices used to regulate the flow of water downstream from the dam and control the level of water in the reservoir.
Several cities or counties may form a special district to construct a dam for water supply, flood control or recreation.
Civil engineers design dams with the assistance from mechanical and electrical engineers and agronomists (specialists in soil and crops).
Steel gates control the water level of the reservoir.
The outlet works often include a hydroelectric generating plant.
The spillway allows excess water to flow from the reservoir and prevents the dam from overflowing.
Some dams include locks that raise and lower boats navigating the river.
The government may exercise its power of eminent domain to acquire private land when an owner is unwilling to sell.
Abutments: The ends of a dam designed to provide solid anchorage between the ends of the dam and the sides of the river valley.
The purpose of the cofferdam is to prevent flooding of the work site. The outlet works can then be built.
Installation of the electrical generating equipment is typically the last major task to be completed.
Once the power generating equipment is tested, the owner of the dam assumes responsibility for operation of the completed project.

## Slide 406: Chapter 34 Week 29 and 30
Bridge Construction

## Slide 407: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify the major components of bridges
Identify and describe types of fixed bridges
Identify and describe movable bridges
Describe the major steps in designing bridges
Describe the bridge building process

## Slide 408: Purpose of Bridges
Bridges carry roadways, railroads, and walkways over obstacles such as rivers, other roadways, or railroads.
Bridges may also be built to carry pipelines and conveyors over obstacles.
The two primary components of bridges are the superstructure and the substructure (fig 34-1, page 542).
The substructure may include abutments, piers, and footings. Footings rest on bedrock or piles that are driven into the bedrock. Piers extend from the footings to the superstructure. Abutments hold the earth at the approach to the bridge, and support the ends of the superstructure.
The superstructure supports the load that the bridge carries.

## Slide 409: Fixed Bridges
There are seven basic types of fixed bridges:
1. Slab bridges: have superstructures that are reinforced concrete slabs. Slab bridges may be used for short spans.
2. Truss bridges: employ a rigid framework made of steel, wood, or aluminum to make the superstructure. Triangular shapes formed by the components of the truss make the frame rigid.
3. Arch bridges: are used to span deep ravines and to provide clearance for boat traffic.
4. Cantilever bridges: can span relatively long distances.
5. Suspension bridges: provide the longest spans.
6. Segmented concrete box girder bridges: are made with precast concrete segments that are joined with high tensile strength cable.
7. Cable stayed bridges: feature one or more towers with cables supporting the bridge deck.

## Slide 410: Movable Bridges
Movable bridges are used where boat traffic requires more clearance than can be provided by fixed bridges. There are 3 types of movable bridges:
1. Bascule bridges: rotate upward on a trunnion (pivot) to provide clearance for boats. A counterweight makes it possible to open and close the bridge with a relatively small motor.
2. Lift bridges: include a section that lifts vertically. Counterweights suspended on cables greatly reduce the power needed to raise the movable section.
3. Swing bridges: rotate on center piers so that boat traffic can pass on both sides. Swing bridges pivot horizontally and require a strong structure to support the pivot.

## Slide 411: Planning and Design
Engineers prepare feasibility studies, preliminary designs, cost estimates, and final designs.
Safety and durability are major factors considered during the design process of bridges.
Important questions that need to be answered are:
What type of bridge is needed?
What materials will be used for the superstructure?
What will be the length of each span?
How many piers will be required?
What type of substructure is necessary?
How much clearance is required below the bridge superstructure?

## Slide 412: Bridge Building Materials
Steel reinforced concrete is the major material used in the substructure of bridges.
Wood or steel piles are driven into the earth to support the footing where bedrock is too deep to be reached by excavating.
Bridge superstructures are made from steel, concrete, masonry, or wood.
Combining materials is common. Steel beams may support a concrete roadway.

## Slide 413: Building the Substructure
Abutments support the ends of the bridge superstructure and serve as the retaining walls for the earth at the approach to the bridge.
Bridges that are too long to span from one abutment to another require one or more piers between the abutments.
Abutments and piers are typically made from steel reinforced concrete.
Ideally footings for piers and abutments should rest on bedrock.
When this is not practical, wood or steel piles are driven into the earth to provide needed support.
The pile cap becomes the footing for the abutment or pier.

## Slide 414: Building the Superstructure
Steel superstructures are built in steel fabrication plants.
Large sections of steel trusses are assembled at plants and transported to the site.
Precast concrete components are also made off site.

## Slide 415: Summary
Bridges carry roadways, railroads, and walkways over obstacles such as rivers, other roadways, or railroads. Bridges may also be built to carry pipelines and conveyors over obstacles.
The two primary components of bridges are the superstructure and the substructure.
The substructure may include abutments, piers, and footings. Footings rest on bedrock or piles that are driven into the bedrock. Piers extend from the footings to the superstructure. Abutments hold the earth at the approach to the bridge, and support the ends of the superstructure.
The superstructure supports the load that the bridge carries.
There are seven basic types of fixed bridges: 1. Slab bridges: have superstructures that are reinforced concrete slabs. 2. Truss bridges: employ a rigid framework made of steel, wood, or aluminum to make the superstructure. 3. Arch bridges: are used to span deep ravines and to provide clearance for boat traffic. 4. Cantilever bridges: can span relatively long distances. 5. Suspension bridges: provide the longest spans. 6. Segmented concrete box girder bridges: are made with precast concrete segments that are joined with high tensile strength cable. 7. Cable stayed bridges: feature one or more towers with cables supporting the bridge deck.
Movable bridges are used where boat traffic requires more clearance than can be provided by fixed bridges. There are 3 types of movable bridges: 1. Bascule bridges: rotate upward on a trunnion (pivot) to provide clearance for boats. 2. Lift bridges: include a section that lifts vertically. 3. Swing bridges: rotate on center piers so that boat traffic can pass on both sides.
Safety and durability are major factors considered during the design process of bridges.
Steel reinforced concrete is the major material used in the substructure of bridges.
Bridge superstructures are made from steel, concrete, masonry, or wood.
Steel superstructures are built in steel fabrication plants.
Precast concrete components are also made off site.

## Slide 416: Chapter 35 Week 31 and 32
Road Construction

## Slide 417: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify the basic considerations when planning and designing road construction projects
Outline the procedures and machines used to construct roads

## Slide 418: Types of Roads
Paved roads are classified as service, collector, or arterial.
A service street is a road built to provide access to adjacent land such as a home, business, or school. It is generally two lanes with curbs and space for on street parking.
Collectors are roadways that gather local traffic and connect smaller cities and towns to each other and to arterials. They are generally four or more lanes wide.
Arterials are roadways that provide uninterrupted access between large cities.

## Slide 419: Road Features
Curves connect two straight sections of roadway.
Road grade is a measurement of the incline of slope of the road expressed as a percentage.
Site distance is the distance needed by a driver to see a hazard and to stop safely without hitting the obstacle.
Crown is the high point in the center of the road, designed to move water off the surface and into the roadside ditches or drains.

## Slide 420: Identifying the Need for Roads
Most road construction projects are initiated by public agencies, such as the Federal Highway Administration or individual state highway administrations.
Once a need is identified, a feasibility study is conducted to answer questions such as what is the projected vehicle volume for the road in the next five or more years? What is the most practical route for the road? How much will the road cost? How long will it take to complete the project?
If the project is approved, design engineers will use the feasibility study to review and understand the scope of the project.

## Slide 421: Consideration when Planning and Designing Roads
When designing public roads, engineers follow standards adopted by the city, state, or the federal government.
Typical standards address lane and shoulder width, curve and grade measurements, paving design, bridge standards, and protective barriers.
Roads are planned and designed with safety as a major consideration.

## Slide 422: Road Features
Curves connect two straight sections of roadway.
Road grade is a measurement of the incline of slope of the road, expressed as a percentage.
Site distance is the distance needed by a driver to see a hazard and to stop safely without hitting an obstacle.
Crown is the high point in the center of the road, designed to move water off the surface and into roadside ditches or drains.
Pavement is the actual surface on which vehicles travel.

## Slide 423: Obtaining the Right of Way
The land needed for the right of way may need to be purchased from its current owner.
Appraisals are prepared for each piece of property to be purchased.
Landowners who reject the offer are required to negotiate a price with the government agency arranging the purchase.
If the negotiations fail, the agency can exercise the power of eminent domain to acquire the right of way.
The amount of money paid to the landowner is then determined in court.

## Slide 424: Advertising the Project
Once detailed plans are complete, the building project is advertised, bids are received, and contracts are awarded.
Once the selected contractor receives notification to proceed with the project, work begins at the site.
Safety is a major concern on all road projects.
Fences or other barriers are often set up along the right of way to keep trespassers from getting on the site and being injured.

## Slide 425: Worker Safety
Once work begins, flaggers and escort vehicles may be required to protect workers and provide safe passage for motorists.
Everyone on the job site must take responsibility for their own safety and look out for the safety of others.
Workers on the site must wear appropriate clothing, such as safety shoes, and eye, and hearing protection.

## Slide 426: Clearing, Excavating, and Filling
Construction begins by clearing obstacles in the right of way.
Soil, sand, and other easily excavated material can be excavated with bulldozers, scrapers, front loaders, and track excavators.
A bulldozer is a crawler tractor with a blade mounted on the front, used for excavating and pushing soil.
A scraper is a machine that cuts, transports, and places soil.
A roller is a machine used to compact fill and make a solid foundation for a roadway (fig 35-8, page 561).
A front loader is a crawler or rubber tired tractor with a bucket on the front that is filled and lifted to load trucks.
A track excavator is a machine that digs by pulling the shovel towards the tractor.
A ripper is a prong like attachment mounted on the rear of a tractor to break apart soft rock and tree roots.
Explosives are used to break up hard rock.
Fill must be placed and compacted properly of the fill will settle and damage the pavement.

## Slide 427: Surveying
Once the cut and fill operations are completed, surveyors return to reestablish centerline stakes, and place markers for the edge of the roadway.
Stakes that mark the edge of the pavement may be joined by wires to guide the machine operators as they place the road surfaces.

## Slide 428: Placing the Roadway, Shoulders, and Curbs
Once the finish grading is completed, two layers of aggregate are typically placed and compacted before the surface material is put in place.
The first layer, sub base is composed of large crushed stone.
It provides for drainage of water that may collect below the finished surface and acts as a firm base for successive layers.
The second layer, base, is composed of smaller aggregate that is compacted to provide a base for concrete or asphalt surface material.
On asphalt roads, an asphalt paver is used to place, consolidate, and level two or three layers of hot asphalt.
Concrete surfaces are placed and consolidated using a slip form paving machine that spreads, consolidates, and levels concrete paving.

## Slide 429: Traffic Signals, Signage, Barriers, and Markings
Installation of traffic signals, signage, and barriers often requires excavating and placing concrete for footings.
Anchor bolts installed in the footings permit traffic signals and signs to be attached.
Posts for guard rails may also be set in concrete.
Electrical service is extended underground to the footings for the traffic signals and roadway lighting before concrete is placed.
Barriers in the median and other barriers may also require excavation and installation of footings.
Marking is the process of painting lines on the roadway.

## Slide 430: Landscaping
Landscaping is one of the final tasks to be completed.
Surveying crews return to place stakes locating trees and shrubs.
Areas to be planted with grass, other ground cover, or mulch may also be marked.
Arrangements are made to water the landscape material until they are well established.

## Slide 431: Road Maintenance
Road maintenance protects the structural integrity of roads and the economic investment made during construction.
Routine maintenance tasks are done on a regular schedule basis and include cleaning roads, removing debris, painting guardrails, and remarking traffic lanes.
Emergency maintenance tasks are done when needed and include tasks such as pothole repair and traffic signal replacement.

## Slide 432: Summary
A service street is a road built to provide access to adjacent land such as a home, business, or school.
Collectors gather local traffic and connect smaller cities and towns to each other and to arterials.
Arterials are roadways that provide uninterrupted access between large cities.
Once a need is identified, a feasibility study is conducted to answer questions such as what is the projected vehicle volume for the road in the next five or more years? What is the most practical route for the road? How much will the road cost? How long will it take to complete the project?
When designing public roads, engineers follow standards adopted by the city, state, or the federal government. Typical standards address lane and shoulder width, curve and grade measurements, paving design, bridge standards, and protective barriers. Roads are planned and designed with safety as a major consideration.
Site distance is the distance needed by a driver to see a hazard and to stop safely without hitting the obstacle.
Once detailed plans are complete, the building project is advertised, bids are received, and contracts are awarded.
Workers on the site must wear appropriate clothing, such as safety shoes, and eye, and hearing protection.
Construction begins by clearing obstacles in the right of way. Soil, sand, and other easily excavated material can be excavated with bulldozers, scrapers, front loaders, and track excavators.
Once the finish grading is completed, two layers of aggregate are typically placed and compacted before the surface material is put in place.
Road maintenance protects the structural integrity of roads and the economic investment made during construction.
Routine maintenance tasks are done on a regular schedule basis and include cleaning roads, removing debris, painting guardrails, and remarking traffic lanes.
Emergency maintenance tasks are done when needed and include tasks such as pothole repair and traffic signal replacement.

## Slide 433: Chapter 36 Week 33 and 34
Skyscraper Construction

## Slide 434: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Describe the process of designing skyscrapers
Describe the purpose of a feasibility study for skyscrapers
Describe the process of building skyscrapers
Identify the basic components of a structural steel frame
Discuss the importance of coordinating the work of trades people involved in building the skyscraper

## Slide 435: Why Skyscrapers are Built
Skyscrapers are buildings taller than 500 feet that are designed for commercial and residential use.
The development of structural steel framing and elevators made skyscrapers possible.
Buildings with load bearing walls were limited to approximately six stories.
The high cost and scarcity of land, and the desire of people to be close together have contributed to the building of skyscrapers.
Pride, achievement, and technological advancements have also been major factors.

## Slide 436: Planning & Designing Skyscrapers
Construction of skyscrapers is initiated by:
Companies that need large amounts of office space
Real estate developers that rent office or apartment space
Companies that operate hotel and conference facilities
Government agencies or hospitals that need space

## Slide 437: Feasibility Study
The purpose of the feasibility study is to determine if:
The skyscraper is needed
The skyscraper can be operated at a profit
A suitable site is available
A presentation of the design team’s best design alternatives is made to the initiator for approval.

## Slide 438: Design Team
The architectural firm completing the feasibility study may employ a number of other architectural and engineering firms to design elements of the overall project.
Firms specializing in foundations, structural framework, mechanical systems, electrical systems, interior decorating, and other areas may be added to the team because of their specialized skills.
A general plan for the building is prepared as a part of the feasibility study so that the cost can be estimated and the initiator can decide if the basic design in satisfactory.

## Slide 439: Obtaining the Site
The initiator usually employs a realtor to purchase the land for the site.
If the desired land is owned by different individuals or groups, it may take several years to acquire the land.
Since the foundation design and the shape and size of the building may be affected by the location, size, and shape of the site, much of the detailed work for the skyscraper is delayed until the site has been purchased.

## Slide 440: Design Planning
The foundation of skyscrapers must withstand heavy loads from the weight of the building, wind gusts, and sometimes earthquakes.
Plans for HVAC, plumbing, electrical, communication, elevators, and escalators must all be made.
Architectural details such as interior and exterior finishes must be described.

## Slide 441: Constructing Skyscrapers
A general contractor is hired to build the skyscraper.
The general contractor employs a superintendent to oversee all work at the job site.
The general contactor may also award subcontracts for parts of the job.
Subcontractors specializing in foundations, structural steel framing, mechanical systems, electrical systems, and interior finish work are among those likely to be involved.

## Slide 442: Demolition
Demolition is the first site work done when the site contains old buildings.
Demolition can be done using cranes fitted with wrecking balls.
Backhoes, cutting torches, front loaders, and explosives can also be used.
Dump trucks haul away the debris.

## Slide 443: Foundations
Because of the loads being supported, skyscraper foundations generally extend to bedrock.
If it is not practical to excavate all of the earth over the bedrock, piles are driven so that the weight of the structure is transferred to the bedrock.
Sheet piling is typically driven around the perimeter of the excavation to prevent soil outside the foundation from shifting.
Provisions must also be made to pump out groundwater that may accumulate during the excavation.
Once the excavation work is complete, footings and pilings are installed.
The concrete reinforced walls below ground in the completed structure are placed.

## Slide 444: Superstructure Framework
Most skyscrapers are framed using structural steel.
However some high rise buildings are framed using steel-reinforced concrete columns and beams.
Beams, girders, and columns are either welded or joined with high strength bolts.
Travelling long boom cranes can be used to lift structural steel as high as 20 stories.
Tower cranes are commonly used because they are tall enough to reach the top of any skyscraper.

## Slide 445: Floors and Walls
Concrete, steel, or a combination of the two is normally used to construct floors.
Exterior walls may be brick, stone, or panels made from glass, metal, or precast concrete.
Once the frame is a few stories tall, work can begin on the floors and exterior walls.
This work is done one storey at a time, beginning with the ground floor.
Once the exterior walls are in place, permanent interior walls can be constructed.

## Slide 446: Utilities
Plumbing, HVAC ducts, electrical, and communication cables, and elevators and escalators can all be installed once the floor is enclosed.
The amount of work required and the number of people involved make it essential that the work be carefully coordinated.
For example, plumbing and HVAC ducts are generally installed before electrical and communication cable because the routing of drains and ducts is more critical.
Also cable can be installed around pipes and ducts more easily than pipes and ducts can be routed around cable.

## Slide 447: Finishing the Interior
Interior finish includes insulating walls, installing partition walls, suspended ceilings, flooring, and trim, and applying interior wall finishes.
Installing floor coverings, accessories, and fixtures completes the work.

## Slide 448: Coordinating the Work
Building skyscrapers requires careful coordination of workers, materials, tools, and machines.
Time management is very important.
The temporary hoists and elevators used during construction may need to be scheduled months in advance.

## Slide 449: Summary
Skyscrapers are buildings taller than 500 feet that are designed for commercial and residential use. The high cost and scarcity of land, and the desire of people to be close together have contributed to the building of skyscrapers.
Construction of skyscrapers is initiated by: Companies that need large amounts of office space. Real estate developers that rent office or apartment space.
The purpose of the feasibility study is to determine if: The skyscraper can be operated at a profit.
The initiator usually employs a realtor to purchase the land for the site. If the desired land is owned by different individuals or groups, it may take several years to acquire the land.
The foundation of skyscrapers must withstand heavy loads from the weight of the building, wind gusts, and sometimes earthquakes.
A general contractor is hired to build the skyscraper. The general contractor employs a superintendent to oversee all work at the job site. The general contactor may also award subcontracts for parts of the job.
Demolition is the first site work done when the site contains old buildings. Dump trucks haul away the debris.
Most skyscrapers are framed using structural steel. However some high rise buildings are framed using steel-reinforced concrete columns and beams.
Concrete, steel, or a combination of the two is normally used to construct floors. Exterior walls may be brick, stone, or panels made from glass, metal, or precast concrete.
Plumbing, HVAC ducts, electrical, and communication cables, and elevators and escalators can all be installed once the floor is enclosed.
Interior finish includes insulating walls, installing partition walls, suspended ceilings, flooring, and trim, and applying interior wall finishes. Installing floor coverings, accessories, and fixtures completes the work.
Building skyscrapers requires careful coordination of workers, materials, tools, and machines.

## Slide 450: Chapter 37 Week 35 and 36
Pipeline Construction

## Slide 451: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Explain the purpose of pipelines
Describe the process of planning pipelines
Identify the basic steps in the pipeline construction process

## Slide 452: Pipeline Systems
Three different piping systems are used to gather, transport, and distribute natural gas, petroleum products, and water from the source to the consumer.
Gathering systems move natural gas or crude oil from wells to gas processing plants or oil refineries.
Transmission pipelines transport processed natural gas or petroleum products from the processing plant to the area where it will be used.
Cross country pipelines may be used to move water from a remote source to a location where it is needed for irrigation, or to a water treatment plant that serves a city.
Distribution piping systems deliver natural gas or water from the transmission pipeline or water treatment plant directly to consumers.
Tank farms are large above ground tanks in which various types of refined petroleum products are stored.

## Slide 453: Planning Pipelines
Cross country transmission pipelines begin at natural gas processing plants, petroleum refineries, or reservoirs and extend to sites where they will be used.
Both state and local government regulate pipeline construction.
Permits are necessary for the construction to begin.

## Slide 454: Determining the Route
A petroleum products transmission pipeline that begins at a gulf Coast refinery and extends to Ohio or Pennsylvania typically has a number of branches that deliver petroleum products to tank farms near major cities along the way.
Extensive aerial and land based surveying of the intended route is done.
Designers attempt to make pipelines as straight as possible.
Excavating dense rock can be expensive and is avoided whenever possible.
It is generally easier to cross a river or lake where the water is relatively shallow.

## Slide 455: Obtaining the Site
Once the route is approved by the appropriate governmental agency, easements are obtained from the owners of the land that the pipeline will pass through.
These easements allow the pipeline companies to bury pipeline below the ground and have access to the pipeline in the future to make repairs.
The owners of the land retain the right to use the land, but cannot build anything that would interfere with access to the buried pipeline.
At locations where compressors or pumping stations and other pipeline facilities are needed aboveground, pipeline companies purchase the land. If necessary, eminent domain is used to acquire the necessary easements or land ownership.

## Slide 456: Designing Pipelines
Cross country pipelines are typically 16 inches to 48 inches in diameter.
They are made from steel pipe that has a corrosive resistant coating.
Large valves are located every 5 to 20 miles.
When repairs are necessary, valves at either end of the section needing maintenance are closed to provide safe working conditions.
Compressor stations are built at 40 to 100 mile intervals along natural gas pipelines to increase pressure to compensate for pressure loss resulting from friction.
Pumping stations increase the pressure in petroleum and water pipelines to compensate for pressure loss resulting from friction.
Metering stations allow a pipeline company to monitor and manage the flow of natural gas or petroleum products through the system.
Supervisory control and data acquisition (SCADA) systems are sophisticated communication systems that automatically collect information at metering stations and transmit it to centralized control stations.

## Slide 457: Constructing Pipelines
Pipeline construction is a continuous process that can be likened to a moving assembly line.
Clearing, grading, and trenching are followed by stringing, welding, depositing, backfilling, and testing.
Separate crews with specialized skills in each of these areas follow each other along the right of way to construct the pipeline.

## Slide 458: Clearing, Grading, and Trenching
The first group of workers is responsible for clearing the route.
They remove obstacles such as trees, boulders, brush, buildings, fences, and anything else that might impede construction.
Once the first section is cleared, the surveyors return and set the stakes to indicate the location and depth of the trench.
After the stakes are set, another group of workers begins trenching.
Regulations require the pipe to be at least 30” below the surface.
Most trenches are 5’ to 6’ deep.
Additional excavation work is done for compressor and pumping stations, metering stations, and valves.
Separate crews begin work on these facilities as work on the pipeline continues.

## Slide 459: Stringing and Welding Pipe Sections
As trenching progresses, pipe is placed on one side of the trench. The process is called stringing.
Sections of pipe are welded and bent as necessary to follow the contour of the land.
Each weld is cleaned and coated with the same corrosion resistant coating applied to the pipe sections.
Installing a pipeline under a road or at the bottom of a stream requires an open cut or directional drilling.
Directional drilling involves drilling a tunnel below the stream or roadway and passing the pipe through the tunnel.

## Slide 460: Depositing, Backfilling, and Testing
Depositing is placing a pipe in a trench.
Backfilling is replacing the portion of the pipeline that is completed with excavated material.
Hydrostatic testing is filling the competed section of pipeline with water and pressurizing the water to test for leaks.
Once testing is completed, the surface of the land is restored.
This may involve replacing topsoil and fences, reseeding grass or other ground cover, and replacing paving.

## Slide 461: Summary
Gathering systems move natural gas or crude oil from wells to gas processing plants or oil refineries.
Transmission pipelines transport processed natural gas or petroleum products from the processing plant to the area where it will be used.
Tank farms are large above ground tanks in which various types of refined petroleum products are stored.
Once the route is approved by the appropriate governmental agency, easements are obtained from the owners of the land that the pipeline will pass through.
At locations where compressors or pumping stations and other pipeline facilities are needed aboveground, pipeline companies purchase the land. If necessary, eminent domain is used to acquire the necessary easements or land ownership.
Large valves are located every 5 to 20 miles. When repairs are necessary, valves at either end of the section needing maintenance are closed to provide safe working conditions.
Compressor stations are built at 40 to 100 mile intervals along natural gas pipelines to increase pressure to compensate for pressure loss resulting from friction.
Pumping stations increase the pressure in petroleum and water pipelines to compensate for pressure loss resulting from friction.
Metering stations allow a pipeline company to monitor and manage the flow of natural gas or petroleum products through the system.
Supervisory control and data acquisition (SCADA) systems are sophisticated communication systems that automatically collect information at metering stations and transmit it to centralized control stations.
As trenching progresses, pipe is placed on one side of the trench. The process is called stringing.
Directional drilling involves drilling a tunnel below the stream or roadway and passing the pipe through the tunnel.
Depositing is placing a pipe in a trench.
Backfilling is replacing the portion of the pipeline that is completed with excavated material.

## Slide 462: Chapter 38 Week 37 and 38
Careers in Construction

## Slide 463: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify different areas of employment in the construction industry
Identify and describe competencies for employment
Describe what you can do to improve your chances of getting a promotion

## Slide 464: Types of Construction Jobs
Construction related enterprises: wholesale and retail sales, distributors, buyers, and business owners.
Construction educators: technology education educators, career and technical education teachers, and apprenticeship coordinators.
Government officials: inspectors, other building officials, and members of the building regulations board.
Construction union officials: local, state, and national union officers.
Construction contractors associations: local, state, and national association officers.

## Slide 465: Construction Education
Postsecondary programs in construction trades are available at technical schools and community colleges.
Some universities offer programs in construction management.
Trades people begin working as helpers or apprentices.
A helper is a person who has no previous experience as a construction worker and works under the direct supervision of a journeyman or master.
An apprentice is a helper enrolled in a training program that includes classroom instruction.
A journeyman is a worker qualified to work with little supervision and to have a helper or apprentice assist.
A master trades person is a person who has worked as a journeyman, completed additional training, and passed an exam to obtain a license that permits him or her to operate a construction company.
A supervisor is a person who oversees the work of a journeyman, apprentices, and helpers for a particular trade.
A superintendent is a person who oversees all of the site work for a particular job.
An estimator is a person who calculates the cost of completing a specific job.

## Slide 466: Characteristics of Desirable Employees
Effective workers should have solid foundation in the basic skills, thinking skills, and personal qualities.
Five basic skills essential for workplace success are:
1. Reading-locating and understanding written information.
2. Writing-communicating effectively through the written word.
3. Mathematics-understanding and applying basic math skills.
4. Listening-hearing and understanding verbal communication.
5. Speaking-organizing ideas and communicating them orally.
Six thinking skills essential for success in the workplace are:
1. Reasoning – understanding relationships and applying them to new situations.
2. Decision making – selecting the most appropriate technique for a job.
3. Visualization –see how something will look when finished before project is started.
4. Problem solving – identify problem, find alternatives, and choose the best solution.
5. Creative thinking – generating new ideas and applying them to the job.
6. Knowing how to learn – because everything is constantly changing.
Five personal qualities essential for successful employment are:
1. Responsibility – arriving on time, giving your best effort, working safely.
2. Self esteem – developed through successful performance and working efficiently and effectively.
3. Sociability – ability to get along with diverse group of people, and create positive work environment.
4. Self management – pursuit of goals, both short term and long term.
5. Integrity – being honest and reliable.

## Slide 467: Five Competencies for Employment
Effective workers typically possess competencies in 5 areas:
1. Resources-using time, equipment, tools, materials, and supplies effectively.
2. Interpersonal skills-communicating and working well with others.
3. Information processing skills-obtaining and evaluating needed information communicating, and using technology to process information.
4. Systems-a. Social systems-understand the role of everyone at work, b. Organizational system-know who is responsible for what and the procedures, c. technological systems-understand relationship between technological installations.
5. Technology-working with tools and equipment and applying it to the industry.

## Slide 468: Getting Your First Job
The first task is to decide what type of work you want to do.
The choices include new construction; maintenance and repair on residential, commercial or industrial buildings; highway, pipeline, and dam construction; and working for a retail or wholesale construction company.
Identify the skills you possess that will apply to the type of job you seek.
Take advantage of career counseling at your school. They may have information about specific jobs.
The second task is to prepare a resume (fig 38-3, page 601). It identifies the type of work you are seeking, your educational background, previous work experience, activities and memberships, and significant hobbies.
You may have to complete a job application – a document used to collect information from a job applicant.
The third step is to network – let people know you are looking for work.
Contact prospective employers – look at their web sites for job openings. Also look in the Sunday edition of the local newspaper.

## Slide 469: The Interview Process
An interview is a discussion between an employer and a job seeker.
A proficiency test is a device used to measure a person’s ability to do a specific task.
An aptitude test is a device used to measure a person’s ability to do a job quickly.

## Slide 470: Accepting a Job Offer
Before accepting a job offer, there are several things you will want to know:
1. The job responsibilities.
2. Typical working hours.
3. The name of your supervisor.
4. The tools you are expected to bring to your job.
5. benefits that are provided, including health insurance, personal time off, and vacations.
6. Your pay rate.
7. When and where to report the first day of work.
If all these factors are acceptable, you can accept the job.
If any of these factors are unacceptable, you can negotiate changes.
If you are unable to negotiate an agreement with the employer, you may reject the offer.

## Slide 471: Changing Jobs
If you are considering a new job, you have several options:
1. Seek advancement within your present company.
2. Seek employment with a different company performing the same or different work.
If you are interested n advancement within your present company, talk to your employer about the possibilities.
You may also receive some suggestions regarding additional training or experience you need before becoming a viable candidate for promotion.

## Slide 472: Evaluation
Your employer will evaluate your job performance.
The following items are likely to be considered:
1. Punctuality – arrives and is ready to work on time.
2. Dependability – follows through on work assignments and suggestions for improvement.
3. Honesty – is truthful with the supervisor and coworkers.
4. cooperation – works willingly with fellow coworkers, supervisors, and others.
5. Job knowledge – understands responsibilities and the tasks to be performed.
6. Quality of work – consistently meets or exceeds employer’s standards.
7. Decision making – recognizes and analyzes problems and makes appropriate decisions.
8. Potential for advancement – possesses qualities for promotion.

## Slide 473: Self Improvement on the Job
Continually increase your knowledge and skills while on the job.
Use your supervisor’s evaluation to identify areas that need improvement.
Improve in areas where your skills are lacking.
A cooperative attitude towards your supervisor and coworkers is essential to both retaining a job and obtaining promotions.

## Slide 474: Starting a Small Business
Many small business owners start out by doing small jobs on their own, known as self-employment. This work usually consists of remodeling work or maintenance and repair. In time, their skills are better, and their list of customers grows, so they decide to start their own business.
Employees should clarify with their employers the type of business they are doing. Some employers may even refer business that their company does not want.
Establishing a small business means having employees, calculating and withholding income tax, and supervising work of employees. You need to get business licenses, and contractor licenses. You may have to get insurance (bond) to protect customers against defective work.
A business plan is a document that describes the purpose, organization, marketing, operational plan, financial resources, financial plan, and anticipated problems related to starting a new business (fig 38-6, page 607). It enables the owner to raise money needed to start the business.

## Slide 475: Summary
A helper is a person who has no previous experience as a construction worker and works under the direct supervision of a journeyman or master.
An apprentice is a helper enrolled in a training program that includes classroom instruction.
A journeyman is a worker qualified to work with little supervision and to have a helper or apprentice assist.
A master trades person is a person who has worked as a journeyman, completed additional training, and passed an exam to obtain a license that permits him or her to operate a construction company.
A supervisor is a person who oversees the work of a journeyman, apprentices, and helpers for a particular trade.
A superintendent is a person who oversees all of the site work for a particular job.
An estimator is a person who calculates the cost of completing a specific job.
Five basic skills essential for workplace success are: 1. Reading-locating and understanding written information. 2. Writing-communicating effectively through the written word. 3. Mathematics-understanding and applying basic math skills. 4. Listening-hearing and understanding verbal communication. 5. Speaking-organizing ideas and communicating them orally.
Six thinking skills essential for success in the workplace are: 1. Reasoning – understanding relationships and applying them to new situations. 2. Decision making – selecting the most appropriate technique for a job. 3. Visualization –see how something will look when finished before project is started. 4. Problem solving – identify problem, find alternatives, and choose the best solution. 5. Creative thinking – generating new ideas and applying them to the job. 6. Knowing how to learn – because everything is constantly changing.
Five personal qualities essential for successful employment are: 1. Responsibility – arriving on time, giving your best effort, working safely. 2. Self esteem – developed through successful performance and working efficiently and effectively. 3. Sociability – ability to get along with diverse group of people, and create positive work environment. 4. Self management – pursuit of goals, both short term and long term. 5. Integrity – being honest and reliable.
Effective workers typically possess competencies in 5 areas: 1. Resources-using time, equipment, tools, materials, and supplies effectively. 2. Interpersonal skills-communicating and working well with others. 3. Information processing skills-obtaining and evaluating needed information communicating, and using technology to process information. 4. Systems-a. Social systems-understand the role of everyone at work, b. Organizational system-know who is responsible for what and the procedures, c. technological systems-understand relationship between technological installations. 5. Technology-working with tools and equipment and applying it to the industry.

## Slide 476: Chapter 39 Week 39 and 40
Construction in the Future

## Slide 477: Objectives
After reading the chapter and reviewing the materials presented the students will be able to:
Identify prefabricated products used in the construction industry.
Summarize alternative energy sources that are likely to be used in construction.
Explain the importance and meaning of green construction.

## Slide 478: Changes in Building
Improved insulation and the installation of insulated glass windows are just two examples of changes in construction of buildings.
Prefabrication describes a product that is largely or entirely manufactured offsite.
Prefabricated homes (manufactured housing) are a major part of the housing market.
Major building components are also being prefabricated and delivered to the site ready for placement. Wall sections, roof trusses, prehung doors, and cabinets have been prefabricated for many years.

## Slide 479: Materials
Plywood, hardboard, and particleboard were developed to make efficient use of wood.
Plastic trim that is paintable or prefinished to look like wood is one example of a product designed to replace wood.
An advantage of plastic and aluminum is that they come in a variety of colors and do not need to be painted.
Plastic and veneered wood products are also replacing traditional solid wood flooring and cabinets.
Commercial and industrial buildings generally have structural steel or steel reinforced concrete frames.
Improved insulation in exterior walls and roofs reduces energy consumption.
Fluorescent and LED lighting reduce the amount of electricity used.

## Slide 480: Energy Efficient and Alternative Energy Sources
Oil and natural gas are non-renewable energy sources.
Abandoned underground mines have been converted to warehouses because the temperature inside the mine is 50 degrees year round.
Solar collectors provide energy to heat buildings and water.
Geothermal heating and cooling systems collect heat from the ground to heat buildings in the winter. During the summer, the process is reversed and heat from the buildings is transferred to the earth.
Power companies are building large wind farms consisting of many large wind powered generators.

## Slide 481: Higher Density Housing
Higher density housing helps our aging population downsize.
Another factor that contributes to the popularity of high density housing is that less land per resident is required.
Less land is also needed for roads and walkways, and utility lines are shorter. This helps preserve natural habitats and scenic areas.

## Slide 482: Green Construction
Sustainable buildings: The use of inexhaustible, recyclable, and renewable resources in construction.
Inexhaustible resources: Resources that will not run out, such as the sun.
Recyclable resources: Resources that can be reused such as iron or aluminum.
Renewable resources: Resources that can be grown and harvested in the future, such as wood.

## Slide 483: Changes in Transportation
Gridlock is a growing problem in this country because improvements to our infrastructure have not kept pace with population growth.
Developing a transportation system that integrates highways, airports, railroads, and ships can solve some of these problems.
Inner city trains and improved bus service could reduce congestion on city streets.

## Slide 484: Machines and Equipment
The introduction of excavating machines, forklifts, and other mechanical devices reduced the amount of manual labor required on roadways and other construction projects.
The use of aerial photography has reduced the time necessary to design highways.
The use of GPS (Global Positioning System) with construction tools and equipment is improving the efficiency with which work can be done.

## Slide 485: New Bridge Designs
Construction of short span bridges such as those of highway overpasses has been standardized.
Many of these bridges are now constructed using precast concrete beams.
Cable bridges are becoming more common where longer spans are required.

## Slide 486: New Energy Sources Require Construction
As new fuels are introduced to power vehicles, service stations and distribution centers will need to be modified.
Charging stations for electric cars and refueling facilities for vehicles powered by hydrogen fuel cells are examples of what may need to be built.

## Slide 487: Telecommunications and Construction
New cell phone towers are being built at an increasing rate.
Satellite telephone service will also continue to grow.
Ships at sea and people working in remote areas need satellite telephone service.
The interconnection of these systems with existing communication systems also requires construction.

## Slide 488: Other Changes in Construction
Computer software makes it possible to prepare construction drawings in less time.
Scheduling methods such as critical path analysis make it possible to schedule complex projects and keep track of job progress.
Cost accounting software provides an accurate summary of the cost of each major component of a project.
The need to store and transport water as well as the need to treat waste water will continue to be an important reason for construction.
Port facilities and projects that reclaim land along shorelines may become more popular as land becomes more valuable.
Continued consumption of electricity and aging facilities means electrical power plant construction is likely to grow in the near future.

## Slide 489: Summary
Improved insulation and the installation of insulated glass windows are just two examples of changes in construction of buildings.
Prefabrication describes a product that is largely or entirely manufactured offsite.
An advantage of plastic and aluminum is that they come in a variety of colors and do not need to be painted.
Improved insulation in exterior walls and roofs reduces energy consumption.
Fluorescent and LED lighting reduce the amount of electricity used.
Solar collectors provide energy to heat buildings and water.
Geothermal heating and cooling systems collect heat from the ground to heat buildings in the winter. During the summer, the process is reversed and heat from the buildings is transferred to the earth.
Power companies are building large wind farms consisting of many large wind powered generators.
Sustainable buildings: The use of inexhaustible, recyclable, and renewable resources in construction.
Inexhaustible resources: Resources that will not run out, such as the sun.
Recyclable resources: Resources that can be reused such as iron or aluminum.
Renewable resources: Resources that can be grown and harvested in the future, such as wood.
Inner city trains and improved bus service could reduce congestion on city streets.
Charging stations for electric cars and refueling facilities for vehicles powered by hydrogen fuel cells are examples of what may need to be built.
New cell phone towers are being built at an increasing rate.
The need to store and transport water as well as the need to treat waste water will continue to be an important reason for construction.
Port facilities and projects that reclaim land along shorelines may become more popular as land becomes more valuable.
Continued consumption of electricity and aging facilities means electrical power plant construction is likely to grow in the near future.

## Slide 490
The End